## Slide 1: Network Hub - AURORA
Aurora, OH
(SGPPL)
1536(32)
1536
AT&T
Frame Relay
Beaverton, MI
(Patter Products)
Valley Forge, PA
(SGC)
Taunton, MA
(Sil-Med)
192(128)
Wayne, PA
(SGPPL)
128(64)
512(128)
Notes: 5

## Slide 2: Network Hub - BRUNSWICK
Valley Forge, PA
(SGC)
1536
512 (128)
AT&T
Frame Relay
Brunswick, ME
(Brunswick Technologies)
Seguin, TX
(Brunswick Technologies)
384 (192/64)
Notes: 5

## Slide 3: Network Hub - CHANDLER
Valley Forge, PA
(SGC)
Albuquerque, NM
(Quartz International)
128 (64/32)
1536
384
AT&T
Frame Relay
Chandler, AZ
(Quartz International)
Irving, TX
(Quartz International)
128 (64/32)
Milpitas, CA
(Quartz International)
256 (64/32)
Sandy, Utah
(Quartz International)
56 (32/32)
Notes: 5

## Slide 4: Network Hub - LOUISVILLE
Valley Forge, PA
(SGC)
Buckhannon, WV
(Corhart)
512 (256/128)
1536 (32)
768 (256)
AT&T
Frame Relay
Louisville, KY
(Corhart)
Mountainside, NJ
(SEPR)
56 (32)
56 (32/32)
Riverport
(QPC)
Notes: 5

## Slide 5: Network Hub - MUNCIE
S-G Glass
Muncie, IN
S-G Glass
Sapulpa, OK
S-G Glass
Ruston, LA
S-G Glass
Port Allegany, PA
S-G Glass
Pevely, MO
Vaz Brothers
Lodi, CA
S-G Glass
Madera, CA
S-G Glass
Milford, MA
S-G Glass
Maywood, CA
Regency Warehouse
Newark, NJ
S-G Glass
Lincoln, IL
S-G Glass
Marion, IN
S-G Glass
Henderson, NC
AT&T
Frame Relay
DMI Warehouse
Adairsville, GA
S-G Glass
Burlington, WI
56(32)
128(64)
56(32)
56(32)
56(32)
56(32)
128(64)
56(32)
56(32)
56(32)
56(32)
56(32)
56(32)
1536(64)
56(32)
56(32)
56(32)
56(32)
56(32)
56(32)
Williams & Associates
Bloomington, MN
S-G Glass
Carteret, NJ
Tropicana (plant)
Bradenton, FL
Tropicana (whs.)
Bradenton, FL
S-G Glass
Chesterfield, MO
DMI Warehouse
Delaware, OH
S-G Glass
Dolton, IL
S-G Glass
Dunkirk, IN
S-G Glass
El Monte, CA
S-G Glass
Fairfield, CA
Hydra Warehouse
Ft. Collins, CO
56(32)
56(32)
S-G Glass
Seattle, WA
STC Warehouse
St. Louis
Hydra Warehouse
Van Nuys, CA
Ross-Mould
Washington, PA
56(32)
S-G Glass
Waxahachie, TX
S-G Glass
Wilson, NC
CertainTeed
Valley Forge, PA
56(32)
56(32)
56(32)
56(32)
56(32)
56(32)
56(32)
56(32)
56(32)
1536
Notes: 5

## Slide 6: Network Hub - NIAGARA FALLS (Bayex)
Valley Forge, PA
(SGC)
Albion, NY
(Bayex)
128 (64/64)
1536
512 (128)
AT&T
Frame Relay
Niagara Falls, NY
(Bayex)
Dover, OH
(Perma-Glas Mesh)
56 (32)
Brampton, ONT
(Bay Mills)
128 (64/64)
Midland, ONT
(Bayex)
128 (64/64)
St. Catharines, ONT
(Bayex)
128 (64/64)
Notes: 5

## Slide 7: Network Hub - NIAGARA FALLS (Ceramics)
Niagara Falls, NY
(Structural Ceramics)
Worcester, MA
(Norton Company)
1536 (32)
56
AT&T
Frame Relay
Amherst, NY
(Boron Nitride)
1536
Sanborn, NY
(Microelectronics)
56
Notes: 5

## Slide 8: Network Hub - STOW
Stow, OH
(NorPro)
384(192)
56(32)
768
Qwest
Frame Relay
Bryan, TX
(NorPro plant)
56(32)
Baton Rouge, LA
(NorPro sales)
128(64)
256(128)
Soddy-Daisy, TN
(NorPro plant)
Valley Forge, PA
(SGC)
Houston, TX
(NorPro sales)
56
Ravenna, OH
(NorPro plant)
Rittman, Ohio
(J. & O. Plastics)
Tallmadge, OH
(NorPro plant)
1544
56
Notes: 5

## Slide 9: Network Hub - VALLEY FORGE (Bay Networks)
Valley Forge, PA (SGC)
Mountaintop, PA (Insulation)
Nesquehoning, PA (Vinyl)
McPherson, KS (Molded Whs.)
McPherson, KS (Molded plant)
Athens, GA (Insulation)
Clinton, IA (Airvent)
256(128)
56(32)
56(32)
56(32)
56(32)
256(128)
56(32)
56(32)
56(32)
56(32)
Dallas, TX (Airvent)
Chowchilla, CA (Insulation-Plant)
Placentia, CA (Insulation)
Richmond, VA (Vinyl)
Social Circle, GA (Plant)
Waco, TX (Pipe)
Santa Anna, CA
56(32)
256(128)
56(32)
256(64)
56(32)
56(32)
1536
Buffalo, NY (Bufftech)
Peoria, IL (Airvent)
Kansas City, KS (Insulation)
Muncie, IN (S-G Glass)
56(32)
Romeoville, IL (Bufftech)
56(32)
Lake Charles, LA (Pipe)
56(32)
Wichita Falls, TX (Vetrotex)
AT&T
Frame Relay
256
Lodi, CA (Bufftech)
Valley Forge, PA (Annex)
640
1024(32)
256(128)
256(128)
56(32)
56(32)
256(128)
256(128)
Ronks, PA (Vinyl)
Jackson, MI (Vinyl Plant)
256(128)
256(128)
Kansas City (Whs..)
McPherson, KS (Vinyl Plant)
Portland, OR (Insulation)
AT&T
Frame Relay
Jackson, MI (Tech Center)
1536
Winter Haven, FL (Unisol)
North Kansas City, MO (Insulation)
Social Circle, GA (Whs.)
Chowchilla, CA (Insulation-Whs.)
Fresno (Isulation-Whs.)
Hermitage, TN (Vetrotex)
Haggerstown, MD (Vinyl)
Grinnell, Iowa (Vinyl)
Auburn, WA (Vinyl)
AT&T
Frame Relay
56(32)
56(32)
56(32)
56(32)
56(32)
256(128)
128(64)
256(128)
Notes: 5

## Slide 10: Network Hub - VALLEY FORGE (Corporate)
Louisville, KY (Corhart)
Worcester, MA (Ceramics)
Buckhannon, WV (Corhart)
Trumbauersville, PA (Sully)
256(128)
384(128)
56(32)
512(64)
256(128)
56
512(128)
56(32/32)
256(32)
AT&T
Frame Relay
Worcester, MA (Abrasives)
White City, OR (Fibercement)
Wayne, PA (SGPPL)
Louisville, KY (QPC)
Roaring River, NC (Fibercement)
1536(64)
Valley Forge, PA
(SGC)
1536
Paris, France (CSG)
224 (32)
Qwest
Frame Relay
Global One
Frame Relay
Stow, OH (NorPro)
256 (8)
56
South San Francisco, CA (Asti)
56(32)
Monroe, NC (Vetrotex)
Huntersville, NC (Vetrotex)
Aurora, OH (SGPPL)
1536(128)
256(128)
56(32)
Brunswick, ME (BTI)
Chandler, AZ (Quartz Intl)
256(32)
Niagara Falls (SGTF)
512(128)
Notes: 5

## Slide 11: Network Hub - VALLEY FORGE (RPG)
Valley Forge, PA
(SGC)
Ennis, TX (GS Roofing)
128(64)
56(16)
56(32)
256(128)
56(32)
256(128)
56(16)
56(32)
56(32)
56(32)
56(16)
256(128)
56(16)
256(128)
56(16)
56(16)
56(16)
56(16)
56(32)
1536
Milan (Avery), OH (CertainTeed)
Charleston, SC (GS Roofing)
Aurora, CO (GS Roofing)
Blue Bell, PA (Insulation/Roofing)
New Lexington, OH (Ludiwici)
56(32)
Norwood, MA (Bird)
56(32)
Oxford, NC (CertainTeed)
Chester, PA (GS Roofing)
Glenwood, AR (GS Roofing)
Hammond, IN (GS Roofing)
Irving, TX (GS Roofing)
Little Rock, AR (GS Roofing)
Peachtree City, GA (GS Roofing)
Piedmont, MO (GS Roofing)
Portland, OR (GS Roofing)
Rancho Cordova, CA (GS Roofing)
Winter Haven, FL (GS Roofing)
Shakopee (CertainTeed)
Shreveport, LA (GS Roofing)
Southgate, CA (GS Roofing)
Wilmington, CA (GS Roofing)
AT&T
Frame Relay
56(32)
Denver, CO (CertainTeed))
56(32)
Notes: 5

## Slide 12: Network Hub - Weston (BayForm)
Valley Forge, PA
(SGC)
Cadiz, Ohio
(BayForm)
56 (32)
1536
192 (64)
AT&T
Frame Relay
Weston, Ontario
(BayForm)
Merrill, Wisconsin
(BayForm)
56 (32)
Calgary, Alberta
(BayForm)
Pasco, Washington
(BayForm)
St. Apollinaire, Quebec
(BayForm)
56 (32)
56 (32)
56 (32)
Notes: 5

## Slide 13: Network Hub - WICHTA FALLS
Wichita Falls, TX
(Vetrotex Plant)
Hermitage, TN
(Vetrotex)
Valley Forge, PA
(SGC)
Arlington, TX
(Vetrotex)
56(32)
1536(32)
128
AT&T
Frame Relay
Wichita Falls, TX
(Vetrotex CDC)
56
56(32)
Maumee, OH
(Vetrotex)
56(32)
56(32)
Huntersville, NC
(Vetrotex)
Monroe, NC
(McCoy)
56(32)
Russellville, AL
(Vetrotex)
256(128)
Notes: 5

## Slide 14: Network Hub - WORCESTER (Abrasives)
Worcester, MA
56(32)
256(128)
56(32)
56(16)
56
56(32)
56(16)
704(704)
1536(1536)
128(64)
56(32)
1536
128(64)
AT&T
Frame Relay
Brownsville, TX (Norton)
Hamilton, ONT. (Norton)
Bristol, PA (Universal)
Pharr, TX (Norton)
Aberdeen, NC (Segro)
Arden, NC (Norton)
Bensenville, IL (Universal)
Gainesville, GA (Norton)
Highpoint, NC (Carborundum)
Littleton, NH (Norton)
Plattsville, ONT. (Carborundum)
Troy, NY (Norton)
Livingston, NJ (Fantastic Tool)
Indianapolis, IN (SG Abrasives)
Valley Forge, PA (SGC)
Stephenville, TX (Norton)
Ontario, CA (SG Abrasives)
256(128)
256(128)
640(640)
128(64)
1536(64)
Reynosa, MEX (Norton)
56(32)
Grand Rapids, MI (Provia)
GEISCO
Home Depot
1556(16)
1556(16)
Fullerton, CA (Penhall)
256(256/32)
704(704)
Travelers Rest, SC (Winter)
Romulus, MI (Universal)
256(128)
Wheatfield, NY (Carborundum)
192(128)
128(64)
Notes: 5

## Slide 15: Network Hub - WORCESTER (Ceramics)
Worcester, MA
56
56(32)
384(192)
768
AT&T
Frame Relay
North Hampton, MA (Norton)
Milford, NH (Powers St.)
Chippawa, Ont. (Norton)
Huntsville, AL (Norton)
Niagara Falls, NY (SG Ceramics)
Olyphant, PA (Warren Diamond)
Northboro, MA (R&D)
Wheatfield, NY (SG Ceramics)
Shawinigan, Que. (Norton)
56(32)
SW-56
Disaster Recovery
Valley Forge, PA (SGC)
56(32)
56(32)
56(32)
56(32)
768(64)
56(32)
Notes: 5

## Slide 16: Network Routing - Louisville to Wallsend
Louisville to Wallsend
Valley Forge
SGC
Router
Paris
QPC
Devices
SGC
Router
Global 1
Router
161.120.2.105
255.255.255.252
CSG
Router
10.151.253.3
255.255.255.0
10.151.253.1
255.255.255.0
Louisville (QPC)
161.120.118.1-253
(255.255.255.0)
10.151.180.2
255.255.255.252
TSLL
Router
Wallingford
Wallsend
159.151.181.1
255.255.255.128
AS/400
159.151.181.4
255.255.255.128
Louisville
161.120.2.106
255.255.255.252
161.120.118.254
255.255.255.0
10.151.180.1
255.255.255.252
Cable &
Wireless
Router
159.151.180.193
255.255.255.192
NT
159.151.181.3
255.255.255.128
NT
159.151.181.2
255.255.255.128
159.151.180.194
255.255.255.192
No IP Address
Wallingford
No IP Address
TSL
PO Box 6
Neptune Road
Wallsend, Tyne & Wear
NE28 6DG
England
+44-191-262 5311…switchboard
+44-191-259-8450…John Tinkler
+44-7974-161932… “ “ (mobile)
+44-191-259-8451…Martin Hogg

## Slide 17: Network Routing - Riverport to Wallsend
Louisville to Wallsend
SGC
Router
QPC
Devices
161.120.2.141
255.255.255.252
161.120.31.193-253
(255.255.255.192)
Riverport
161.120.2.142
255.255.255.252
161.120.31.254
255.255.255.0
Riverport (QPC)
Valley Forge
Paris
SGC
Router
Global 1
Router
CSG
Router
10.151.253.3
255.255.255.0
10.151.253.1
255.255.255.0
10.151.180.2
255.255.255.252
TSLL
Router
Wallingford
Wallsend
159.151.181.1
255.255.255.128
AS/400
159.151.181.4
255.255.255.128
10.151.180.1
255.255.255.252
Cable &
Wireless
Router
159.151.180.193
255.255.255.192
NT
159.151.181.3
255.255.255.128
NT
159.151.181.2
255.255.255.128
159.151.180.194
255.255.255.192
No IP Address
Wallingford
No IP Address
TSL
PO Box 6
Neptune Road
Wallsend, Tyne & Wear
NE28 6DG
England
+44-191-262 5311…switchboard
+44-191-259-8450…John Tinkler
+44-7974-161932… “ “ (mobile)
+44-191-259-8451…Martin Hogg

## Slide 18: Aberdeen, North Carolina
Worcester, MA
Cisco
Router
(2610)
Serial 0/0.130
161.120.1.10
(Worcester)
Ethernet 0/0
161.120.65.190
Cisco
Router
(7206)
Racal
Excalibur
DAP
Serial 3/0
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Serial 0/0
Serial 3/0.655
161.120.1.9
(Aberdeen)
DLCI=655
DLCI=130
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.2.81
(910) 944-0594
(910) 944-0596
Aberdeen, NC
Segro/Colonial Abrasive Products
312 South Pine Street
Aberdeen, NC 28315
(910) 944-7631…Mary Bridschge
(910) 944-7631…Bill Saelinger
Aberdeen
AREC 272850 (56k)
Console
Modem
Backup
Modem
Serial 0/1
161.120.1.14
(Worcester)

## Slide 19: Adairsville, Georgia
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(770) 773-3687
Dial Backup
Modem
(770) 773-7780
Adairsville, GA
Adairsville
DMI Warehouse
400 Princeton Blvd.
Adairsville, Georgia 30103
(770) 773-7530…Joe Meeks
AREC 153131 (56k)
DLCI=585
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DLCI=585
161.120.48.1
(Adairsville)
DLCI=155
161.120.48.2
(Muncie)
E11_ADAIRSVILLE
161.120.52.14

## Slide 20: Albion, New York
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=120
Niagara Falls, NY
Cisco
Router
(3640)
DLCI=251
161.120.123.1
(Albion)
DLCI=200
161.120.123.2
(Niagara falls)
Ethernet 0/0
161.120.121.62
DLCI=251
Loopback 0/0
10.120.3.129
Console
Modem
Albion, NY
Bril 0/1
161.120.123.6
(Niagara Falls)
DLCI=120
161.120.123.58
(Valley Forge)
DLCI=251
161.120.123.57
(Albion)
Albion
Saint-Gobain Technical Fabrics/Bayex Inc.
14770 East Avenue
Albion, NY 14411-0390
(716) 589-4401…Gabe Nagy x-240
(716) 589-8196
ISDN 716-344-8651 / 716-344-8659
DHEC 058784 (T-1)
DHEC 058784 (1536k)
DHEC 562811 (T-1)
DXEC 966473 (128k)
Serial 0/0
Cisco
Router
(2610)
Internal CSU
DLCI=200
DHEC 560676 (T-1)
DEEC 981016 (512k)

## Slide 21: Albuquerque, New Mexico
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=120
Chandler
Cisco
Router
(3640)
Serial 0/0.231
161.120.2.161
(Albuquerque)
Serial 0/0.221
161.120.2.162
(Chandler)
Ethernet 0/0
161.120.31.94
DLCI=231
Loopback 0/0
10.120.3.237
Console
Modem
Albuquerque, NM
Bril 0/1
161.120.2.166
(Milpitas)
Serial 0/0.120
161.120.2.194
(Valley Forge)
Serial 3/1.231
161.120.2.193
(Albuquerque)
Albuquerque
Quartz International
5601-Balloon Fiesta Parkway N.E.
Albuquerque, New Mexico 87113
(505) 797-7500…Zeljko Kogel
(505) 797-7500…Thelma Madewell
(505) 823-1018
ISDN 505-828-1897 / 505-828-2152
DHEC 058784 (T-1)
DHEC 058784 (1536k)
DHEC 894473 (T-1)
DXEC 959379 (128k)
Serial 0/0
Cisco
Router
(2610)
Internal CSU
DLCI=221
DHEC 890254 (T-1)
DCEC 003727 (384k)

## Slide 22: American Canyon, California
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(xxx) xxx-xxxx
Dial Backup
Modem
(xxx) xxx-xxxx
Saint-Gobain Containers
Suite “A”
125 Mezzatta Court
American Canyon, California 94589
(707) 558-8548…Randy Tardwell
American Canyon, CA
E11_AmericanCan
161.120.52.126
10.120.58.190
DLCI=155
161.120.52.238
(Muncie)
DLCI=915
161.120.52.237
(American Canyon)
AREC 809127 (56k)
DLCI=915
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
American Canyon

## Slide 23: Amherst, New York
Niagara Falls, NY
Cisco
Router
(2610)
Serial 0/0
161.120.2.82
(Niagara Falls)
Ethernet 0/0
161.120.30.254
Cisco
Router
(2610)
Serial 0/0
Serial 0/0
Serial 0/0
161.120.2.81
(Amherst)
Loopback 0/0
10.120.3.37
Console
Modem
(xxx) xxx-xxxx
Amherst, NY
ISDN xxx-xxx-xxxx / xxx-xxx-xxxx
BRI 0/0
161.120.2.86
(Niagara Falls)
Carborundum Boron Nitride Division
168 Creekside Drive
Amherst, NY 14228-2027
(716) 691-2039…Cathy McCormick (BN Amherst)
(716) 278-6245…Dianna Tierney (SCD Niagara Falls)
Amherst
Verizon T-1
40 HCGL 193117 NY
(716) 890-7711

## Slide 24: Arden, North Carolina
Worcester, MA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=96
DLCI=103
Travelers Rest, SC
Cisco
Router
(2610)
Serial 0/0.136
161.120.1.189
(Arden)
Serial 0/0.96
161.120.1.190
(Travelers Rest)
Ethernet 0/0
161.120.10.254
DLCI=136
Loopback 0/0
10.120.2.25
Console
Modem
Arden, NC
Dialer101
161.120.1.22
(Worcester)
Serial 0/0.102
161.120.1.18
(Worcester)
DHEC 416516.100 (T-1)
DTEC 986963 (768k)
Serial 3/1.136
161.120.1.17
(Arden)
Arden
Norton Diamond Tool Div.
65 Beale Road
Arden, NC 28704
(828) 684-2500 x-211…John McFalls
(828) 684-2500 x-209…Nola Staton
(828) 684-2500 x-252…computer room
DHEC 546750 (T-1)
(828) 654-8819
DHEC 857556 (T-1)
IGEC 800311 (704k)
IGEC 503363 (704k)
ISDN 828-684-4485 / 828-684-4486
Cisco
Router
(2610)
Internal CSU

## Slide 25: Arlington, Texas
Arlington
Arlington, TX
Bay Networks
Router
(ARN)
DLCI=225
161.120.213.50
(Wichita Falls)
E11_ARLINGTON
161.120.215.62
Bay Networks
Router
(ARN)
DSU
AREC 331741 (56k)
S11_FR_ATT
DLCI=625
161.120.213.49
(Arlington)
DLCI=625
Saint-Gobain Vetrotex America
5840 West I-20
Arlington, Texas 76017
(817) 483-4299…Billie Mowrer
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Wichita Falls, TX
DLCI=620
S11_FR_ATT
DHEC 839661 (T-1)
DXEC 002562 (128k)

## Slide 26: Athens, Georgia
Athens, GA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=660
161.120.128.18
(Valley Forge)
E11_ATHENS
161.120.132.254
Bay Networks
Router
(ASN)
CSU
DHEC 394880 (T-1)
Sxxx_FR_IG
DHEC 394716 (T-1)
IFEC 394956 (640k)
S13_FR_ATT
DLCI=665
161.120.128.17
(Athens)
DLCI=665
DLCI=660
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S15
CertainTeed Corporation
425 Athena Drive
Athena Industrial Park
Athens, Georgia 30603
(706) 546-9005…Ben Alexenberg x-306
Athens
O12_ATHENS
161.120.133.62
DZEC 395000 (256k)

## Slide 27: Auburn, Washington
Auburn, WA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=720
161.120.184.66
(Valley Forge)
E11_AUBURN
161.120.199.254
Bay Networks
Router
(ASN)
DSU
S212_VBP_FR_ATT
S11_FR_ATT
DLCI=895
161.120.184.65
(Auburn)
DLCI=895
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
Auburn
Insulate Industries
5001 “D” Street, NW
Aubun, Washington 98001
(253) 850-9000…Martin Wilhelm (Mgr.)
(253) 850-9000…Gene Buckle (IP) x-1051
(253) 850-9000…Guy McCarver (Novell) x-1052
DHEC 882269 (T-1)
DZEC 833450 (256k)
DHEC 134497 (T-1)
DHEC 134497 (1536k)
DLCI=720

## Slide 28: Auburn, Washington - Internet
Insulate Industries
5001 “D” Street, NW
Auburn, Washington 98001
(253) 850-9000…Martin Wilhelm (Mgr.)
(253) 850-9000…Gene Buckle (IP) x-1051
(253) 850-9000…Guy McCarver(Novell) x-1052
Auburn Firewall
Cisco 2601
Router
161.120.199.253
161.120.198.0
(255.255.254.0)
12.127.66.14
Firewall-1
Firewall
Internal Ethernet
External Ethernet
12.18.128.49
12.18.128.48
(255.255.255.240)
12.18.128.62
PBX
Addtran T-120
22 Channels
12.127.66.13
12.127.66.12
(255.255.255.252)
AT&T
T1 Circuit
Auburn Mail Server
12.18.128.50
161.120.198.139
Comment
External
Internal or DMZ
Network Address Translation Table
Notes: 35

## Slide 29: Aurora, Ohio (SGPPL)
Aurora (SGPPL)
Saint-Gobain Performance Plastics
1199 Chillicothe Road
Aurora, Ohio 44202
(330) 562-3921…Tom Moore
(330) 562-3950…Gordon Schmitt
(330) 562-9111…switchboard
(330) 562-3929…computer room
Aurora, OH
Cisco
Router
(3640)
Ethernet 0/0
172.16.5.254
161.120.254.254
Cisco
Router
(7206)
DHEC 816532 (T-1)
Serial 3/0.945
161.120.32.41
(Aurora)
DLCI=945
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Valley Forge
DLCI=120
Serial 2/0.120
161.120.32.42
(Valley Forge)
CSU
Loopback 0/0
10.120.9.53
DHEC 058784 (T-1)
DHEC 058784 (1536k)
DHEC 816532 (1536k)

## Slide 30: Aurora, Ohio - Frame Relay
ISX 5311
CSU
ROUTER
Aurora
Frame Relay (1536k Port - DLCI 945)
DHEC 816532 (T-1)
DHEC 816532 (1536k Port)
Akron (DLCI 205 @ 64k CIR)
Ravenna (DLCI 210 @ 32k CIR)
  Elk Grove (DLCI 200 @ 128k CIR)
  Beaverton (DLCI 195 @ 128k CIR)
  Granville (DLCI 185 @ 32k CIR)
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Valley Forge (DLCI 120 @ 32k CIR)
  Bridgewater (DLCI 685 @ 32k CIR)
Taunton (DLCI 710 @ 64k CIR)
Springboro (DLCI 905 @ 32k CIR)
Aurora (DLCI 945 @ 128k CIR)
Aurora (SGPPL)
Saint-Gobain Performance Plastics
1199 Chillicothe Road
Aurora, Ohio 44202
(330) 562-3921…Tom Moore
(330) 562-3950…Gordon Schmitt
(330) 562-9111…switchboard
(330) 562-3929…computer room
Notes: 35

## Slide 31: Avery, Ohio
Valley Forge, PA
Cisco
Router
(2610)
Serial 0/0.815
161.120.160.2
(Valley Forge)
Ethernet 0/0
161.120.166.254
Cisco
Router
(2610)
Serial 0/0
Serial 0/0
Serial 0/0.645
161.120.160.1
(Avery)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.6.133
Milan, OH
Console
Modem
Backup
Modem
Serial 0/1
161.120.160.6
(Valley Forge)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
DLCI=815
DHEC 052962 (T-1)
DHEC 052962 (1536k Port)
CertainTeed Roofing Products
11519 US Route 250 North
Milan, Ohio 44846
(419) 499-2581…Tom Gwynn x-247
(419) 499-2581…Jeff Kendra x-207
Avery
DLCI=645
DHEC 155043 (T-1)
DZEC 155433 (256k)
CSU

## Slide 32: Beaverton, Michigan
Beaverton
Beaverton, MI
Aurora, OH
Cisco
Router
(2610)
Serial 0/0.945
161.120.255.154
(Aurora)
Ethernet 0/0
161.120.253.126
Cisco
Router
(3640)
ISX5311
CSU
DHEC 970313 (T-1)
Serial 0/0
Serial 2/0.111
161.120.255.153
(Beaverton)
DLCI=111
DLCI=945
Patter Products
3910 Industrial Drive
Beaverton, MI 48612
(517) 435-9533…Switchboard
(517) 435-8221…Rick Laur
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
DHEC 816532 (T-1)
DHEC 816532 (1536k)
Loopback 0/0
10.120.9.9
IAEC 919477 (192k)

## Slide 33: Bensenville, Illinois
Worcester, MA
Cisco
Router
(7206)
Serial 3/3.560
161.120.1.241
(Bensenville)
Bristol, PA
Serial 0/0.560
161.120.1.34
(Bensenville)
Romulus, MI
Serial 0/0.560
161.120.1.146
(Bensenville)
Cisco
Router
(2610)
Cisco
Router
(2610)
Universal Superabrasives Inc.
84 O’Leary Drive
Bensenville, Illinois 60106
(630) 238-3300 x-215…Doug Miles
Bensenville
DHEC 531693 (T-1)
DHEC 531693 (1536k)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=565
DLCI=100
DLCI=91
Serial 0/0
DLCI=560
Loopback 0/0
10.120.2.29
Console
Modem
(630) 595-4594
Serial 0/0.565
161.120.1.145
(Romulus)
Seria 0/0.101
161.120.1.242
(Worcester)
Serial 0/0.91
161.120.1.33
(Bristol)
DHEC 014973 (T-1)
Bensenville, IL
Ethernet 0/0
161.120.119.126
Serial 0/0.36
161.120.1.149
(Livingston)
DLCI=36
Livingston, NJ
Cisco
Router
(2610)
Serial 3/0.560
161.120.1.150
(Bensenville)
DHEC 014973 (1536k)
DHEC 045072 (T-1)
DHEC 045072 (640k)
DHEC 853906 (T-1)
IAEC 006995 (192k)
DHEC 855270 (T-1)
DZEC 934681 (128k)
Cisco
Router
(2610)
Internal CSU
BRI 0/0
161.120.1.246
(Worcester)
ISDN 630-350-2971- / 630-350-4871

## Slide 34: Birmingham, Alabama
Valley Forge, PA
Cisco
Router
(2610)
Serial 0/0.820
161.120.160.18
(Valley Forge)
Ethernet 0/0
161.120.138.62
Cisco
Router
(7206)
Serial x/x.186
161.120.160.17
(Birmingham)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.6.233
Birmingham, AL
Console
Modem
Serial 0/1
161.120.160.22
(Valley Forge)
(205) 785-1147
DLCI=820
DHEC 589974 (T-1)
DHEC 589974 (1536k Port)
CSU
Celotex Corporation
1327 Erie Street
Birmingham, Alabama 35224
(205) 785-1145…Don Fitts x-210
Birmingham
DLCI=186
DHEC 849711 (T-1)
DZEC 973622 (256k)
Dial Backup
Modem
(205) 785-1146

## Slide 35: Bloomington, Minnesota
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(612) 703-5653
Dial Backup
Modem
(612) 703-5653
Bloomington, MN
E11_BLOOMINGTON
161.120.52.30
162.18.204.254
DLCI=155
161.120.49.114
(Muncie)
DLCI=400
161.120.49.113
(Bloomington)
AREC 164900 (56k)
DLCI=400
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
Williams & Associates
405 East 78th Street
Bloomington, MN 55420
(612) 703-5620…Tim McDaniels
Bloomington

## Slide 36: Blue Bell, Pennsylvania
Cisco
Router
(2610)
Ethernet 0/0
161.120.44.254
Cisco
Router
(2610)
Serial 3/0
Serial 0/0
Serial 3/0.255
161.120.165.226
(Blue Bell)
DLCI=815
Loopback 0/0
10.120.6.153
Blue Bell, PA
Console
Modem
Backup
Modem
Ethernet 0/1
161.120.46.254
(xxx) xxx-xxxx
(xxx) xxx-xxxx
CSU
CertainTeed Corporation
1400 Union Meeting Road
Blue Bell, Pennsylvania 19422
(610) 341-6253…Ken Lewis
Blue Bell
DHEC 052962 (T-1)
DHEC 052962 (1536k Port)
DLCI=255
DHEC 388278 (T-1)
DZEC 656464 (256k)
Serial 0/0.265
161.120.128.178
(Valley Forge Internet)
Serial 0/0.815
161.120.165.226
(Valley Forge Corporate)
DHEC 394677 (T-1)
DZEC 402424 (256k)
DLCI=265
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Cisco
Router
(2610)
Serial 0/0
Serial 0/0.255
161.120.128.177
(Blue Bell)
Valley Forge
(Corporate)
Valley Forge
(Internet)

## Slide 37: Bradenton, Florida (plant)
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(941) 746-1260
Dial Backup
Modem
(941) 746-2903
Bradenton (plant)
Bradenton, FL
E11_BRADENTON
161.120.52.78
O12_BRADENTON
161.120.56.62
10.120.51.190
DLCI=435
161.120.49.129
(Bradenton)
DLCI=155
161.120.49.130
(Muncie)
AREC 205848 (56k)
DLCI=435
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
Tropicana
Glass Plant
1001 13th Avenue East
Bradenton, FL 34208
(941) 747-4461…John Hurstak x-3106

## Slide 38: Bradenton, Florida (warehouse)
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(941) 746-3277
Dial Backup
Modem
(941) 746-0356
Bradenton (warehouse)
Bradenton, FL
E11_BRADENTON
161.120.55.222
DLCI=155
161.120.49.146
(Muncie)
DLCI=430
161.120.49.145
(Bradenton)
AREC 205847 (56k)
DLCI=430
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
Tropicana
Warehouse 17
1001 13th Avenue East
Bradenton, FL 34208
(941) 747-4461…John Hurstak x-3106

## Slide 39: Brampton, Ontario
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=120
Niagara Falls, NY
Cisco
Router
(3640)
DLCI=302
161.120.123.41
(Brampton)
DLCI=200
161.120.123.42
(Niagara falls)
Ethernet 0/0
161.120.123.254
DLCI=302
Loopback 0/0
10.120.3.153
Brampton, ONT
DLCI=120
161.120.123.46
(Valley Forge)
DLCI=302
161.120.123.45
(Brampton)
Brampton
Bay Mills
6 Holtby Avenue
Brampton, ONT L6X 2M1
(905) 456-3394…Craig Samuels
DHEC 058784 (T-1)
DHEC 058784 (1536k)
XBYNN2004 (56k)
XB YNN2004 (56k)
Serial 0/0
Cisco
Router
(2610)
Internal DSU
DLCI=200
DHEC 560676 (T-1)
DEEC 981016 (512k)

## Slide 40: Bristol, Pennsylvania
Worcester, MA
Serial 0/0.100
161.120.1.234
(Worcester)
Cisco
Router
(7206)
Serial 3/3
Serial 3/3.91
161.120.1.233
(Bristol)
DLCI=91
DLCI=100
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.2.73
Console
Modem
Bristol, PA
Serial 0/0.560
161.120.1.34
(Bensenville)
DLCI=560
Bensenville, IL
Cisco
Router
(2610)
Serial 0/0
Serial 0/0.91
161.120.1.33
(Bristol)
Serial 0/1
161.120.1.238
(Worcester)
Cisco
Router
(2610)
Internal CSU
ISDN 215-788-6940 / 215-788-7483
Ethernet 0/0
161.120.65.126
DHEC 014973 (T-1)
Serial 0/0
DHEC 014973 (1536k)
DHEC 855270 (T-1)
DZEC 934681 (256k)
Universal Superabrasives Inc.
130 Wharton Road
Bristol, Pennsylvania 19007
(215) 785-5266…Walt Baumbach x-21
(215) 785-5266…Ed Lusher x-20
Bristol
(215) 781-9458
DHEC 531693 (T-1)
DHEC 531693 (1536k)

## Slide 41: Brownsville, Texas
Worcester, MA
Cisco
Router
(2610)
Serial 0/0.130
161.120.1.42
(Worcester)
Ethernet 0/0
161.120.122.254
Cisco
Router
(7206)
Serial 3/0
Serial 0/0
Serial 3/0.780
161.120.1.41
(Brownsville)
DLCI=780
DLCI=130
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.2.9
Console
Modem
(956) 542-2385
Brownsville, TX
DHEC 035872 (T-1)
DXEC 013752 (128k)
Voice
To PBX
ISX 5312
Drop/Insert
CSU
Norton Company
1505 Morningside Road
Brownsville, TX 78521
(956) 541-5285…Luis Morrison x-347
Brownsville
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Serial 0/0.775
161.120.1.97
(Hidalgo)
DLCI=775
AREC 031472 (56k)
Hidalgo, TX
Cisco
Router
(7206)
Serial 0/0
Serial 0/0.780
161.120.1.98
(Hidalgo)
ISDN 956-982-2274 / 956-982-2295
Serial 0/1
161.120.1.46
(Worcester)

## Slide 42: Brunswick, Maine
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=201
DLCI=120
Seguin, TX
Cisco
Router
(2611)
Serial 0/0.261
161.120.123.82
(Brunswick)
Serial 0/0.201
161.120.123.81
(Seguin)
Ethernet 0/0
161.120.124.126
DLCI=261
Loopback 0/0
10.120.3.81
Console
Modem
Brunswick, ME
Bril 0/1
161.120.123.94
(Valley Forge)
Serial 0/0.120
161.120.123.90
(Valley Forge)
Serial 3/1.261
161.120.123.89
(Brunswick)
(207) 725-5203
DHEC 580317 (T-1)
DEEC 822011 (512k)
ISDN 207-798-6688 / 207-798-6689
DHEC 058784 (T-1)
DHEC 058784 (1536k)
Cisco
Router
(2611)
DHEC 854630 (T-1)
DCEC 804398 (384k)
Brunswick
Saint-Gobain BTI, Inc.
43 Bibber Parkway
Brunswick, Maine 04011
(207) 729-7792…Mark Daniels
(207) 729-7792…Phil Harmon
ISX-5312
Port 1
DS-0 #1-8
DS1-A
DS-0 # 1-24
DS1-B
DS-0 # 9-24

## Slide 43: Bryan, Texas
Stow, OH
Serial 0/0.600
161.120.16.34
(Stow)
Ethernet 0/0
161.120.17.254
10.120.17.254
Cisco
Router
(3640)
Serial 1/0.607
161.120.16.33
(Bryan)
Loopback 0/0
10.120.10.13
Bryan, TX
Serial 0/1
161.120.16.38
(Stow)
Saint-Gobain NorPro
1500 Independence Avenue
Bryan, TX 77803
(979) 779-1500…Mike Roberts x-137
(979) 779-1500...John Covey x-126
Bryan
FRBRY99-1680109 (384 KB)
DS1-1680055 (T-1)
ISDN 979-691-8673 / 979-691-2814
DLCI=607
DLCI=600
Qwest
Frame Relay
(800) 860-1020
FRKEN00-3203371 (768 KB)
DS1-3203368 (T-1)
ISX-5311
CSU
Cisco
Router
(2610)
Internal CSU
Console
Modem
(979) 775-2920

## Slide 44: Buckhannon, West Virginia
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=225
DLCI=120
Cisco
Router
(2610)
Serial 0/0.760
161.120.2.113
(Buckhannon)
Cisco
Router
(2610)
Serial 0/0.120
161.120.2.138
(Valley Forge)
Ethernet 0/0
10.120.23.62
161.120.27.126
Serial 0/0
DLCI=760
Loopback 0/0
10.120.3.45
Console
Modem
Serial 0/1
161.120.2.118
(Louisville)
Serial 0/0.225
161.120.2.114
(Louisville)
Serial 3/0.760
161.120.2.137
(Buckhannon)
(304) 472-0481
Corhart Refractories
Highway 33 W Route 6
Buckhannon, West Virginia 26201
(304) 472-4000…Main number
(304) 473-1296…Steve Leigh
(304) 473-1269…Computer room
Louisville, KY
Valley Forge, PA
Buckhannon
Buckhannon, WV
ISDN 304-472-8985 / 304-472-8986
DHEC 038447 (T-1)
DEEC 007165 (512k)
ISX 5311
CSU
DZEC 001733 (256k)
DHEC 058784 (T-1)
DHEC 058784 (1536k)

## Slide 45: Buffalo, New York
Buffalo
Buffalo, NY
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=635
161.120.176.66
(Valley Forge)
E11_BUFFALO
161.120.177.126
Bay Networks
Router
(ASN)
DSU
S421_FRAME_ATT
S11_FR_ATT
DLCI=51
161.120.176.65
(Buffalo)
Bufftech
2525 Walden Avenue
Buffalo, NY 14225
(800) 333-0569…automated attendant
(716) 685-1600…Joe Pointkowski - 262
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
S12
DZEC 962666 (256k)
DHEC 154885 (T-1)
DEEC 155176 (512k)
DLCI=51
DLCI=635
DHEC 913256 (T-1)

## Slide 46: Burlington, Wisconsin
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(262) 773-3687
Dial Backup
Modem
(262) 763-6832
Saint-Gobain Containers
815 South McHenry Street
Burlington, WI 53105
(262) 763-9161…Karen Reily x-3736
Burlington
Burlington, MN
O12_BURLINGTON
161.120.55.158
10.120.56.126
E11_BURLINGTON
161.120.50.158
161.120.116.62
10.120.91.254
DLCI=155
161.120.48.242
(Muncie)
DLCI=365
161.120.48.241
(Burlington)
AREC 349791 (56k)
DLCI=365
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)

## Slide 47: Carteret, New Jersey
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(xxx) xxx-xxxx
Dial Backup
Modem
(732) 969-3856
Saint-Gobain Containers
1 Minue Street Carteret, NJ 07008
(732) 969-1400…Peter Lensi x-2250
Carteret
Carteret, NJ
O12_CARTERET
161.120.58.126
E11_CARTERET
161.120.50.190
161.120.116.126
DLCI=155
161.120.48.98
(Muncie)
DLCI=345
161.120.48.97
(Carteret)
AREC 372192 (56k)
DLCI=345
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)

## Slide 48: Chandler, Arizona
Valley Forge, PA
DLCI=226
161.120.7.177
(Irving)
DLCI=221
DLCI=226
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Albuquerque, NM
Cisco
Router
(2610)
DLCI=211
DLCI=120
161.120.2.154
(Valley Forge)
DLCI=231
161.120.2.161
(Albuquerque)
DLCI=120
Milpitas, CA
DLCI=266
Irving, TX
DLCI=221
161.120.2.178
(Chandler)
DLCI=211
161.120.2.169
(Milpitas)
Cisco
Router
(2610)
Cisco
Router
(2610)
Cisco
Router
(7206)
Ethernet 0/0
161.120.24.62
Serial 0/0
Loopback 0/0
10.120.3.241
Console Modem: (480) 785-4999
BRI1/0 480-763-8106 / 480-763-8107
DLCI=221
161.120.2.162
(Chandler)
DLCI=221
161.120.2.170
(Chandler)
DLCI=221
161.120.2.153
(Chandler)
Sandy, UT
Cisco
Router
(2610)
DLCI=221
161.120.2.186
(Chandler)
DLCI=231
DLCI=266
161.120.2.185
(Sandy)
BRI1/1 480-785-3926 / 480-785-3938
BRI1/2 480-785-3946 / 480-785-3954
Quartz International
6145 West Detroit Street
Chandler, Arizona 85226
(480) 961-2900…Dennis Dillingham
(602) 793-7966…Dennis cell phone
DHEC 890254 (T-1)
DCEC 003727 (384k)
Cisco
Router
(3640)
Internal CSU
Chandler
Chandler, AZ
BRI1/3 480-785-3958 / 480-785-3960

## Slide 49: Charleston,South Carolina
AT&T
FDEC 422846
1-800-762-1099
Charleston
T1 Multiplexor
Slot # 23
DS0 Channel # 23
AT&T circuit
DHEC 416516.100
Modem
CSU
Modem
AS/400
ABR02
Charleston
Worcester
T1 Circuit
Cameron and Barkley
2864 Azalea Drive
Charleston, SC 29441
(803) 745-2477…Lee Edenfield (systems)
(803) 554-9550…Bob Nelson (manager)
Cameron & Barkley
Notes: 9

## Slide 50: Charleston, South Carolina (Roofing)
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.840
161.120.165.161
(Aurora)
Cisco
Router
(2610)
Serial 0/0.810
161.120.165.162
(Irving)
Ethernet 0/0
161.120.161.62
Racal
Excalibur
DAP
Serial 0/0
DLCI=840
Loopback 0/0
10.120.6.177
Console
Modem
Backup
Modem
Charleston, SC
Serial 0/1
161.120.160.158
(Valley Forge)
Serial 0/0.805
161.120.160.154
(Valley Forge)
Serial 3/1.840
161.120.160.153
(Aurora)
Charleston (Roofing)
GS Roofing Products Company
2900 Bird Street
Charleston, South Carolina 29405
(843) 744-7451…Paul Evangelist x-211
AREC 001411 (56k)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)

## Slide 51: Charlotte, North Carolina
Charlotte
LIS Warehouse Systems
9201-E Southern Pine Blvd.
Charlotte, North Carolina 28273
(704) 521-3241…John Finkbeiner x-1721
Charlotte, NC
Non
SGC
Router
DLCI=155
161.120.49.210
(Muncie)
Non
SGC
DSU
NON SGC CIRCUIT
DLCI=111
161.120.49.209
(Charlotte)
DLCI=111
DLCI=155
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Muncie, IN
DHEC 431503 (T-1)
DHEC 431503 (1024k)
Bay Networks
Router
(ASN)
S131_FR_ATT

## Slide 52: Chester, Pennsylvania
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.845
161.120.165.181
(Chesster)
Cisco
Router
(2610)
Serial 0/0.810
161.120.165.182
(Irving)
Ethernet 0/0
161.120.165.14
Racal
Excalibur
DAP
Serial 0/0
DLCI=845
Loopback 0/0
10.120.6.197
Console
Modem
Backup
Modem
Chester, PA
Serial 0/1
161.120.160.198
(Valley Forge)
Serial 0/0.805
161.120.160.194
(Valley Forge)
Serial 3/1.845
161.120.160.193
(Chester)
Chester
GS Roofing Products Company
800 W. Front Street
Chester, Pennsylvania 19013
(610) 874-5222…Ed Cohen
AREC 053574 (56k)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)

## Slide 53: Chesterfield, Missouri
Bay Networks
Router
(ARN)
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(636) 530-6008
Dial Backup
Modem
(636) 530-6151
Saint-Gobain Containers
400 Chesterfield Center
Suite 650
Chesterfield, Missouri 63017
(636) 299-5480…main number
(636) 299-5494…Aaron Hopkins
Chesterfield
Chesterfield, MO
E11_CHESTERFIELD
161.120.55.190
DLCI=155
161.120.52.242
(Muncie)
DLCI=16
161.120.52.241
(Chesterfield)
DLCI=16
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DHEC 973089 (T-1)
DXEC 915530 (128k)
Voice
T-1 to PBX
DS1-B
DS-0 # 3-24
DS1-A
DS-0 # 1-24
ISX-5312
Port 1
DS-0 # 1-2

## Slide 54: Chippawa, Ontario
Niagara Falls, Ontario
XBYNNFR2002 (56k)
ATT
United States
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
DLCI=790
DLCI=380
ATT
Canada
Frame Relay
(800) 613-9456
Worcester, MA
Cisco
Router
(7206)
Serial 3/0
Serial 3/0.380
161.120.2.9
(Chippawa)
Cisco
Router
(2610)
Serial 0/0.790
161.120.2.10
(Worcester)
Ethernet 0/0
161.120.27.254
Serial 0/0
Loopback 0/0
10.120.3.65
Console
Modem
Backup
Modem
Serial 0/1
161.120.2.14
(Worcester)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
Racal
Excalibur
DAP
Norton Advanced Ceramics of Canada, Inc.
8001 Daly Street
Niagara Falls, Ontario L2G 6S2
(905) 295-4311...Jim Davis x-221
Chippawa
DHEC 003714 (T-1)
DTEC 002552 (768k)

## Slide 55: Chowchilla, California (Plant)
Chowchilla, CA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=660
161.120.128.34
(Valley Forge)
E11_CHOWCHILLA
161.120.136.254
Bay Networks
Router
(ASN)
CSU
DHEC 399225 (T-1)
Sxxx_FR_IG
DHEC 394716 (T-1)
IFEC 394956 (640k)
S13_FR_ATT
DLCI=675
161.120.128.33
(Chowchilla)
DLCI=675
DLCI=660
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S15
O12_CHOWCHILLA
161.120.137.62
Chowchilla (Plant)
DZEC 399303 (256k)
CertainTeed Corporation
17775 Avenue 23 1/2
Chowchilla, California 93610
(559) 665-4831…Rick Goddard x-262

## Slide 56: Chowchilla, California (Warehouse)
Chowchilla, CA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=660
161.120.128.138
(Valley Forge)
E11_CHOWCHILLA
161.120.131.118
Bay Networks
Router
(ASN)
CSU
AREC 701902 (56k)
Sxxx_FR_IG
DHEC 394716 (T-1)
IFEC 394956 (640k)
S13_FR_ATT
DLCI=126
161.120.128.137
(Chowchilla)
DLCI=126
DLCI=660
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S15
Chowchilla (Whs..)
Castle Distribution Services
16505 Ave 24 1/2
Chowchilla, California 93610
(559) 665-3716…Brenda Haley

## Slide 57: City of Industry, California
City of Industry (Calmar)
City of Industry, CA
Valley Forge, PA
Cisco
Router
(????)
DLCI=621
161.120.32.130
(Valley Forge)
Ethernet?/?
161.120.169.254
Bay Networks
Router
(ASN)
CSU
S111_FR_WORLD
WZ818115 (384k)
Serial?/?
DLCI=623
161.120.32.129
(City of Industry)
DLCI=623
DLCI=621
MCI/Worldcom
Frame Relay
(800) 880-9680
Calmar Inc.
333 South Turnbull Canyon Road
City of Industry, California 91745
(626) 937-2727…Curtis Bunds
(626) 937-2633…Suzi Fleck
WZ193951 (256k)

## Slide 58: City of Industry, California - Internet
Calmar, Inc.
333 South Turnbull Canyon Road
City of Industry, California 91745
(626) 937-2727…Curtis Bunds
City of Industry Firewall
Cisco 2524
Router
161.120.169.18
161.120.169.0
(255.255.255.0)
Checkpoint
Firewall-1 v4.0
Internal Ethernet
External Ethernet
208.241.163.130
208.241.163.128
(255.255.255.240)
208.241.163.129
UUNet
T1 Circuit
Los Angeles, CA
Network Address Translation Table
DMZ Ethernet
192.168.10.0
(255.255.255.0)
192.168.10.1
Web Server
208.241.163.135
192.168.10.11
Mail Server
208.241.163.132
161.120.169.17
Comment
External
Internal or DMZ
DLCI 500
Notes: 35

## Slide 59: Clinton, Iowa
Clinton, IA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=250
161.120.192.82
(Dallas)
E11_CLINTON
161.120.196.62
Bay Networks
Router
(ASN)
DSU
AREC 531354 (56k)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=245
161.120.192.49
(Clinton)
DLCI=245
DLCI=110
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Dallas, TX
Bay Networks
Router
(ARN)
DLCI=245
161.120.192.81
(Clinton)
DLCI=250
S11_FR_ATT
DLCI=110
161.120.192.50
(Valley Forge)
Airvent, Inc.
1710 South 21st Street
Clinton, Iowa 52732
(319) 242-3554…Randy McBride
Clinton
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
AREC 334724 (56k)

## Slide 60: CompuServe
Compuserve
Columbus, OH
(800) 848-8980…ask for ticket
(781) 290-5959…Sean Weishar
Columbus
COMPUSERVE
T/R
Renex
RPAD-II
NRU
Renex
RPAD-II
NRZ
X.25
Renex
RPAD-II
???
T/R
Valley Forge
Worcester
Renex
RPAD-II
???
X.25
X.25
X.25
Cisco
Router
(4500)
Worcester
Notes: 10

## Slide 61: Covington, Georgia
Covington
Covington, GA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=110
161.120.192.114
(Valley Forge)
E11_COVINGTON
159.151.58.253
Bay Networks
Router
(ASN)
DSU
AREC 612053 (56k)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=705
161.120.192.113
(Covington)
DLCI=705
DLCI=110
SGD Glass
9141 Technology Drive NE
Covington, Georgia 30014
(770) 385-3824…Larry Bowers
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
S12

## Slide 62: Dallas, Texas (Airvent)
Valley Forge
Bay Networks
Router
(ARN)
DLCI=245
161.120.192.81
(Clinton)
Bay Networks
Router
(ASN)
CSU
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=250
161.120.192.33
(Dallas)
DLCI=250
DLCI=110
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Peoria
Bay Networks
Router
(ARN)
DLCI=250
161.120.192.98
(Dallas)
DLCI=240
DLCI=110
161.120.192.34
(Valley Forge)
DHEC 525447 (T-1)
DLCI=245
Clinton
Bay Networks
Router
(ARN)
DLCI=250
161.120.192.82
(Dallas)
DLCI=240
161.120.192.97
(Peoria)
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
CertainTeed Corporation
3000 West Commerce
Dallas, Texas 75212
(214) 589-7221…June Smith
Dallas (Ventilation)
Dallas
E11_DALLAS
161.120.195.254
AREC 531354 (56k)
AREC 531353 (56k)
DLCI=830
161.120.192.137
(Lincolnton)
Lincolnton
Bay Networks
Router
(ARN)
DLCI=250
161.120.192.137
(Dallas)
DLCI=830
AREC 044028 (56k)
DZEC 003157 (256k)

## Slide 63: Dallas, Texas (Roofing)
Valley Forge, PA
Cisco
Router
(2610)
Serial 0/0.820
161.120.160.42
(Valley Forge)
Ethernet 0/0
161.120.139.30
Cisco
Router
(7206)
Serial x/x.171
161.120.160.41
(Dallas)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.6.241
Dallas, TX
Console
Modem
Serial 0/1
161.120.160.46
(Valley Forge)
(xxx) xxx-xxxx
DLCI=820
DHEC 589974 (T-1)
DHEC 589974 (1536k Port)
CSU
Celotex Corporation
13800 Monfort Drive
Suite 350 Dallas, Texas 75240
(972) 661-1406…Laura Bachelder
Dallas (Roofing)
DLCI=171
DHEC 847385 (T-1)
DXEC 882422 (256k)
ISDN xxx-xxx-xxxx / xxx-xxx-xxxx

## Slide 64: Delaware, Ohio
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(740) 369-7354
Dial Backup
Modem
(740) 369-1092
Delaware
DMI Warehouse
1076 Pittsburgh Drive
Delaware, Ohio 43015
(740) 363-1086…Tara Kunce
Delaware, OH
E11_DELAWARE
161.120.56.158
DLCI=155
161.120.52.210
(Muncie)
DLCI=575
161.120.52.209
(Delaware)
AREC 056211 (56k)
DLCI=575
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)

## Slide 65: Denver, Colorado
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.61
161.120.165.201
(Denver)
Cisco
Router
(2610)
Serial 0/0.810
161.120.165.202
(Irving)
Racal
Excalibur
DAP
Serial 0/0
DLCI=61
Loopback 0/0
10.120.6.217
Console
Modem
Backup
Modem
Denver, CO
Serial 0/1
161.120.160.238
(Valley Forge)
Serial 0/0.805
161.120.160.234
(Valley Forge)
Serial 3/1.61
161.120.160.233
(Denver)
Denver
CertainTeed Corporation
12695 E. 39th Ave.
Denver, Colorado 80239
(303) 576-8433…David Diblee
AREC 870635 (56k)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)
Ethernet 0/0
161.120.165.94

## Slide 66: Dolton, Illinois
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(708) 849-1750
Dial Backup
Modem
(708) 849-1562
Dolton
Saint-Gobain Containers
13850 Cottage Grove Avenue Dolton, IL 60419
(708) 849-1500…Milt Penenger x-3173
Dolton, IL
O12_DOLTON
161.120.58.30
10.120.54.126
E11_DOLTON
161.120.51.190
AREC 372190 (56k)
DLCI=335
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DLCI=155
161.120.48.114
(Muncie)
DLCI=335
161.120.48.113
(Dolton)

## Slide 67: Dover, Ohio
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=120
Niagara Falls, NY
Cisco
Router
(3640)
DLCI=206
161.120.123.9
(Dover)
DLCI=200
161.120.123.10
(Niagara falls)
Ethernet 0/0
161.120.121.126
DLCI=206
Loopback 0/0
10.120.3.133
Console
Modem
Dover, OH
Seriall 0/1
161.120.123.14
(Niagara Falls)
DLCI=120
161.120.123.62
(Valley Forge)
DLCI=206
161.120.123.61
(Dover)
Dover
Saint-Gobain Technical Fabrics/Perma Glas-Mesh
153 West Broadway Street
Dover, OH 44622
(330) 343-4441…Larry Embrey x-308
(330) 602-7751
DHEC 058784 (T-1)
DHEC 058784 (1536k)
DHEC 560962 (T-1)
DXEC 966744 (128k)
Serial 0/0
Cisco
Router
(2610)
Internal CSU
DLCI=200
DHEC 560676 (T-1)
DEEC 981016 (512k)
(330) 602-8582
Dial Backup
Modem

## Slide 68: Dunkirk, Indiana
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(765) 768-6363
Dial Backup
Modem
(xxx) xxx-xxxx
Saint-Gobain Containers
524 E. Center Street
Dunkirk, Indiana 47336-1365
(765) 768-7891…Kim Pratt
Dunkirk
Dunkirk, IN
AREC 431506 (56k)
DLCI=280
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DLCI=155
161.120.48.50
(Muncie)
DLCI=280
161.120.48.49
(Dunkirk)
O12_DUNKIRK
161.120.57.254
161.120.59.30
10.120.51.126
10.120.58.254
E11_DUNKIRK
161.120.117.254
10.120.57.62
10.120.58.254

## Slide 69: El Monte, California
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(626) 279-3270
Dial Backup
Modem
(626) 279-0615
Saint-Gobain Containers
4000 N. Arden Drive
El Monte, California 91731-1806
(626) 279-3214…Gladys McKenzie
El Monte
AREC 128263 (56k)
DLCI=295
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
O12_EL_MONTE
161.120.59.94
10.120.51.254
E11_EL_MONTE
161.120.51.62
10.120.57.126
DLCI=155
161.120.48.130
(Muncie)
DLCI=295
161.120.48.129
(El Monte)

## Slide 70: Ennis, Texas
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.835
161.120.165.145
(Ennis)
Cisco
Router
(2610)
Serial 0/0.810
161.120.165.146
(Irving)
Ethernet 0/0
161.120.161.94
Racal
Excalibur
DAP
Serial 0/0
DLCI=835
Loopback 0/0
10.120.6.161
Console
Modem
Backup
Modem
Ennis, TX
Serial 0/1
161.120.160.110
(Valley Forge)
Serial 0/0.805
161.120.160.106
(Valley Forge)
Serial 3/1.835
161.120.160.105
(Ennnis)
Ennis
GS Roofing Products Company
2901 N. Kaufman Street
Ennis, Texas 75119
(972) 875-9661…Adell Foutch
AREC 053667 (56k)
(xxx) xxx-xxxx
(972) 875-4771
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)

## Slide 71: Exodus
Exodus (Ceramics Web Hosting)
Switch
(Ceramics)
64.28.65.219
Switch
(Ceramics)
Contivity 1500
(SGC)
Firewall
(Ceramics/Exodus)
Switch
(Ceramics)
WebServer1
(Ceramics)
WebServer2
(Ceramics)
64.28.65.222
64.28.65.209
Router
(Exodus)
SGC Internal Network
161.120.64.0
(255.255.255.224)
10.120.123.0
(255.255.255.128)
Exodus Internal Network
192.168.78.64
(255.255.255.192)
Exodus External Network
64.28.65.208
(255.255.255.240)
Internet
Contivity 2500
(SGC)
Secure Tunnel
161.120.64.13-24
10.120.123.1-24
161.120.64.1-12
10.120.123.25.48
192.168.78.65
192.168.78.70-73
192.168.78.74-77
Managed Services
(Exodus)
Data Vault
(Exodus)
Exodus Backkup Network
10.248.65.192
(255.255.240.0)
10.248.65.194
10.248.65.195
Exodus IDC - BOS 2
580 Winter Street (corner First Ave)
Waltham, MA
Location: BO2, cage 607, colo 2, rack R
Customer ID: 069929
(877) 393-7878…Response Ctr.
Switch
(Exodus)
161.120.64.29 (gateway)
161.120.64.30 (admin)

## Slide 72: Fairfield, California
Bay Networks
Router
(ARN)
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(707) 863-4020
Dial Backup
Modem
(707) 863-4002
Fairfield
Saint-Gobain Containers
5195 Fermi Drive
Fairfield, California 94585
(707) 863-4063…Cindy Steele
DHEC 702137.100 (T-1)
DLCI=161
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DXEC 510391 (128k)
E11_FAIRFIELD
10.120.57.190
161.120.57.62
Fairfield, CA
Voice
T-1 to PBX
DS1-B
DS-0 # 5-24
DS1-A
DS-0 # 1-24
ISX-5312
Port 1
DS-0 # 1-2
DLCI=155
161.120.48.66
(Muncie)
DLCI=161
161.120.48.65
(Fairfield)

## Slide 73: Fremont, California
Valley Forge, PA
Cisco
Router
(2610)
Serial 0/0.820
161.120.160.66
(Valley Forge)
Ethernet 0/0
161.120.138.190
Cisco
Router
(7206)
Serial x/x.166
161.120.160.65
(Fremont)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.6.249
Fremont, CA
Console
Modem
BRI 0/0
161.120.160.69
(Valley Forge)
(xxx) xxx-xxxx
DLCI=820
DHEC 589974 (T-1)
DHEC 589974 (1536k Port)
CSU
Celotex Corporation
6400 Stephenson Blvd.
Fremont, California 94538
(510) 490-0890…Frank Pickar x-2215
Fremont
DLCI=166
DHEC 845226.900 (T-1)
DZEC 950193 (256k)
ISDN 510-657-4748 / 510--657-4803

## Slide 74: Fresno, California
Fresno, CA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=660
161.120.128.202
(Valley Forge)
E11_FRESNO
161.120.131.126
Bay Networks
Router
(ASN)
CSU
AREC 702039 (56k)
Sxxx_FR_IG
DHEC 394716 (T-1)
IFEC 394956 (640k)
S13_FR_ATT
DLCI=131
161.120.128.201
(Fresno)
DLCI=131
DLCI=660
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S15
Fresno
Group Warehouse
3550 South Willow
Fresno, California 93725
(559) 265-4200…Shirley Nelson

## Slide 75: Ft. Collins, Colorado
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(970) 493-3058
Dial Backup
Modem
(970) 493-5358
Ft. Collins, CO
Ft. Collins
Hydra Warehouses, Inc.
3620 Weicker Drive
Ft. Collins, CO 80524
(970) 493-6101…Ken White x-308
AREC 205843 (56k)
DLCI=420
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DLCI=155
161.120.49.162
(Muncie)
DLCI=420
161.120.49.161
(Ft. Collins)
E11_FT_COLLINS
161.120.55.254

## Slide 76: Fullerton, California
Worcester, MA
Cisco
Router
(2610)
Serial 0/0.130
161.120.1.50
(Worcester)
Ethernet 0/0
161.120.10.62
Cisco
Router
(7206)
Racal
Excalibur
DAP
Serial 3/0
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Serial 0/0
Serial 3/0.770
161.120.1.49
(Fullerton)
DLCI=770
DLCI=130
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.2.17
(714) 774-4389
(714) 774-4391
Fullerton, CA
AREC 031471 (56k)
Console
Modem
Backup
Modem
Serial 0/1
161.120.1.54
(Worcester)
Penhall Diamond Products
1345 South Acacia Avenue
Fullerton, CA 92631
(714) 776-0937…Marietta Finney x-244
(714) 776-0937…Doug Wade x-243
(800) 854-3281
Fullerton

## Slide 77: Gainesville, Georgia
Worcester, MA
Serial 0/0.130
161.120.1.58
(Worcester)
Ethernet 0/0
161.120.11.126
Cisco
Router
(7206)
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Serial 3/0.770
161.120.1.57
(Gainesville)
DLCI=800
DLCI=130
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.2.33
(770) 965-8996
Gainesville, GA
DHEC 032935 (T-1)
Console
Modem
Serial 0/1
161.120.1.62
(Worcester)
DZEC 002770 (256k)
Norton Company
4600 Cantrell Road
Flowery Branch, GA 30542
(770) 967-3954…Michael Durbin x-282
Gainesville
ISDN 770-844-9305 / 770-844-9302
Cisco
Router
(2610)
Internal CSU

## Slide 78: GEISCO
Worcester, MA
Cisco
Router
(7206)
CSU
(GEIS)
Serial 3/0
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Serial 3/0.540
161.120.1.5
(GEIS)
DLCI=540
DLCI=130
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Brook Park, OH
GEIS Brook Park
5347 West 161st Street
Brook Park, Ohio 44142
(216) 362-5614…John Karpinsky
GEISCO (Brook Park)
DHEC 225564 (T-1)
DHEC 225564 (1536k)
GEIS
SGC
RS-6000
161.120.72.133
161.120.1.6
(Worcester)
Cisco
Router
(Home Depot)
Server
198.147.174.72

## Slide 79: Glenmont, New York
Troy, NY
Cisco
Router
(2610)
Serial 0/0
161.120.1.66
(Troy)
Ethernet 0/0
161.120.85.62
Cisco
Router
(7206)
Racal
Excalibur
DAP
Serial 1/0
161.120.1.65
(Glenmont)
Loopback 0/0
10.120.2.89
(518) 427-9942
(518) 427-9950
Glenmont, NY
Console
Modem
Backup
Modem
Serial 0/1
161.120.1.70
(Troy)
Verizon
34 XHGL 210664 (56k)
Trouble Reporting: 518-890-7711
Glenmont
Norton Engineered Abrasives
645 Wemple Road
Glenmont, New York 12077
(518) 426-3150…Mat Coonrad

## Slide 80: Glenwood, Arkansas
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.504
161.120.165.157
(Glenwood)
Cisco
Router
(2610)
Serial 0/0.810
161.120.165.158
(Irving)
Ethernet 0/0
161.120.161.206
Racal
Excalibur
DAP
Serial 0/0
DLCI=504
Loopback 0/0
10.120.6.173
Console
Modem
Backup
Modem
Glenwood, AR
Serial 0/1
161.120.160.150
(Valley Forge)
Serial 0/0.805
161.120.160.146
(Valley Forge)
Serial 3/1.504
161.120.160.145
(Glenwood)
Glenwood
GS Roofing Products Company
Hwy. 27 & Hwy. 8 North
Glenwood, Arkansas 71943
(870) 356-3423…Butch Cowart
AREC 440771 (56k)
(xxx) xxx-xxxx
(870) 356-4611
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)

## Slide 81: Grand Rapids, Michigan
Worcester, MA
Cisco
Router
(2610)
Serial 0/0.130
161.120.1.74
(Worcester)
Ethernet 0/0
172.22.160.100
Cisco
Router
(7206)
Racal
Excalibur
DAP
Serial 3/0
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Serial 0/0
Serial 3/0.740
161.120.1.73
(Grand Rapids)
DLCI=740
DLCI=130
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.2.85
Console
Modem
Backup
Modem
(616) 554-7054
(616) 554-9223
Grand Rapids, MI
AREC 090162 (56k)
Grand Rapids
Provia Software Inc.
5460 Corporate Grove Boulevard SE
Grand Rapids, MI 49512-5500
(616) 974-8558…Kevin Knight
(616) 285-3311…main number
Haushahn
Firewall
172.22.160.1
208.224.1.x

## Slide 82: Grinnell, Iowa
Grinnell
Grinnell, IA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=720
161.120.184.90
(Valley Forge)
E11_GRINNELL
161.120.190.254
Bay Networks
Router
(ASN)
DSU
DHEC 930680 (T-1)
DHEC 134497 (T-1)
DHEC 134497 (1536k)
S11_FR_ATT
DLCI=985
161.120.184.89
(Grinnell)
DLCI=935
DLCI=720
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
CertainTeed Vinyl Building Products
Industrial Avenue
Grinnell, Iowa 50112
(515) 236-7505…Dave Chizek x-330
Sync
Dial Backup
Modem
S12
DZEC 965424 (256k)
S212_VBP_FR_ATT

## Slide 83: Hagerstown, Maryland
Williamsport, MD
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=735
161.120.184.210
(Valley Forge)
Bay Networks
Router
(ASN)
CSU
DHEC 134497 (T-1)
DHEC 134497 (1536k)
S11_FR_ATT
DLCI=730
161.120.184.209
(Hagerstown)
DLCI=735
DLCI=720
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
Hagerstown
DHEC 134394 (T-1)
DZEC 133402 (256k)
CertainTeed Corporation
Governor Lane Boulevard
Interstate Industrial park
Williamsport, Maryland 21795
(301) 223-7900…Bill Fischer x-521
E11_HAGERSTOWN
161.120.34.254
S212_VBP_FR_ATT

## Slide 84: Hamilton, Ontario
Hamilton
Hamilton, Ontario
ZBYNNFR2001 (56k)
ATT
United States
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
DLCI=130
DLCI=125
ATT
Canada
Frame Relay
(800) 613-9456
Norton Canada, Inc.
3 Beach Road
Hamilton, Ontario L8L 7Y5
(905) 547-2551…Pat Devlin x-232
(905) 547-2551…John Richards x-234
(905) 547-2551…Pat Spencer x-251
Worcester, MA
Cisco
Router
(7206)
Serial 3/0
Serial 3/0.125
161.120.1.81
(Hamilton)
Cisco
Router
(2610)
Serial 0/0.130
161.120.1.82
(Worcester)
Ethernet 0/0
161.120.97.254
Serial 0/0
Loopback 0/0
10.120.2.21
Console
Modem
Backup
Modem
Serial 0/1
161.120.1.86
(Worcester)
(905) 548-6020
(905) 548-9349
Racal
Excalibur
DAP
DHEC 016859 (T-1)
DHEC 016859 (1536k)

## Slide 85: Hammond, Indiana
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.507
161.120.165.169
(Hammond)
Cisco
Router
(2610)
Serial 0/0.810
161.120.165.170
(Irving)
Ethernet 0/0
161.120.161.238
Racal
Excalibur
DAP
Serial 0/0
DLCI=507
Loopback 0/0
10.120.6.185
Console
Modem
Backup
Modem
Hammond, IN
Serial 0/1
161.120.160.174
(Valley Forge)
Serial 0/0.805
161.120.160.170
(Valley Forge)
Serial 3/1.507
161.120.160.169
(Hammond)
Hammond
GS Roofing Products Company
3200 Sheffield Ave
Hammond, Indiana 46235
(219) 937-2650…Mike Ragsdell
AREC 440784 (56k)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)

## Slide 86: Henderson, North Carolina
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(xxx) xxx-xxxx
Dial Backup
Modem
(252) 430-8130
AREC 242176 (56k)
DLCI=385
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DLCI=155
161.120.48.146
(Muncie)
DLCI=385
161.120.48.145
(Henderson)
E11_HENDERSON
161.120.50.254
161.120.116.190
O12_HENDERSON
161.120.58.190
Saint-Gobain Containers
620 Facet Road Henderson, NC 27536-5479
(252) 430-3614…Jack Hepler
Henderson
Henderson, NC

## Slide 87: Hermitage, Tennessee - cancelled 4/30/01
Hermitage
Saint-Gobain Vetrotex America
1316 Central Court
Hermitage, Tennessee 37076
(615) 889-2673…Kathy Kraw
(615) 874-9170…Sandra Bennett
Hermitage, TN
Wichita Falls, TX
(Plant)
Bay Networks
Router
(ARN)
DLCI=720
161.120.184.242
(Valley Forge)
E11_HERMITAGE
161.120.215.110
Bay Networks
Router
(ASN)
DSU
AREC 830042 (56k)
S11_FR_ATT
S11_FR_ATT
DLCI=875
161.120.213.97
(Hermitage)
Sync
Dial Backup
Modem
S12
Valley Forge, PA
Bay Networks
Router
(ASN)
DLCI=875
DLCI=720
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
DLCI=875
161.120.184.241
(Hermitage)
DLCI=620
DLCI=620
161.120.213.98
(Wichita Falls)
DHEC 134497 (T-1)
DHEC 134497 (1536k)
S212_VBP_FR_ATT
DHEC 839661 (T-1)
DXEC 002562 (128k)

## Slide 88: Highpoint, North Carolina
Worcester, MA
Cisco
Router
(2610)
Serial 0/0.130
161.120.1.106
(Worcester)
Ethernet 0/0
161.120.8.62
Cisco
Router
(7206)
Racal
Excalibur
DAP
Serial 3/0
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Serial 0/0
Serial 3/0.175
161.120.1.105
(Highpoint)
DLCI=175
DLCI=130
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.2.37
Console
Modem
Backup
Modem
(336) 889-3787
(336) 889-3801
Highpoint, NC
Serial 0/1
161.120.1.110
(Worcester)
Highpoint
AREC 211100 (56k)
Carborundum Abrasives Co.
2041 Brevard Road
Highpoint, NC 27261
(336) 889-5494…Bob Lodding x-126
(336) 889-5484…Brenda Driggers

## Slide 89: Home Depot
Worcester, MA
Cisco
Router
(Home Depot)
Cisco
Router
(7206)
CSU
Home
Depot
Serial 3/0
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Serial 3/0.132
207.11.5.217
(The Home Depot)
DLCI=132
DLCI=18
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Atlanta, GA
The Home Depot
2455 Paces Ferry Road
Atlanta, Georgia 30339-4024
(770) 433-8211…Kevin Hsiao x-11398
(770) 433-8211…network ops x-82560
Atlanta (The Home Depot)
DHEC 213989.300 (T-1)
DHEC 213989 (1536k)
Home Depot
SGC
RS-6000
161.120.72.133
207.11.5.254
(Worcester)
Server
(Production)
207.11.4.120
151.140.45.133
151.140.40.32
Server
(Testing)
Server
(Management)

## Slide 90: Houston, Texas (cancelled 4/24/01)
Stow, OH
Serial 0/0.600
161.120.16.50
(Stow)
Ethernet 0/0
161.120.20.94
Cisco
Router
(3640)
Serial 1/0.604
161.120.16.49
(Houston)
Loopback 0/0
10.120.10.21
(713) 840-8977
Houston, TX
Console
Modem
Serial 0/1
161.120.16.54
(Stow)
Houston
Saint-Gobain NorPro
5120 Woodway
Suite 9000
Houston, TX 77056
(713) 627-7667…Judy Webb x-608
(713) 403-0608…Judy Webb
(713) 403-0815…Rodney Alario
(713) 403-0768…Tom Poole
DS1-3203505 (T-1)
ISDN 713-843-9094 / 713-843-9095
FRHST00-3203509 (128 KB)
DLCI=604
DLCI=600
Qwest
Frame Relay
(800) 860-1020
FRKEN00-3203371 (768 KB)
DS1-3203368 (T-1)
ISX-5311
CSU
Cisco
Router
(2610)
Internal CSU

## Slide 91: Huntersville, North Carolina
Bay Networks
Router
(ASN)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Valley Forge, PA
Cisco
Router
(7206)
Cisco
Router
(2610)
Serial 0/0.620
161.120.213.106
(Wichita Falls)
Ethernet 0/0
161.120.215.126
Racal
Excalibur
DAP
Serial 0/0
Loopback 0/0
10.120.10.81
Console
Modem
Backup
Modem
(xxx) xxx-xxxx
(xxx) xxx-xxxx
Serial 0/0.120
161.120.213.122
(Valley Forge)
DLCI=71
161.120.213.105
(Huntersville)
DLCI=620
DHEC 058784 (T-1)
DHEC 058784 (1536k)
DLCI=71
DLCI=120
Serial 3/0.71
161.120.213.121
(Huntersville)
Wichita Falls, TX
(Plant)
DHEC 839661 (T-1)
DXEC 002562 (128k)
S11_FR_ATT
Huntersville
AREC 871573 (56k)
Huntersville, NC
Saint-Gobain Vetrotex America
Textile Business Unit
Sute 301
111 Commerce Center Drive
Huntersville,, North Carolina 28078
(704) 875-7277…Valerie Jackson

## Slide 92: Huntsville, Alabama
Worcester, MA
Cisco
Router
(2610)
Serial 0/0.790
161.120.2.26
(Worcester)
Ethernet 0/0
161.120.28.126
Cisco
Router
(7206)
Racal
Excalibur
DAP
Serial 3/0
DHEC 003714 (T-1)
DTEC 002552 (768k)
Serial 0/0
Serial 3/0.160
161.120.2.25
(Huntsville)
DLCI=160
DLCI=790
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.3.9
Serial 0/1
161.120.2.30
(Worcester)
Huntsville
Huntsville, AL
Norton Company
209 Cap Adkins Road
Huntsville, AL 35803-9715
(256) 883-5000 x-224…Scott Jeziorski
AREC 361944 (56k)
Backup Modem: (256) 880-9466
Console Modem: (256) 880-5074

## Slide 93: Indianapolis, Indiana
Worcester, MA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=630
DLCI=130
Ontario, CA
Cisco
Router
(2610)
Serial 0/0.920
161.120.1.226
(Plainfield)
Cisco
Router
(2610)
Serial 0/0.630
161.120.1.225
(Ontario)
Ethernet 0/0
161.120.113.126
Serial 0/0
DLCI=920
Loopback 0/0
10.120.2.93
Console
Modem
Plainfield, IN
BRI 0/1
161.120.1.229
(Ontario)
Serial 0/0.130
161.120.1.218
(Worcester)
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Serial 3/0.920
161.120.1.217
(Plainfield)
Indianapolis
]
Saint-Gobain Abrasives
1001 Perry Road
Plainfield, Indiana 46168
(317) 837-0700 x-120…Steve Bradford
(317) 837-0700 x-109…Neil Culpepper
(317) 837-0700 x-118…computer room
(317) 603-6974…Steve - cell phone
(317) 679-4259…Neil - cell phone
(317) 839-1941
ISDN 317-839-6857 / 317-839-6869
ISDN 317-839-8214 / 317-839-8270
BRI 0/0
161.120.1.222
(Worcester)
DHEC 873729 (T-1)
DZEC 858638 (256k)
DHEC 965774 (T-1)
DZEC 966533 (256k)
Voice
T-1 to PBX
DS1-B
DS-0 # 3-24
DS1-A
DS-0 # 1-24
ISX-5312
Port 1
DS-0 # 1-2

## Slide 94: Irving, Texas (Quartz International)
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=120
Chandler
Cisco
Router
(3640)
Serial 0/0.226
161.120.2.177
(Irving)
Serial 0/0.221
161.120.2.178
(Chandler)
Ethernet 0/0
161.120.31.158
DLCI=226
Loopback 0/0
10.120.3.245
Console
Modem
Irving, TX
Dialer101
161.120.2.182
(Milpitas)
Serial 0/0.120
161.120.2.202
(Valley Forge)
Serial 3/1.226
161.120.2.201
(Irving)
Irving (Quartz International)
Quartz International
8080 Tristar
Irving, Texas 75063
(972) 323-0442…Sharon Hampton
(972) 929-1549
BRI0/0 972) 929-9887 / 972-929-4416
DHEC 058784 (T-1)
DHEC 058784 (1536k)
DHEC 891876.900 (T-1)
DXEC 959243 (128k)
Serial 0/0
Cisco
Router
(2610)
Internal CSU
DLCI=221
DHEC 890254 (T-1)
DCEC 003727 (384k)

## Slide 95: Irving, Texas (Roofing)
Irving (Roofing)
DHEC 052800 (T-1)
DTEC 005024 (768k Port)
GS Roofing Products Company
5525 N, MacArthur Blvd.
Irving, Texas 75038
(972) 580-5665…Barry Deramus
(972) 580-5663…Wesley Ray
Frame Relay (768k Port - DLCI 810)
Ennis (DLCI 835 @ 32k CIR)
Hammond (DLCI 507 @ 16k CIR)
Aurora (DLCI 516 @ 16k CIR)
Charleston (DLCI 840 @ 32k CIR)
Chester (DLCI 845 @ 32k CIR)
Glenwood (DLCI 504 @ 16k CIR)
Peachtree City (DLCI 850 @ 32k CIR)
Piedmont (DLCI 514 @ 32k CIR)
Portland (DLCI 865 @ 32k CIR)
Rancho Cordova (DLCI 518 @ 16k CIR)
Shreveport (DLCI 502 @ 32k CIR)
Southgate (DLCI 509 @ 32k CIR)
Wilmington (DLCI 508 @ 32k CIR)
Little Rock (DLCI 503 @ 32k CIR)
Valley Forge (DLCI 805 @ 64k CIR)
Cisco
Router
(2610)
Ethernet 0/0
161.120.167.254
Serial 0/0
Loopback 0/0
10.120.6.157
Console
Modem
Irving, TX
BRI 0/0
161.120.160.54
(Valley Forge)
(xxx) xxx-xxxx
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Racal
ISX-5311
CSU
DLCI=810
Serial 0/0.805
161.120.160.50
(Valley Forge)
ISDN 972-756-9616 / 972--756-9527
Notes: 35

## Slide 96: Jackson, Michigan (Plant)
Jackson, MI
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=720
161.120.184.178
(Valley Forge)
Bay Networks
Router
(ASN)
CSU
DHEC 134497 (T-1)
DHEC 134497 (1536k)
S11_FR_ATT
DLCI=730
161.120.184.177
(Jackson - plant)
DLCI=730
DLCI=720
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
Jackson (Plant)
DHEC 134401 (T-1)
DZEC 133465 (256k)
Wolverine Technologies
701 Liberty Street
Jackson, Michigan 49204
(517) 787-8665…Tim O’Malley x-5011
E111_JACKSON
161.120.186.254
S212_VBP_FR_ATT

## Slide 97: Jackson, Michigan (Tech Center)
Jackson, MI
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=720
161.120.160.184.194
(Valley Forge)
Bay Networks
Router
(ASN)
CSU
DHEC 134497 (T-1)
DHEC 134497 (1536k)
S11_FR_ATT
DLCI=725
161.120.184.193
(Jackson - Tech Ctr)
DLCI=725
DLCI=720
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
Jackson (Tech Center)
DHEC 134359 (T-1)
DZEC 133915 (128k)
CertainTeed Technological Center
803 Belden Road
Jackson, Michigan 49203
(517) 780-3100…main number
(517) 780-3148…Randy Hunter
(517) 780-3138…Donn Briskie
E11_TECHCENTER
161.120.187.254
S212_VBP_FR_ATT

## Slide 98: Jacksonville, Florida
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(904) 413-5698
Dial Backup
Modem
(xxx) xxx-xxxx
Jacksonville
Jacksonville, FL
E11_JACKSONVLL
161.120.56.254
DLCI=155
161.120.52.230
(Muncie)
DLCI=910
161.120.52.229
(Jacksonville)
AREC 820323 (56k)
DLCI=910
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
Hydra Warehouse
10543 Canada Drive
Jacksonville, Florida 32218
(904) 757-9600…Jan Milam

## Slide 99: Kansas City, Kansas
Kansas City, KS
Kansas City, KS
Valley Forge
(Corporate)
Bay Networks
Router
(ARN)
DLCI=265
161.120.128.162
(Valley Forge Internet)
E11_KC
161.120.134.254
Bay Networks
Router
(ASN)
CSU
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=260
161.120.128.113
(Kansas City)
DLCI=260
DLCI=110
Certainteed Corporation
103 Funston Road
Kansas City, Kansas 66115
(913) 342-6624…Richard Charles x-228
DLCI=110
161.120.128.114
(Valley Forge Corporate)
DHEC 394677 (T-1)
DZEC 402424 (256k)
DLCI=265
Valley Forge
(Internet)
Bay Networks
Router
(ARN)
S11_FR_ATT
DLCI=260
161.120.128.161
(Kansas City)
DHEC 391178 (T-1)
DZEC 395056 (256k)
O41_KC
161.120.135.62
Sync
Dial Backup
Modem
S12
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299

## Slide 100: Kansas City, Missouri
Kansas City, MO
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=660
161.120.128.130
(Valley Forge)
E11_KANSAS_CITY
161.120.131.110
Bay Networks
Router
(ASN)
CSU
AREC 544311 (56k)
Sxxx_FR_IG
DHEC 394716 (T-1)
IFEC 394956 (640k)
S13_FR_ATT
DLCI=116
161.120.128.129
(Kansas City)
DLCI=116
DLCI=660
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S15
Kansas City, MO
USCO
3850 NE Kimball Drive
Kansas City, Missouri 64161
(816) 452-1896…Dwayne Fuller

## Slide 101: Lake Charles, Louisiana
Lake Charles, LA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=110
161.120.184.34
(Valley Forge)
Bay Networks
Router
(ASN)
DSU
AREC 378294 (56k)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=480
161.120.184.33
(Lake Charles)
DLCI=480
DLCI=110
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
CertainTeed Corporation
3300 Pete Manena Road
Westlake, Louisiana 70669
(318) 882-1441…Rick Comeaux x-58
Lake Charles
E11_LAKECHARLES
161.120.191.126
Sync
Dial Backup
Modem
S12

## Slide 102: Lincoln, Illinois
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(217) 732-7565
Dial Backup
Modem
(217) 735-4713
Saint-Gobain Containers
1200 North Logan Street Lincoln, IL 62656
(217) 735-1511…Chris Bering
Lincoln
Lincoln, IL
AREC 372191 (56k)
DLCI=340
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DLCI=155
161.120.48.162
(Muncie)
DLCI=340
161.120.48.161
(Lincoln)
E11_LINCOLN
161.120.55.30
161.120.116.254
O12_LINCOLN
161.120.58.62
10.120.54.190

## Slide 103: Lincolnton, North Carolina
Lincolnton
Temp-Vent
1480 South Industrial Park Road
Lincolnton, North Carolina 28092
(704) 735-0224…Eddie Glance
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=250
161.120.192.138
(Dallas)
Bay Networks
Router
(ASN)
DSU
AREC 044028 (56k)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=830
161.120.192.130
(Lincolnton)
DLCI=830
DLCI=110
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Dallas, TX
Bay Networks
Router
(ARN)
DLCI=830
161.120.192.137
(Lincolnton)
DLCI=250
S11_FR_ATT
DLCI=110
161.120.192.130
(Valley Forge)
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
AREC 334724 (56k)
Lincolnton, NC
E11_LINCOLNTON
161.120.194.94

## Slide 104: Little Rock, Arkansas
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.503
161.120.165.153
(Little Rock)
Cisco
Router
(2610)
Serial 0/0.810
161.120.165.154
(Irving)
Ethernet 0/0
161.120.161.158
Racal
Excalibur
DAP
Serial 0/0
DLCI=503
Loopback 0/0
10.120.6.169
Console
Modem
Backup
Modem
Little Rock, AR
Serial 0/1
161.120.160.126
(Valley Forge)
Serial 0/0.805
161.120.160.122
(Valley Forge)
Serial 3/1.503
161.120.160.121
(Little Rock)
Little Rock
GS Roofing Products Company
2701 E. Roosevelt Road
Little Rock, Arkansas 72206
(501) 375-9173…Marie Jordan
AREC 440282 (56k)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)

## Slide 105: Littleton, New Hampshire
Worcester, MA
Cisco
Router
(2610)
Serial 0/0.130
161.120.1.114
(Worcester)
Ethernet 0/0
161.120.65.62
Cisco
Router
(7206)
Racal
Excalibur
DAP
Serial 3/0
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Serial 0/0
Serial 3/0.605
161.120.1.113
(Littleton)
DLCI=605
DLCI=130
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.2.41
Console
Modem
Backup
Modem
(603) 444-3360
(603) 444-3475
John Hammer
Norton Company
390 Highland Ave.
Littleton, NH 03561
(603) 444-3947 x-3009…John Hammer
(603) 444-3947 x-3018…computer room
AREC 797743 (56k)
Littleton, NH
Littleton
Serial 0/1
161.120.1.118
(Worcester)

## Slide 106: Livingston, New Jersey
Worcester, MA
Serial 0/0.101
161.120.1.162
(Worcester)
Cisco
Router
(7206)
Serial 4/3.36
161.120.1.161
(Livingston)
DLCI=36
DLCI=101
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.2.97
Console
Modem
Livingston, NJ
DHEC 853168 (T-1)
DHEC 853168 (1536k)
Serial 0/0.560
161.120.1.159
(Bensenville)
DLCI=560
Bensenville, IL
Cisco
Router
(2610)
Serial 0/0
Serial 0/0.36
161.120.1.149
(Livingston)
Serial 0/1
161.120.1.166
(Worcester)
Cisco
Router
(2610)
Internal CSU
(973) 994-7143
ISDN 973-422-1310 / 973--422-1255
Ethernet 0/0
88.43.44.1
161.120.8.30
DHEC 014973 (T-1)
Serial 0/0
DHEC 014973 (1536k)
DHEC 853906 (T-1)
IAEC 006995 (192k)
F.T. Superabrasives
83 Dorsa Avenue
Livingston, New Jersey 07039
(973) 994-4344…Tom Bennett
Livingston

## Slide 107: Lockland, Ohio
Valley Forge, PA
Cisco
Router
(2610)
Serial 0/0.820
161.120.160.26
(Valley Forge)
Ethernet 0/0
161.120.138.126
Cisco
Router
(7206)
Serial x/x.181
161.120.160.25
(Lockland)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.6.237
Lockland, OH
Console
Modem
Serial 0/1
161.120.160.30
(Valley Forge)
(xxx) xxx-xxxx
DLCI=820
DHEC 589974 (T-1)
DHEC 589974 (1536k Port)
CSU
Celotex Corporation
320 S. Wayne Avenue
Lockland, Ohio 45215-6309
(513) 948-2289…Micelle Kwiatkowski x-2250
Lockland
DLCI=181
DHEC 003980 (T-1)
DZEC 969166 (256k)
ISDN xxx-xxx-xxxx / xxx-xxx-xxxx

## Slide 108: Lodi, California (S-G Containers - Vaz Brothers)
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(209) 365-7321
Dial Backup
Modem
(209) 365-7414
Lodi (BFG - Vaz Brothers)
Lodi, CA
Vaz Brothers Warehouse
960 South Guild Avenue
Lodi, CA 95240
(209) 365-7530…Charles Bardakos
AREC 205840 (56k)
DLCI=415
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DLCI=155
161.120.49.178
(Muncie)
DLCI=415
161.120.49.177
(Lodi)
E11_LODI
161.120.52.94

## Slide 109: Lodi, California (Pipe - Apache Plastics)
Lodi (Pipe & Plastics - Apache)
Lodi, CA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=635
161.120.176.74
(Valley Forge)
E11_LODI
161.120.177.254
Bay Networks
Router
(ASN)
DSU
DZEC 962642 (256k)
S421_FRAME_ATT
DHEC 154885 (T-1)
DEEC 155176 (512k)
S11_FR_ATT
DLCI=46
161.120.176.73
(Lodi)
DLCI=46
DLCI=635
Apache Plastics
300 South Beckman Road
Lodi, CA 95240
(209) 365-7500…Bill Werner
(209) 365-7500…Dave Fisher
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
S12
DHEC 912906 (T-1)

## Slide 110: Los Angeles, California
Valley Forge, PA
Cisco
Router
(2610)
Serial 0/0.820
161.120.160.74
(Valley Forge)
Ethernet 0/0
161.120.138.254
Cisco
Router
(7206)
Serial x/x.176
161.120.160.73
(Los Angeles)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.6.253
Los Angeles, CA
Console
Modem
Serial 0/1
161.120.160.78
(Valley Forge)
(xxx) xxx-xxxx
DLCI=820
DHEC 589974 (T-1)
DHEC 589974 (1536k Port)
CSU
Celotex Corporation
1632 N. San Pablo Street
Los Angeles, California 90033-4510
(323) 221-1101…Wayne Selway x-3029
Los Angeles
DLCI=176
DHEC 847941 (T-1)
DZEC 967703 (256k)
ISDN xxx-xxx-xxxx / xxx-xxx-xxxx

## Slide 111: Louisville, Kentucky
Louisville
Louisville, KY
Valley Forge, PA
DLCI=760
161.120.2.113
(Buckhannon)
Drop
&
Insert
CSU
(non-SGC)
DTEC 005221 (768k)
DLCI=225
161.120.2.105
(Louisville)
DLCI=225
DLCI=120
Corhart Refractories
1600 West Lee Street
Louisville, KY 40210
(502) 775-7333…Garry Goetschius
(502) 775-7339…Anthony Thompson
(502) 775-7387…computer room
(502) 775-7351…Pam Sheehan (QPC
(502) 775-7382…Nancy Heid (QPC)
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Buckhannon
Cisco
Router
(2610)
DLCI=225
161.120.2.114
(Louisville)
AREC 123918( 56k)
DLCI=760
DLCI=120
161.120.2.106
(Valley Forge)
DLCI=325
161.120.2.121
(Mountainside)
DLCI=325
Mountainside
DLCI=225
161.120.2.122
(Louisville)
DLCI=715
AREC 045084 (56k)
Riverport, KY
DLCI=225
161.120.2.130
(Louisville)
DLCI=715
161.120.2.129
(Riverport)
DXEC 013235( 128k)
DXEC 038447 (T-1)
Cisco
Router
(2610)
Cisco
Router
(2610)
Cisco
Router
(7206)
DHEC 058784 (T-1)
DHEC 058784 (1536k)
Cisco
Router
(2610)
Ethernet 0/0
161.120.30.126
161.120.118.254
Serial 0/0
Loopback 0/0
10.120.3.49
Console Modem: (502) 775-4792
ISDN: 502-775-6391 / 502-775-8016
NON-SGC CIRCUIT (T-1)
To PBX
ISDN: 502-775-6603 / 502-775-8396
Backup Modem: (502) 775-4793
Backup Modem: (502) 775-4794

## Slide 112: Madera, California
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(559) 675-4785
Dial Backup
Modem
(559) 674-6002
Saint-Gobain Containers
24441 Avenue 12 and Road 24 1/2
Madera, California 93637
(550) 675-4724…Mike Chmielewski
Madera
Madera, CA
O12_MADERA
161.120.59.158
E11_MADERA
161.120.51.126
10.120.57.254
DLCI=155
161.120.49.194
(Muncie)
DLCI=300
161.120.48.193
(Madera)
AREC 138557 (56k)
DLCI=300
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)

## Slide 113: Marion, Indiana
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(765) 668-1290
Dial Backup
Modem
(765) 668-1310
Saint-Gobain Containers
500 East Charles Street
Marion, Indiana 46952
(765) 661-2442…Roger Gilliam
Marion - BFG
Marion, IN
E11_MARION
161.120.54.126
10.120.97.254
10.120.98.254
O12_MARION
161.120.59.62
10.120.52.190
AREC 431504 (56k)
DLCI=270
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DLCI=155
161.120.48.82
(Muncie)
DLCI=270
161.120.48.81
(Marion)

## Slide 114: Maumee, Ohio
Maumee
Maumee, OH
Wichita Falls, TX
(Plant)
Bay Networks
Router
(ARN)
DLCI=620
161.120.213.82
(Wichita Falls)
E11_MAUMEE
161.120.215.30
Bay Networks
Router
(ASN)
DSU
AREC 144226 (56k)
S11_FR_ATT
S11_FR_ATT
DLCI=440
161.120.213.81
(Maumee)
DLCI=440
DLCI=620
Saint-Gobain Vetrotex America
Suite B
3410 Briarfield Boulevard
Maumee, Ohio 43537
(419) 868-7813…Chris Daunhauer
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
S12
DHEC 839661 (T-1)
DXEC 002562 (128k)

## Slide 115: Maywood, California
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(xxx) xxx-xxxx
Dial Backup
Modem
(xxx) xxx-xxxx
Saint-Gobain Containers
4855 East 52nd Place
Los Angeles, California 90040
(626) 279-3214…Gladys McKenzie
(323) 562-5100…switchboard attendant
E11_MAYWOOD
161.120.55.62
161.120.117.62
10.120.95.254
Maywood
Maywood, CA
DLCI=155
161.120.49.18
(Muncie)
DLCI=290
161.120.49.17
(Maywood)
AREC 122575 (56k)
DLCI=290
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)

## Slide 116: McPherson, Kansas (Molded)
Valley Forge
Bay Networks
Router
(ARN)
DLCI=465
161.120.176.145
(McPherson-Warehouse)
Bay Networks
Router
(ASN)
CSU
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=450
161.120.176.97
(McPherson-Molded)
DLCI=450
DLCI=110
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
McPherson
(Vinyl)
Bay Networks
Router
(ARN)
DLCI=980
S11_FR_ATT
DLCI=110
161.120.176.98
(Valley Forge)
AREC 508276 (56k)
DLCI=465
McPherson
(Warehouse)
Bay Networks
Router
(ARN)
S11_FR_ATT
DLCI=980
161.120.176.209
(McPherson-Vinyl)
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
McPherson
(Molded)
AREC 748311 (56k)
DZEC 981769 (256k)
McPherson (Molded)
DLCI=450
161.120.176.210
(McPherson-Molded)
DLCI=450
161.120.176.146
(McPherson-Molded)
E11_McPherson
161.120.188.254
CertainTeed Moulded Products
873 North Hickory Street
McPherson, Kansas 67460
(316) 241-8191…Andy Stout x-281
DHEC 981967 (T-1)

## Slide 117: McPherson, Kansas (Vinyl)
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=450
161.120.176.210
(McPherson-Molded)
Bay Networks
Router
(ASN)
CSU
DHEC 981967 (T-1)
DHEC 134947 (T-1)
DHEC 134947 (1536k)
S11_FR_ATT
DLCI=980
161.120.184.73
(McPherson-Vinyl)
DLCI=980
DLCI=720
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
McPherson, KS (Molded)
Bay Networks
Router
(ARN)
DLCI=980
161.120.176.209
(McPherson-Vinyl)
AREC 508276 (56k)
DLCI=450
S11_FR_ATT
DLCI=720
161.120.184.74
(Valley Forge)
McPherson, KS (Vinyl)
Sync
Dial Backup
Modem
S12
CertainTeed Corporation
500 West 1st Street
McPherson, Kansas 67460
(316) 241-5511…Todd Smith x-238
McPherson (Vinyl)
E11_McPherson
161.120.179.254
DZEC 981769 (256k)
To PBX
S212_VBP_FR_ATT

## Slide 118: McPherson, Kansas (Warehouse)
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=450
161.120.176.146
(McPherson-Molded)
Bay Networks
Router
(ASN)
DSU
AREC 748311 (56k)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=465
161.120.176.129
(McPherson-Whs.)
DLCI=465
DLCI=110
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
McPherson, KS (Molded)
Bay Networks
Router
(ARN)
DLCI=450
161.120.176.145
(McPherson-Whs.)
AREC 508276 (56k)
DLCI=450
S11_FR_ATT
DLCI=110
161.120.176.130
(Valley Forge)
McPherson (Warehouse)
E11_McPherson
161.120.181.94
McPherson, KS (Warehouse)
CertainTeed Distribution Center
11337 West Kansas
McPherson, Kansas 67460
(316) 241-0198…Lanny Cobb
Sync
Dial Backup
Modem
S12

## Slide 119: Midland, Ontario
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=120
Niagara Falls, NY
Cisco
Router
(3640)
DLCI=301
161.120.123.17
(Midland)
DLCI=200
161.120.123.18
(Niagara falls)
Ethernet 0/0
161.120.121.254
DLCI=301
Loopback 0/0
10.120.3.137
Console
Modem
Midland, ONT
Seriall 0/1
161.120.123.22
(Niagara Falls)
DLCI=120
161.120.123.66
(Valley Forge)
DLCI=301
161.120.123.65
(Midland)
Midland
Saint-Gobain Technical Fabrics/Bayex
201 Hugel Avenue
Midland, ONT L4R 4G1
(705) 526-7867…Cathy Ladouceur
(705) 526-4535
DHEC 058784 (T-1)
DHEC 058784 (1536k)
M4ON0005CUD (T-1)
XBYNNFR2005 (128k)
Serial 0/0
Cisco
Router
(2610)
Internal CSU
DLCI=200
DHEC 560676 (T-1)
DEEC 981016 (512k)
Dial Backup
Modem
(705) 526-4751

## Slide 120: Milford, Massachusetts (S-G Containers)
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(508) 482-0183
Dial Backup
Modem
(508) 478-8827
Milford (S-G Containers)
Milford, MA
Saint-Gobain Containers
1 National Street
Milford, MA 01757
(508) 478-2500…receptionist
(508) 634-7234…Debra Pellatier
(508) 634-7242…John Partridge
O12_MILFORD
161.120.56.30
10.120.51.62
E11_MILFORD
161.120.50.62
10.120.50.94
10.120.92.254
DLCI=155
161.120.48.18
(Muncie)
DLCI=150
161.120.48.17
(Milford)
AREC 477663 (56k)
DLCI=150
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)

## Slide 121: Milford, New Hampshire (Meadowbrook Road)
Milord, MH (Powers St.)
Cisco
Router
(2610)
Serial 0/0
161.120.2.98
(Milford-Power St)
Ethernet 0/0
161.120.26.254
Cisco
Router
(2610)
Serial 3/0
Serial 0/0
Serial 1/0
161.120.2.97
(Milford-Meadowbrook)
Verizon
73 DHZA 77796 NE
(800) 982-5002 (ticket)
(800) 265-7800 (test)
Loopback 0/0
10.120.3.17
Console
Modem
(xxx) xxx-xxxx
Milford, NH (Meadowbrook Rd.
ISDN xxx-xxx-xxxx / xxx-xxx-xxxx
BRI 0/0
161.120.2.102
(Milford-Powers St))
Milford (MeadowBrook Rd.)
Norton Company
25 MeadowBrook Road
Milford, NH 03055
(603) 673-0263…Lori Vallaincourt x-15

## Slide 122: Milford, New Hampshire (Powers Street)
Worcester, MA
Cisco
Router
(2610)
Serial 0/0.790
161.120.2.18
(Worcester)
Ethernet 0/0
161.120.26.126
161.120.24.126
161.120.31.126
Cisco
Router
(7206)
Serial 3/0.925
161.120.2.17
(Milford-Powers St)
DLCI=925
DLCI=790
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.3.13
Console: (603) 673-2474
Milford, NH
(Norton)
DHEC 991840 (T-1)
DCEC 003997 (384k)
Milford (Powers St.)
Norton Company
47 Powers St.
Milford, NH 03055
(603) 673-7560...Ed Kennedy
T-1 to Meadowbrook Road
DHEC 003714 (T-1)
DTEC 002552 (768k)
BRI1/0: 603-672-4790 / 603-672-4794
BRI1/1: 603-672-4795 / 603-672-4797
Milford, NH
(Saphikon)
Nashua, NH
(Saphikon)
Fiber (non-SGC)
Voice & Data (non-SGC)
161.120.26.126
161.120.31.126
161.120.24.126

## Slide 123: Milpitas, California
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=120
Chandler
Cisco
Router
(3640)
Serial 0/0.211
161.120.2.169
(Milpitas)
Serial 0/0.221
161.120.2.170
(Chandler)
Ethernet 0/0
161.120.31.62
DLCI=211
Loopback 0/0
10.120.3.249
Console
Modem
Dialer101
161.120.2.174
(Chandler)
Serial 0/0.120
161.120.2.154
(Valley Forge)
Serial 3/1.211
161.120.2.153
(Milpitas)
Quartz International
1181 Cadillac Court
Milpitas, California 95035
(408) 262-2300…Rizaldi Celi x-112
(408) 262-2300…Lien Celi x 157
(480) 961-2900…Dennis Dillingham
(408) 263-6421
BRI0/0 408-719-1058 / 408-719-1248
DHEC 058784 (T-1)
DHEC 058784 (1536k)
Serial 0/0
Cisco
Router
(2610)
DLCI=221
ISX-5312
Port 1
DS-0 #1-4
DS1-A
DS-0 # 1-24
DS1-B
DS-0 # 7-24
DHEC 554517.100 (T-1)
DZEC 993365 (256k)
Milpitas
Milpitas, CA
DHEC 890254 (T-1)
DCEC 003727 (384k)

## Slide 124: Monroe, North Carolina
Bay Networks
Router
(ASN)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Valley Forge, PA
Cisco
Router
(7206)
Cisco
Router
(2610)
Serial 0/0.620
161.120.213.114
(Wichita Falls)
Ethernet 0/0
161.120.215.142
Racal
Excalibur
DAP
Serial 0/0
Loopback 0/0
10.120.10.89
Console
Modem
Backup
Modem
(xxx) xxx-xxxx
(xxx) xxx-xxxx
Serial 0/0.120
161.120.213.126
(Valley Forge)
DLCI=76
161.120.213.113
(Monroe)
DLCI=620
DHEC 058784 (T-1)
DHEC 058784 (1536k)
DLCI=76
DLCI=120
Serial 3/0.76
161.120.213.125
(Monroe)
Monroe, NC
Monroe
McCoy Warehouse
100 North Bivens Road
Monroe, North Carolina 28112
(704) 289-5413…Bruce McCoy
Wichita Falls, TX
(Plant)
AREC 889660 (56k)
DHEC 839661 (T-1)
DXEC 002562 (128k)
S11_FR_ATT

## Slide 125: Mountainside, New Jersey
Cisco
Router
(2610)
Serial 0/0.225
161.120.2.122
(Louisville)
Ethernet 0/0
161.120.8.94
Cisco
Router
(7206)
Racal
Excalibur
DAP
Serial 3/0
Serial 0/0
Serial 3/0.325
161.120.2.121
(Mountainside)
DLCI=325
DLCI=225
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.3.53
Console
Modem
Backup
Modem
(908) 654-5036
(908) 654-5089
Mountainside
Louisville, KY
Mountainside, NJ
SEPR
1122 Highway 22
Mountainside, NJ 07092
(908) 654-0660…Lou Chazen
Serial 0/1
161.120.2.126
(Louisville)
DZEC 001733 (256k)
AREC 123918 (56k)

## Slide 126: Mountaintop, Pennsylvania
Mountaintop, PA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=660
161.120.128.66
(Valley Forge)
E11_MOUNTAINTOP
161.120.130.254
Bay Networks
Router
(ASN)
CSU
DHEC 394922 (T-1)
Sxxx_FR_IG
DHEC 394716 (T-1)
IFEC 394956 (640k)
S13_FR_ATT
DLCI=670
161.120.128.65
(Mountaintop)
DLCI=670
DLCI=660
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S15
O12_MOUNTAINTOP
161.120.131.62
Mountaintop
CertainTeed Corporation
1220 Oak Hill Road
Mountaintop, Pennsylvania 18707
(717) 474-6731…Joe Wayne x-281
DZEC 395036 (256k)

## Slide 127: Muncie, Indiana (High Street)
Bay Networks
Router
(ARN)
S13_FR_ATT
S15
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(xxx) xxx-xxxx
Dial Backup
Modem
(xxx) xxx-xxxx
Muncie (High Street)
Muncie, IN
(Macedonia)
Muncie, IN
(High Street)
Fisher Building
345 South High Street
Muncie, Indiana 47302
(765) 741-7159…Greg Blackwell
O12_HIGH_Street
161.120.57.190
E11_HIGH_STREET
161.120.56.62
S13_HIGH_ST
161.120.52.162
(Muncie)
S132_HIGH_ST
161.120.52.161
(High Street)
Ameritech
(800) 572-9846
7DHZC 41304NB (T-1)
Voice
T-1 to PBX
DS1-B
DS-0 # 5-24
DS1-A
DS-0 # 1-24
Acculink 3160
Port 1
DS-0 # 1-4
Voice
T-1 to PBX
DS1-B
DS-0 # 5-24
DS1-A
DS-0 # 1-24
AccuLink 3160
Port 1
DS-0 # 1-4

## Slide 128: Muncie, Indiana - Frame Relay
Muncie (Macedonia)
CMS-5312
CSU
Frame Relay (1024k Port - DLCI 155)
DHEC 431503 (1024k Port)
Bloomington (DLCI 395 @ 32k CIR)
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Dolton (DLCI 335 @ 32k CIR)
Fairfield (DLCI 285 @ 32k CIR)
Marion (DLCI 270 @ 32k CIR)
Valley Forge (DLCI 110 @ 32k CIR)
Milford (DLCI 150 @ 32k CIR)
El Monte (DLCI 295 @ 32k CIR)
Madera (DLCI 300 @ 32k CIR)
Maywood (DLCI 290 @ 32k CIR)
Seattle (DLCI 305 @ 32k CIR)
Port Allegany (DLCI 315 @ 32k CIR)
Waxahachie (DLCI 310 @ 32k CIR)
DHEC 431503 (T-1)
Carteret (DLCI 345 @ 32k CIR)
Bradenton (plant) (DLCI 435 @ 32k CIR)
Bradenton (Whs.) (DLCI 430 @ 32k CIR)
Burlington (DLCI 365 @ 32k CIR)
Chesterfield (DLCI 16 @ 64k CIR)
Ft. Collins (DLCI 420 @ 32k CIR)
Dunkirk (DLCI 280 @ 32k CIR)
Henderson (DLCI 385 @ 32k CIR)
Millville (DLCI 350 @ 32k CIR)
Sapulpa (DLCI 330 @ 32k CIR)
Lodi (DLCI 415 @ 32k CIR)
Washington (DLCI 400 @ 32k CIR)
Ruston (DLCI 370 @ 32k CIR)
Pevely (DLCI 360 @ 32k CIR)
Lincoln (DLCI 340 @ 32k CIR)
Van Nuys (DLCI 445 @ 32k CIR)
Wilson (DLCI 355 @ 32k CIR)
Saint-Gobain Containers
1509 South Macedonia Avenue
Muncie, IN 47302
(765) 741-7687…Turner Huffaker
(765) 741-7168…Danny Stephens
(765) 741-4801…Doug Fish (LAN)
(765) 741-4840…Nathan Buckley (LAN)
(765) 741-7234…Help Desk
Adairsville (DLCI 585 @ 32k CIR)
Delaware (DLCI 575 @ 32k CIR)
Marion - Heye (DLCI 550 @ 32k CIR)
St. Louis (DLCI 580 @ 32k CIR)
Newark (DLCI 615 @ 32k CIR)
Charlotte (DLCI 111 @ 32k CIR)
Jacksonville (DLCI 910 @ 32k CIR)
American Canyon (DLCI 915 @ 32k CIR)
City of Industry (DLCI 990 @ 32k CIR)
Notes: 35

## Slide 129: Muncie, Indiana - LAN
Muncie
O121_CORP_RING1
161.120.61.254
Bay Networks
Router
(ASN)
O221_ENGINEERNG
161.120.62.254
O122_CORP_RING2
161.120.60.254
E112_TECH_SRV
161.120.50.30
E211_MUNCIE
10.120.89.254
161.120.63.126
O222_TECH_SRV
161.120.50.126
Saint-Gobain Containers
1509 South Macedonia Avenue
Muncie, IN 47302
(765) 741-7687…Turner Huffaker
(765) 741-7168…Danny Stephens
(765) 741-4801…Doug Fish (LAN)
(765) 741-4840…Nathan Buckley (LAN)
(765) 741-7234…Help Desk
Muncie (Macedonia)
Notes: 35

## Slide 130: Muncie, Indiana - Internet
Saint-Gobain Containers
1509 South Macedonia Avenue
Muncie, Indiana 47307-3664
(765) 741-7168…Danny Stephens (LAN Mgr.)
(765) 741-7234…Helpdesk
(765) 741-7687…Alan Harmon
Muncie Firewall
Nortel ARN
Router
161.120.63.124
161.120.63.0
(255.255.255.128)
206.246.191.82
Checkpoint
Firewall-1 v4.0
Internal Ethernet
External Ethernet
206.53.252.97
206.53.252.96
(255.255.255.224)
206.53.252.126
Racal ISX 5311
206.246.191.81
206.246.191.80
(255.255.255.252)
IQuest
T1 Circuit (1024 KB)
HCGS 631441
(317) 752-7208
Network Address Translation Table
Workstation – T. Kinghorn
206.53.252.120
161.120.63.48
Workstation – M. Crump
206.53.252.119
161.120.63.47
Workstation – Consultant
206.53.252.116
161.120.63.82
Workstation – A. Vicstein
206.53.252.117
161.120.61.85
AS400 - Raven
206.53.252.118
161.120.60.148
VPN Contivity 1500
206.53.252.125
161.120.59.125
River Run Mail Server
206.53.252.99
161.120.61.24
Note Mail Server
206.53.252.100
161.120.61.12
Comment
External
Internal or DMZ
DMZ Ethernet
161.120.59.96
(255.255.255.224)
161.120.59.126
Notes: 35

## Slide 131: Muncie, Indiana - WAN
Muncie, IN
Bay Networks
Router
(ASN)
DLCI=155
161.120.49.34
(Muncie)
S131_FR_ATT
DLCI=350
161.120.49.33
(Millville)
DLCI=155
DLCI=110
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Valley Forge, PA
DHEC 431503 (T-1)
DHEC 431503 (1024k)
Bay Networks
Router
(ASN)
S421_FRAME_ATT
Muncie (Macedonia)
Saint-Gobain Containers
1509 South Macedonia Avenue
Muncie, IN 47302
(765) 741-7687…Turner Huffaker
(765) 741-7168…Danny Stephens
(765) 741-4801…Doug Fish (LAN)
(765) 741-4840…Nathan Buckley (LAN)
(765) 741-7234…Help Desk
DHEC 272604 (T-1)
DHEC 272604 (1536k)

## Slide 132: Nesquehoning, Pennsylvania
Nesquehoning
Nesquehoning
Valley Forge
Bay Networks
Router
(ARN)
DLCI=110
161.120.32.114
(Valley Forge)
E11_NESQUEHNG
161.120.35.62
Bay Networks
Router
(ASN)
DSU
AREC 559608 (56k)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=115
161.120.32.113
(Nesquehoning)
DLCI=115
DLCI=110
CertainTeed Corporation
RD#1, Route 54 West
Nesquehoning, Pennsylvania 18240
(570) 645-2164…Ed Klein x-15
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12

## Slide 133: Newark, New Jersey
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(973) 274-0817
Dial Backup
Modem
(973) 274-1542
Newark
Newark, NJ
AREC 383229 (56k)
DLCI=615
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DLCI=585
161.120.49.1
(Newark)
DLCI=155
161.120.49.2
(Muncie)
E11_NEWARK
161.120.56.222
Regency Warehouse
481 Doremus Avenue
Newark, New Jersey 07105
(973) 274-9001…Paul Giroux

## Slide 134: Newbury, Ohio
Newbury
Bicon Saint-Gobain Industrial Ceramics Inc.
12345 Kinsman Road
Newbury, Ohio 44065
(440) 542-2484…Mohamad Alkazaz
(440) 564-2251…Carl Morley x-5143
(440) 564-2251…switchboard
Newbury, OH
Solon, OH
Cisco
Router
(2500)
Serial 0
161.120.172.2
(Solon)
Ethernet 0/0
161.120.174.254
Cisco
Router
(4000)
PBX
Serial 0/0
Serial 0
Serial 0
161.120.172.1
(Newbury)
Loopback 0/0
10.120.3.73
Ameritech
DHZA 519795 (T-1)
DHZA 519796 (T-1)
(800) 727-2272
PBX

## Slide 135: New Lexington, Ohio
Valley Forge, PA
Cisco
Router
(2610)
Serial 0/0.815
161.120.165.242
(Valley Forge)
Ethernet 0/0
161.120.163.254
Cisco
Router
(2610)
Serial 0/0
Serial 0/0
Serial 0/0.490
161.120.165.241
(New Lexington)
DLCI=490
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.6.149
New Lexington, OH
Console
Modem
Backup
Modem
Serial 0/1
161.120.165.246
(Valley Forge)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
Racal
Excalibur
DAP
DLCI=815
DHEC 052962 (T-1)
DHEC 052962 (1536k Port)
Ludowici Roof Tile
4757 Tile Plant Road
New Lexington, Ohio 43764
(740) 342-1995…Derek Thomas x-222
New Lexington
AREC 068742 (56k)

## Slide 136: Niagara Falls, New York (Bayex)
Valley Forge, PA
DLCI=302
161.120.123.41
(Brampton)
DLCI=200
DLCI=303
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Albion, NY
Cisco
Router
(2610)
DLCI=206
DLCI=120
161.120.123.50
(Valley Forge)
DLCI=206
161.120.123.10
(Dover)
DLCI=120
Dover, OH
DLCI=301
St. Catharines, Ont
DLCI=200
161.120.123.25
(Niagara Falls)
DLCI=301
161.120.123.17
(Milpitas)
Cisco
Router
(2610)
Cisco
Router
(2610)
Cisco
Router
(7206)
Ethernet 0/0
161.120.120.254
Loopback 0/0
10.120.3.141
Console: (716) 282-0569
BRI1/1: 716-284-7245 / 716-284-7247
DLCI=200
161.120.123.2
(Niagara Falls)
DLCI=200
161.120.123.9
(Niagara Falls)
DLCI=200
161.120.123.49
(Niagara Falls)
Midland, ONT
Cisco
Router
(2610)
DLCI=200
161.120.123.18
(Niagara Falls)
DLCI=302
DLCI=303
161.120.123.24
(St. Catharines)
Saint-Gobain Technical Fabrics/Bayex Inc.
345 Third street
Suite 615
Niagara Falls, NY 14303
(716) 285-0731…Nancy Weese x-218
(905) 328-0851…Nancy cell phone
(716) 285-0731…Kevin Perks x-220
DHEC 560676 (T-1)
DEEC 981016 (512k)
Cisco
Router
(3640)
Niagara Falls (Bayex)
Niagara Falls, NY
Brampton, ONT
Cisco
Router
(2610)
DLCI=251
DLCI=200
161.120.123.42
(Niagara Falls)
DLCI=251
161.120.123.1
(Albion)
BRI1/0: 716-284-7225 / 716-284-7226
BRI1/2: 716-284-7260 / 716-284-7261
ISX 5311
CSU
Serial 2/0: (716) 282-3722
Serial 2/1: not installed yet

## Slide 137: Niagara Falls, New York (Ceramics)
Worcester, MA
Cisco
Router
(2610)
Serial 0/0.790
161.120.2.34
(Worcester)
Ethernet 0/0
161.120.25.254
Cisco
Router
(7206)
Serial 3/0
Serial 1/0
Serial 3/0.105
161.120.2.33
(Niagara Falls)
DLCI=105
DLCI=790
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.3.21
Console
Modem
(xxx) xxx-xxxx
Niagara Falls, NY
ISDN xxx-xxx-xxxx / xxx-xxx-xxxx
T-1 to Amherst
DHEC 003714 (T-1)
DTEC 002552 (768k)
56k to Sanborn
Backup
Modem
(xxx) xxx-xxxx
Backup
Modem
(xxx) xxx-xxxx
Carborundum Structural Ceramics Division
23 Acheson Drive
Niagara Falls, NY 14303
(716) 278-6034…Larry Rowe (Manager)
(716) 278-6245…Dianna Tierney (LAN)
(716) 278-6258…Computer Room
Niagara Falls (Ceramics)
Serial 1/1
161.120.2.89
Serial 0/0
161.120.2.81
Serial 1/2
Serial 1/3
BRI 0/0
AREC 531694 (56k)

## Slide 138: Northboro, Massachusetts
  Northboro
Northboro, MA
Worcester, MA
Serial 3/1
161.120.2.49
T1 Circuit
Cisco
Router
(7206)
Norton Company
Goddard Road
Northboro, MA 01532-1545
(508) 351-7522…Cindy LaPerle
(508) 612-7068…Cindy’s cell phone
Verizon
(800) 343-1347
66 DHDA 91316
Voice
T-1 to PBX
ISX-5300
Port 1
DS-0 #1-12
DS1-A
DS-0 # 1-24
DS1-B
DS-0 # 13-24
ISX-5300
Port 1
DS-0 #1-12
DS1-A
DS-0 # 1-24
DS1-B
DS-0 # 13-24
Voice
T-1 to PBX
T1 Circuit
Cisco
Router
(2610)
Ethernet 0/0
161.120.76.254
Loopback 0/0
10.120.3.5
Console
Modem
(508) 351-2975
BRI 0/0
161.120.2.54
(Worcester)
Serial 0/0
161.120.2.50
(Worcester)
ISDN 508-393-5623 / -- 508-393-5624
Notes: 24

## Slide 139: North Hampton, Massachusetts
Worcester, MA
Cisco
Router
(2610)
Serial 0/0.790
161.120.2.42
(Worcester)
Ethernet 0/0
161.120.29.62
Cisco
Router
(7206)
Racal
Excalibur
DAP
Serial 3/0
DHEC 003714 (T-1)
DTEC 002552 (768k)
Serial 0/0
Serial 3/0.170
161.120.2.41
(North Hampton)
DLCI=170
DLCI=790
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.3.25
Console
Modem
Backup
Modem
(xxx) xxx-xxxx
(xxx) xxx-xxxx
Serial 0/1
161.120.2.46
(Worcester)
Norton Company
175 Industrial Drive
North Hampton, MA 01060
(413) 586-8167…Terri Thibault x-14
(413) 586-8167…Terri Hewes x-10
North Hampton
North Hampton, MA
AREC 862442 (56k)

## Slide 140: North Kansas City, Missouri
North Kansas City, MO
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=660
161.120.128.58
(Valley Forge)
E11_NKC
161.120.131.102
Bay Networks
Router
(ASN)
CSU
AREC 870860 (56k)
Sxxx_FR_IG
DHEC 394716 (T-1)
IFEC 394956 (640k)
S13_FR_ATT
DLCI=66
161.120.128.57
(North Kansas City)
DLCI=66
DLCI=660
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S15
USCO
31 Design Drive
North Kansas City, Missouri 64116
(816) 421-5422…Carl Wasinger
North Kansas City

## Slide 141: Norwood, Massachusetts
Valley Forge, PA
Cisco
Router
(2610)
Serial 0/0.815
161.120.165.234
(Valley Forge)
Ethernet 0/0
161.120.167.126
Cisco
Router
(2610)
Serial 0/0
Serial 0/0
Serial 0/0.191
161.120.165.233
(Norwood)
DLCI=191
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.6.145
Norwood, MA
Console
Modem
BRI 0/0
161.120.165.238
(Valley Forge)
(781) 278-0161
Racal
Excalibur
DAP
DLCI=815
DHEC 052962 (T-1)
DHEC 052962 (1536k Port)
Bird Inc.
1077 Pleasant Street
Norwood, Massachusetts 02062
(781) 551-0656…John Vieira x-112
Norwood
ISDN 781-255-0375 / 781-255-0376
DHEC 677654 (T-1)
DZEC 757191 (256k Port)

## Slide 142: Olyphant, Pennsylvania
Worcester, MA
Cisco
Router
(2610)
Serial 0/0.790
161.120.2.58
(Worcester)
Ethernet 0/0
161.120.29.190
Cisco
Router
(7206)
Racal
Excalibur
DAP
Serial 3/0
DHEC 003714 (T-1)
DTEC 002552 (768k)
Serial 0/0
Serial 3/0.680
161.120.2.57
(Olyphant)
DLCI=680
DLCI=790
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.3.61
Console
Modem
Backup
Modem
(xxx) xxx-xxxx
(xxx) xxx-xxxx
Serial 0/1
161.120.2.62
(Worcester)
Olyphant
Olyphant, PA
Warren Diamond Powder Company
1401 East Lackawanna Street
Olyphant, PA 18447
(570) 383-3261…Scott Brickel
AREC 454712 (56k)

## Slide 143: Ontario, California
Worcester, MA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=920
DLCI=130
Plainfield, IN
Cisco
Router
(2610)
Serial 0/0.630
161.120.1.225
(Ontario)
Cisco
Router
(2610)
Serial 0/0.920
161.120.1.226
(Plainfield)
Ethernet 0/0
161.120.65.254
Serial 0/0
DLCI=630
Loopback 0/0
10.120.2.45
Console
Modem
Ontario, CA
BRI 0/0
161.120.1.230
(Plainfield)
Serial 0/0.130
161.120.1.122
(Worcester)
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Serial 3/0.630
161.120.1.121
(Ontario)
Ontario
(909) 390-6389
ISDN 909-390-6529 / 909-390-6532
DHEC 873729 (T-1)
DZEC 858638 (256k)
DHEC 965774 (T-1)
DZEC 966533 (256k)
Saint-Gobain Abrasives
3790 East Jurupa Street
Ontario, CA 91761
(909) 390-3533…Jim Downey x-620
(909) 390-3533…shipping supr. X-630
(909) 390-3533…shipping x-624
(909) 390-3533…Yolanda x-625
(909) 390-3533…conversion x-627

## Slide 144: Oxford, North Carolina
Valley Forge, PA
Cisco
Router
(2610)
Serial 0/0.815
161.120.160.10
(Valley Forge)
Ethernet 0/0
161.120.164.254
Cisco
Router
(2610)
Serial 0/0
Serial 0/0
Serial 0/0.640
161.120.160.9
(Oxford)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.6.141
Oxford, NC
Console
Modem
BRI 0/0
161.120.160.14
(Valley Forge)
(919) 603-5536
DLCI=815
DHEC 052962 (T-1)
DHEC 052962 (1536k Port)
CSU
CertainTeed Roofing Products
202 Certainteed Road
Oxford, North Carolina 27565
(919) 693-1141…Toney Clayborn (TC)
Oxford
DHEC 154890 (T-1)
DLCI=640
DZEC 155317 (256k)
ISDN 919-692-1606 / 919--692-1607

## Slide 145: Paris, France
Paris
Valley Forge, PA
Lognes, France
SGC
Router
(Cisco 7206)
CSG
Router
NUA: 31103871200379 (256k)
Ethernet 3/2
161.120.32.1
255.255.255.252
10.120.255.5
255.255.255.252
Arche Communication NCC Help Desk
011.33.1.69.18.98.67
arche.ncc@sgmail.saint-gobain.com
Global One
Frame Relay
011.33.1.49.87.82.94
DLCI=274
DLCI=401
Saint-Gobain Systemes d’Information
18 Avenue d’Alsace
92400 Courbevoie, France
011-33-1-47-62-35-54…Jacques Venet 011-33-1-47-62-33-54…Bernard Querard
011-33-1-47-62-54-31…Bernard Goudet
011-33-1-47-62-49-24…Alain Akopian
011-33-1-47-62-54-14…Eric Deulniau
011-33-1-47-62-54-89…Thierry Berranger
011-33-1-69-18-98-67…Network Comm. Ctr.
10.120.255.2
255.255.255.252
(Coubevoie)
(4meg)
Global One
Router
(Cisco 2503)
Ethernet 3/2
161.120.32.2
255.255.255.252
(Cross Over Cable)
DLCI=201
(4meg)
Courbevoie, France
(Les Miroirs)
CSG
Router
10.120.255.1
255.255.255.252
10.120.255.6
255.255.255.252
(Lognes)
Global One Router
“Stgob-Pennsylvanie”

## Slide 146: Peachtree City, Georgia
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.850
161.120.165.165
(Peachtree City)
Cisco
Router
(2610)
Serial 0/0.810
161.120.165.166
(Irving)
Ethernet 0/0
161.120.161.222
Racal
Excalibur
DAP
Serial 0/0
DLCI=850
Loopback 0/0
10.120.6.181
Console
Modem
Backup
Modem
Peachtree City, GA
Serial 0/1
161.120.160.166
(Valley Forge)
Serial 0/0.805
161.120.160.162
(Valley Forge)
Serial 3/1.850
161.120.160.161
(Peachtree City)
Peachtree City
GS Roofing Products Company
200 Sierra Drive
Peachtree City, Georgia 30269
(770) 487-2334…Nancy Smith x-11
AREC 053649 (56k)
(xxx) xxx-xxxx
(770) 486-8768
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)

## Slide 147: Peoria, Illinois
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=250
161.120.192.98
(Dallas)
Bay Networks
Router
(ASN)
DSU
DHEC 899120 (T-1)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=236
161.120.192.65
(Peoria)
DLCI=236
DLCI=110
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Dallas, TX
Bay Networks
Router
(ARN)
DLCI=236
161.120.192.97
(Peoria)
DLCI=250
S11_FR_ATT
DLCI=110
161.120.192.66
(Valley Forge)
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
AREC 334724 (56k)
CertainTeed Ventilation
7700 Harker Drive
Suite A
Peoria, Illinois 61615-1852
(309) 692-8650…Marsha Connelly
Peoria
Peoria, IL
E11_PEORIA
161.120.194.62
DZEC 998212 (256k)

## Slide 148: Pevely, Missouri
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(314) 664-7040
Dial Backup
Modem
(314) 664-7822
Saint-Gobain Containers
1500 S-G Glass Drive
Pevely, MO 63070
(314) 479-4421…Ron Watson x-121
Pevely
Pevely, MO
AREC 337253 (56k)
DLCI=360
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
O12_PEVELY
161.120.58.254
10.120.56.62
E11_PEVELY
161.120.55.94
161.120.117.126
10.120.88.254
DLCI=155
161.120.49.50
(Muncie)
DLCI=360
161.120.49.49
(Pevely)

## Slide 149: Pharr, Texas
Worcester, MA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=780
DLCI=130
Brownsville, TX
Cisco
Router
(2610)
Serial 0/0.256
161.120.1.97
(Pharr)
Cisco
Router
(2610)
Serial 0/0.780
161.120.1.98
(Brownsville)
Ethernet 0/0
161.120.7.190
Racal
Excalibur
DAP
Serial 0/0
DLCI=256
Loopback 0/0
10.120.2.13
Console
Modem
Backup
Modem
Pharr, TX
Serial 0/1
161.120.1.94
(Worcester)
Serial 0/0.130
161.120.1.90
(Worcester)
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Serial 3/0.256
161.120.1.89
(Pharr)
Pharr
AREC 990311 (56k)
(956) xxx-xxxx
(956) xxx-xxxx
Norton Company
9108-C Austin Drive Las Milpas Industrial Park
Pharr, TX 78577
(956) 702-4656…Arnulfo Almaraz
DHEC 035872 (T-1)
DXEC 013752 (128k)

## Slide 150: Piedmont, Missouri
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.514
161.120.165.193
(Piedmont)
Cisco
Router
(2610)
Serial 0/0.810
161.120.165.194
(Irving)
Ethernet 0/0
161.120.165.62
Racal
Excalibur
DAP
Serial 0/0
DLCI=514
Loopback 0/0
10.120.6.209
Console
Modem
Backup
Modem
Piedmont, MO
Serial 0/1
161.120.160.222
(Valley Forge)
Serial 0/0.805
161.120.160.218
(Valley Forge)
Serial 3/1.514
161.120.160.219
(Piedmont)
Piedmont
GS Roofing Products Company
Route 2 Hwy. 49N
Piedmont, Missouri 63957
(573) 223-7554…Donnie Allen x-43
AREC 440506 (56k)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)

## Slide 151: Plattsville, Ontario
Plattsville, Ontario
01 EQCT 429712 (56k)
ATT
in United States
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Bell Canada
in Canada
Worcester, MA
Cisco
Router
(7206)
Serial 3/1
161.120.1.129
(Plattsville)
Cisco
Router
(2610)
Ethernet 0/0
161.120.99.254
Serial 0/0
161.120.1.130
(Worcester)
Loopback 0/0
10.120.2.69
Console
Modem
Backup
Modem
Serial 0/1
161.120.1.134
(Worcester)
(519) 684-7122
(519) 684-7131
Racal
Excalibur
DAP
DHEC 416516.100 (T-1)
AREC 429712 (56k)
Plattsville
Carborundum Abrasives, Inc.
28 Albert Street
Plattsville, Ontario N0J 1S0
(519) 684-7441…Lynn Robertson x-224
(519) 684-7441…Joan Tune x-248
Telco Systems
Channel Bank
Slot # 22
DS0 Channel # 22
Racal
Excalibur
DAP
GDC
CSU
Acct# 9600-1205
01 EQCT 429712
01 DSCT 429713

## Slide 152: Port Allegany, Pennsylvania
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(814) 642-3203
Dial Backup
Modem
(814) 642-5088
Port Allegany
Saint-Gobain Containers
One Glass Place
Port Allegany, Pennsylvania 16743-1154
(814) 642-3211…Bob Wymer
AREC 157195 (56k)
DLCI=315
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DLCI=155
161.120.49.66
(Muncie)
DLCI=315
161.120.49.65
(Port Allegany)
E11_P_ALLEGANY
161.120.55.126 161.120.117.190
O12_P_ALLEGANY
161.120.59.254
10.120.54.62
Port Allegany, PA

## Slide 153: Portland, Oregon (Insulation)
Portland, OR
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=660
161.120.128.50
(Valley Forge)
E11_PORTLAND
161.120.133.94
Bay Networks
Router
(ASN)
CSU
AREC 847000 (56k))
Sxxx_FR_IG
DHEC 394716 (T-1)
IFEC 394956 (640k)
S13_FR_ATT
DLCI=56
161.120.128.49
(Portland)
DLCI=56
DLCI=660
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S15
Portland (Insulation)
CertainTeed Corporation
15925 North Loombard Street
Portland, Oregon 97203
(503) 247-9207…Cindy Johnson

## Slide 154: Portland, Oregon (Roofing)
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.865
161.120.165.185
(Portland)
Cisco
Router
(2610)
Serial 0/0.810
161.120.165.186
(Irving)
Ethernet 0/0
161.120.165.30
Racal
Excalibur
DAP
Serial 0/0
DLCI=865
Loopback 0/0
10.120.6.201
Console
Modem
Backup
Modem
Portland, OR
Serial 0/1
161.120.160.206
(Valley Forge)
Serial 0/0.805
161.120.160.202
(Valley Forge)
Serial 3/1.865
161.120.160.201
(Portland)
Portland (Roofing)
GS Roofing Products Company
6350 NW Front Ave
Portland, Oregon 97210
(503) 222-1307…Bob Charron
AREC 053769 (56k)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)

## Slide 155: Raleigh, North Carolina (cancelled)
AT&T
FDEC 422152
1-800-762-1099
  Raleigh
T1 Multiplexor
Slot # 24
DS0 Channel # 24
AT&T circuit
DHEC 416516.100
Dillon Supply
Modem
CSU
Modem
AS/400
ABR02
Raleigh
Worcester
T1 Circuit
Dillon Supply
216 Southwest Street
Raleigh, NC 27602
(919) 832-7771…Gus Hughes
Notes: 29

## Slide 156: Rancho Cordova, California
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.518
161.120.165.209
(Rancho Cordova)
Cisco
Router
(2610)
Serial 0/0.810
161.120.165.210
(Irving)
Ethernet 0/0
161.120.165.126
Racal
Excalibur
DAP
Serial 0/0
DLCI=518
Loopback 0/0
10.120.6.225
Console
Modem
Backup
Modem
Rancho Cordova, CA
Serial 0/1
161.120.160.254
(Valley Forge)
Serial 0/0.805
161.120.160.250
(Valley Forge)
Serial 3/1.518
161.120.160.249
(Rancho Cordova)
Rancho Cordova
GS Roofing Products Company
3115 Kilgore Road
Rancho Cordova, California 95670
(916) 635-1710…xxx
AREC 840073 (56k)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)

## Slide 157: Ravenna, Ohio (NorPro)
Stow, OH
Cisco
Router
(2610)
Serial 0/0
161.120.16.58
(Stow)
Ethernet 0/0
161.120.19.126
Cisco
Router
(2610)
Serial 3/0
Serial 0/0
Serial 1/1
161.120.16.57
(Ravenna)
Ameritech
71 HWDA 384796
(800) 480-8088
Loopback 0/0
10.120.10.25
Ravenna, OH
Serial 0/1
161.120.16.62
(Stow)
Console
Modem
Backup
Modem
(330) 298-9371
(330) 298-9372
Ravenna (NorPro)
Saint-Gobain NorPro
635 South Prospect Street
Ravenna, OH 44266
(330) 296-9922...Al Williams

## Slide 158: Reynosa, Mexico
Reynosa, Mexico
X003027V5133FNN04659 (E-1)
ATT
Frame-Relay
(800) 762-1099
Cust #: 3675
F-R MCN: Y00299
Telephonos
de Mexico
in Mexico
Cisco
Router
(2610)
Ethernet 0/0
161.120.126.254
Serial 0/0
161.120.1.138
(Worcester)
Loopback 0/0
10.120.2.65
Console
Modem
(xxx) xxx-xxxx
Kentrox
458
E-1CSU
    Reynosa
Norton Company de Mexico S.A. de C.V.
Brecha E-99 Carretera Matamoros
Parque Industrial Reynosa
Reynosa, Tamaulipas, Mexico
(956) 550-0038…Sergio Sanchez x-238
(956) 550-0038…Computer Room x-234
(956) 550-0038…Oscar Humphries
011-52-89580303…via TelMex
DHEC 259954 (T-1)
DLCI=151
DLCI=130
Worcester, MA
Cisco
Router
(7206)
Serial 3/0
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Serial 3/0.151
161.120.1.137
(Reynosa)
(E-1)
To Mux
DXEC 738685 (128k)

## Slide 159: Richmond, Virginia
Richmond, VA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=110
161.120.184.130
(Valley Forge)
E11_RICHMOND
161.120.183.126
Bay Networks
Router
(ASN)
DSU
AREC 536746 (56k)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=545
161.120.184.129
(Richmond)
DLCI=545
DLCI=110
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
Richmond
Chesapeake Window Products
7425 Ranco Road
Richmond, Virginia 23228
(804) 266-7908…Bob O’Brien

## Slide 160: Rittman, Ohio
Stow, OH
Cisco
Router
(2610)
Serial 0/0.600
161.120.16.42
(Stow)
Cisco
Router
(3640)
Racal
Excalibur
DAP
Serial 0/0
Serial 1/0.706
161.120.16.41
(Rittman)
DLCI=706
DLCI=600
Qwest
Frame Relay
(800) 860-1020
Loopback 0/0
10.120.10.17
(xxx) xxx-xxxx
(xxx) xxx-xxxx
Rittman, OH
Console
Modem
Backup
Modem
FRRTM01-39998862 (56 KB)
Serial 1/0
FRKEN00-3203371 (768 KB)
DS1-3203368 (T-1)
Rittman
Ethernet 0/0
161.120.7.126
Serial 0/1
161.120.16.46
(Stow)
J. & O. Plastics, Inc.
12475 Sheets Road
Rittman, OH 44270
(330) 927-3169…Chris Gross

## Slide 161: Riverport, Kentucky
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=225
DLCI=120
Cisco
Router
(2610)
Serial 0/0.715
161.120.2.129
(Louisville)
Cisco
Router
(2610)
Serial 0/0.120
161.120.1.142
(Valley Forge)
Ethernet 0/0
161.120.31.254
Serial 0/0
DLCI=715
Loopback 0/0
10.120.3.57
Serial 0/1
161.120.2.134
(Louisville)
Serial 0/0.225
161.120.2.130
(Louisville)
Serial 3/0.715
161.120.2.141
(Loiusville)
Louisville, KY
Valley Forge, PA
ISX 5311
CSU
DZEC 001733 (256k)
DHEC 058784 (T-1)
DHEC 058784 (1536k)
Quartz Products Company
7201 Distribution Drive
Louisville, Kentucky 40258
(502) 995-2505…Mike Reliford
(502) 933-1005…attendent bypass
Riverport
Louisville, KY
AREC 045084 (56k)
Console Modem: (502) 935-1754
Backup Modem: (502) 935-5889

## Slide 162: Roaring River, North Carolina
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
White City, OR
Cisco
Router
(2610)
Cisco
Router
(2610)
Serial 0/0.825
161.120.176.250
(White City)
Ethernet 0/0
161.120.183.190
Serial 0/0
Loopback 0/0
10.120.6.101
Console
Modem
Backup
Modem
(xxx) xxx-xxxx
(xxx) xxx-xxxx
Serial 0/1
161.120.176.246
(Valley Forge)
Serial 0/0.120
161.120.176.242
(Valley Forge)
Fibercement
1149 ABTco Road
N. Wilkesboro, North Carolina 28659
(336) 696-2751…Chris Anderson
Serial 3/0.820
161.120.176.241
(Roaring River)
DLCI=120
DHEC 058784 (T-1)
DHEC 058784 (1536k)
DLCI=86
DHEC 875250 (T-1)
DLCI=81
Serial 0/0.820
161.120.176.249
(Roaring River)
Roaring River, NC
Roaring River
Racal
ISX 5311
CSU
DZEC 996239 (256k)
DHEC 875089 (T-1)
DZEC 996182 (256k)

## Slide 163: Romeoville, Illinois
Romeoville, IL
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=110
161.120.176.162
(Valley Forge)
Bay Networks
Router
(ASN)
DSU
AREC 020132 (56k)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=515
161.120.176.161
(Romeoville)
DLCI=515
DLCI=110
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
CertainTeed Fence Division
645 Forestwood Drive
Romeoville, Illinois 60441
(815) 886-6488…Greg Robinson
Romeoville
E11_ROMEOVILLE
161.120.181.126
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12

## Slide 164: Romulus, Michigan
Worcester, MA
Serial 0/0.101
161.120.1.250
(Worcester)
Cisco
Router
(7206)
Serial 3/0
Serial 4/3.565
161.120.1.249
(Romulus)
DLCI=565
DLCI=101
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.2.77
Console
Modem
Romulus, MI
DHEC 853168 (T-1)
DHEC 853168 (1536k)
Serial 0/0.560
161.120.1.146
(Bensenville)
DLCI=560
Bensenville, IL
Cisco
Router
(2610)
Serial 0/0
Serial 0/0.565
161.120.1.145
(Romulus)
Serial 0/1
161.120.1.254
(Worcester)
Universal Superabrasives Inc.
27588 Northline Road
Romulus, Michigan 48174
(734) 941-1388 x-171…Kevin Adams
Romulus
Cisco
Router
(2610)
Internal CSU
(734) 942-7440
ISDN 734- 229-9150 / 734-229-9152
Ethernet 0/0
161.120.119.254
DHEC 014973 (T-1)
Serial 0/0
DHEC 014973 (1536k)
DHEC 045072 (T-1)
IFEC 001328 (640k)

## Slide 165: Ronks, Pennsylvania
Ronks
The Jay Group
60 North Ronks Road
Ronks, Pennsylvania 17572
(717) 687-1957…Kathy Wee x-1909
Ronks, PA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=720
161.120.184.146
(Valley Forge)
Bay Networks
Router
(ASN)
CSU
DHEC 134497 (T-1)
DHEC 134497 (1536k)
S11_FR_ATT
DLCI=995
161.120.184.145
(Ronks)
DLCI=995
DLCI=720
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
AREC 981865 (56k)
E11_RONKS
161.120.184.150
S212_VBP_FR_ATT

## Slide 166: Russellville, Alabama
Valley Forge, PA
Cisco
Router
(2610)
Serial 0/0.820
161.120.213.130
(Wichita Falls)
Ethernet 0/0
161.120.139.254
Bay Networks
Router
(ARN)
S13_FR_ATT
161.120.213.129
(Russelville)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.10.128
Russellville, AL
Console
Modem
Serial 0/1
161.120.160.94
(Valley Forge)
(xxx) xxx-xxxx
DLCI=620
CSU
Celotex Corporation
475 Walnut Gate Road County Road 42
Russellville, Alabama 35654
(256) 332-9020…Phil Humphres
Russellville
DLCI=241
DHEC 864627 (T-1)
DZEC 997410 (256k)
ISDN xxx-xxx-xxxx / xxx-xxx-xxxx
DHEC 839661 (T-1)
DXEC 002562 (128k)

## Slide 167: Ruston, Louisiana
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(318) 247-5253
Dial Backup
Modem
(318) 247-5187
Ruston
Saint-Gobain Containers
4241 Highway 563 Simsboro, LA 71275
(318) 247-8041…John Hanna
AREC 297829 (56k)
DLCI=370
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DLCI=155
161.120.48.178
(Muncie)
DLCI=370
161.120.48.177
(Ruston)
E11_RUSTON
161.120.53.62
O12_RUSTON
161.120.50.222
Ruston, LA

## Slide 168: St. Catharines, Ontario
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=120
Niagara Falls, NY
Cisco
Router
(3640)
DLCI=303
161.120.123.25
(St. Catharines)
DLCI=200
161.120.123.26
(Niagara falls)
Ethernet 0/0
161.120.120.126
DLCI=303
Loopback 0/0
10.120.3.145
Console
Modem
St. Catharines
Bril 0/1
161.120.123.30
(Niagara Falls)
DLCI=120
161.120.123.70
(Valley Forge)
DLCI=303
161.120.123.69
(St. Catharines)
St. Catharines
Saint-Gobain Technical Fabrics/Bayex
39 Seapark Drive
St. Catharines, ONT L2R 6Y3
(905) 688-3160…Suesan Taylor x-257
(905) 684-0903
ISDN 905-688-7122 / 905-688-7124
DHEC 058784 (T-1)
DHEC 058784 (1536k)
N3ON0008CUD (T-1)
XEYNNFR2003 (128k)
Serial 0/0
Cisco
Router
(2610)
Internal CSU
DLCI=200
DHEC 560676 (T-1)
DEEC 981016 (512k)

## Slide 169: St. Louis, Missouri
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(314) 664-7040
Dial Backup
Modem
(314) 664-7205
St. Louis
St. Louis, MO
STC Warehouse
2760 South First Street
St. Louis, Missouri 63104
(314) 776-8211…Bill Moriarity
AREC 058770 (56k)
DLCI=580
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DLCI=155
161.120.52.194
(Muncie)
DLCI=580
161.120.52.193
(St. Louis)
E11_ST_LOUIS
161.120.56.190

## Slide 170: Sanborn, New York
Niagara Falls, NY
Cisco
Router
(2610)
Serial 0/0
161.120.2.90
(Niagara Falls)
Ethernet 0/0
161.120.29.254
Cisco
Router
(2610)
Serial 3/0
Serial 0/0
Serial 1/1
161.120.2.98
(Sanborn)
Verizon
40 XHGL 176461 NY
(716) 890-7711 (ticket)
Loopback 0/0
10.120.3.41
Sanborn, NY
Serial 0/1
161.120.2.94
(Niagara Falls)
Sanborn
Carborundum Corporation Microelectronics
2050 Cory Road
Sanborn, NY 14132
(716) 731-9218…Pam Rakfeldt
(716) 731-9235…John Barrick
(716) 278-6245…Dianna Tierney (SCD Niagara Falls)
Console
Modem
Backup
Modem
(716) 731-1026
(716) 731-1900

## Slide 171: Sandy, Utah
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=221
DLCI=120
Chandler
Cisco
Router
(3640)
Serial 0/0.266
161.120.2.185
(Sandy)
Serial 0/0.221
161.120.2.186
(Chandler)
Ethernet 0/0
161.120.31.190
DLCI=266
Loopback 0/0
10.120.3.253
Console
Modem
Sandy, UT
Dialer1
161.120.2.190
(Milpitas)
Serial 0/0.120
161.120.2.206
(Valley Forge)
Serial 3/1.266
161.120.2.205
(Sandy)
Sandy
Quartz International
826 South Sandy Parkway
Sandy, Utah 84070
(801) 569-0440…Kevin Wilkey
(801) 561-1081
BRI0/0 801-565-4776 / 801-565-4789
DHEC 058784 (T-1)
DHEC 058784 (1536k)
AREC 537400 (56k)
Serial 0/0
Cisco
Router
(2610)
DHEC 890254 (T-1)
DCEC 003727 (384k)
Racal
Excalibur
DAP

## Slide 172: San Jose, California (Fortune Drive)
San Jose (Fortune Drive)
Saint-Gobain Semicon Equipment, Inc. (Holz)
2099 fortune Drive
San Jose, CA 95131
(408) 943-9204…Larry Walker x-54
(408) 943-9204…Rob Green
(408) 943-9204…Judy McGee x-54
(DHEC 745662 (T-1)
(DXEC 959417 (256k)
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=120
Ethernet 0/0
161.120.102.125
DLCI=271
Loopback 0/0
10.120.3.229
Console
Modem
Serial 0/0.120
161.120.100.2
(Valley Forge)
Serial 3/1.271
161.120.100.1
(San Jose)
(xxx) xxx-xxxx
DHEC 058784 (T-1)
DHEC 058784 (1536k)
Cisco
Router
(2611)
Internal CSU
San Jose, CA

## Slide 173: Santa Anna, California (old)
Santa Anna, CA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=110
161.120.176.194
(Valley Forge)
Bay Networks
Router
(ASN)
DSU
AREC 032913 (56k)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=540
161.120.176.193
(Santa Anna)
DLCI=540
DLCI=110
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Apache Plastics
2205 South Standard Avenue
Santa Anna, California 92707
(714) 546-0161…Sherry Gallagher
(800) 272-2431…Sherry Gallagher
Santa Anna
E11_SANTA_ANNA
161.120.181.62
Sync
Dial Backup
Modem
S12

## Slide 174: Sapulpa, Oklahoma
Sapulpa
Sapulpa, OK
Bay Networks
Router
(ARN)
DLCI=155
161.120.48.194
(Muncie)
E11_SAPULPA
161.120.54.254
DSU
AREC 372189 (56k)
S13_FR_ATT
DLCI=330
161.120.48.193
(Sapulpa)
DLCI=330
DLCI=155
Saint-Gobain Containers
1000 North Mission Street Sapulpa, OK 74066
(918) 224-1440…Dixie Sams x-574
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
DHEC 431503 (T-1)
DHEC 431503 (1024k)
Bay Networks
Router
(ASN)
S131_FR_ATT
Sync
Dial Backup
Modems
(765) 741-7068
Console
Modem
(918) 227-4504
Dial Backup
Modem
(918) 227-5810

## Slide 175: Seattle, Washington
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(206) 768-6299
Dial Backup
Modem
(206) 763-8647
Seattle, WA
Seattle
Saint-Gobain Containers
5801 East Marginal Way South
Seattle, Washington 98134
(206) 768-6203…Randy Bowman
(206) 762-0660…switchboard attendant
AREC 147562 (56k)
DLCI=305
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DLCI=155
161.120.49.82
(Muncie)
DLCI=305
161.120.49.81
(Seattle)
E11_SEATTLE
161.120.53.190
O12_SEATTLE
161.120.59.190
10.120.53.126

## Slide 176: Seguin, Texas
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=261
DLCI=120
Brunswick, ME
Cisco
Router
(2611)
Serial 0/0.201
161.120.123.81
(Seguin)
Serial 0/0.261
161.120.123.82
(Brunswick)
Ethernet 0/0
161.120.124.190
DLCI=201
Loopback 0/0
10.120.3.85
Console
Modem
Seguin, TX
Bril 0/1
161.120.123.86
(Brunswick)
Serial 0/0.120
161.120.123.78
(Valley Forge)
Serial 3/1.201
161.120.123.77
(Seguin)
(830) 379-7455
ISDN 210-267-6045 / 210-267-6035
DHEC 058784 (T-1)
DHEC 058784 (1536k)
Serial 0/0
Cisco
Router
(2611)
Internal CSU
Saint-Gobain BTI, Inc.
2460 North Crossroad Blvd.
Seguin, Texas 78155
(830) 372-0160…Wayne Hand
DHEC 854630 (T-1)
DCEC 804398 (384k)
Seguin
DHEC 580317 (T-1)
DEEC 822011 (512k)

## Slide 177: Shakopee, Minnesota
Valley Forge, PA
Cisco
Router
(2610)
Serial 0/0.815
161.120.165.218
(Valley Forge)
Ethernet 0/0
161.120.162.254
Cisco
Router
(2610)
Serial 0/0
Serial 0/0
Serial 0/0.650
161.120.165.217
(Shakopee)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.6.137
Shakopee, MN
Console
Modem
BRI 0/0
161.120.165.222
(Valley Forge)
(xxx) xxx-xxxx
DLCI=815
DHEC 052962 (T-1)
DHEC 052962 (1536k Port)
CSU
CertainTeed Roofing Products
3303 E 4th Avenue
Shakopee, Minnesota 55379
(952) 445-4287…Craig Pariseau
Shakopee
DLCI=650
DHEC 155126 (T-1)
DZEC 155475 (256k)
ISDN 612-445-9146 / 612-445-9215

## Slide 178: Shawinigan, Quebec
Shawinigan, Quebec
ATT
United States
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
DLCI=790
DLCI=390
ATT
Canada
Frame Relay
(800) 613-9456
Worcester, MA
Cisco
Router
(7206)
Serial 3/0
Serial 3/0.390
161.120.2.65
(Shawinigan)
Cisco
Router
(2610)
Serial 0/0.790
161.120.2.66
(Worcester)
Ethernet 0/0
161.120.29.126
Serial 0/0
Loopback 0/0
10.120.3.29
Console
Modem
Backup
Modem
Serial 0/1
161.120.2.70
(Worcester)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
Racal
Excalibur
DAP
Shawinigan
Norton Advanced Ceramics
D.R. Wilson
Shawinigan, Quebec
Canada G9N 6W2
(819) 536-2537…Mario Clermont x-129
(819) 536-2537…Pierre x-124
XNXGXFR2001 (56k)
DHEC 003714 (T-1)
DTEC 002552 (768k)

## Slide 179: Shreveport, Louisiana
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.502
161.120.165.149
(Shreveport)
Cisco
Router
(2610)
Serial 0/0.810
161.120.165.150
(Irving)
Ethernet 0/0
161.120.161.126
Racal
Excalibur
DAP
Serial 0/0
DLCI=502
Loopback 0/0
10.120.6.165
Console
Modem
Backup
Modem
Shreveport, LA
Serial 0/1
161.120.160.118
(Valley Forge)
Serial 0/0.805
161.120.160.114
(Valley Forge)
Serial 3/1.502
161.120.160.113
(Shreveport)
Shreveport
GS Roofing Products Company
620 Aero Drive
Shreveport, Louisiana 71107
(318) 677-2701…Stella Barmum
AREC 924376 (56k)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)

## Slide 180: Social Circle, Georgia (Plant)
Social Circle, GA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=720
161.120.176.122
(Valley Forge)
E11_SOC_CIR
161.120.182.254
Bay Networks
Router
(ASN)
DSU
DHEC 193343 (T-1)
S11_FR_ATT
DLCI=955
161.120.176.121
(Social Circle)
DLCI=955
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
CertainTeed Corporation
200 Ronthor Road, SE
Social Circle, Georgia 30025
(770) 464-3343…Sheila Ross
Social Circle (Plant)
DHEC 134497 (T-1)
DHEC 134497 (1536k)
DLCI=720
DZEC 978630 (256k)
S212_VBP_FR_ATT

## Slide 181: Social Circle, Georgia (Whs.)
Social Circle, GA
Bay Networks
Router
(ARN)
DLCI=720
161.120.176.114
(Valley Forge)
E11_SOC_CIR
161.120.181.222
DSU
AREC 981888 (56k)
S11_FR_ATT
DLCI=1000
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
CertainTeed
772 East Hightower Trail
Social Circle, Georgia 30025
(770) 464-3050…Dan Kozak (whs..)
(770) 464-3343…Sheila Ross (plant)
Social Circle (Whs..)
DHEC 134497 (T-1)
DHEC 134497 (1536k)
DLCI=720
Valley Forge, PA
Bay Networks
Router
(ASN)
DLCI=1000
161.120.176.113
(Social Circle Whs..)
S212_VBP_FR_ATT

## Slide 182: Soddy-Daisy, Tennessee
Stow, OH
Serial 0/0.600
161.120.16.66
(Stow)
Ethernet 0/0
161.120.18.254
Cisco
Router
(3640)
Serial 1/0.605
161.120.16.65
(Soddy-Daisy)
DLCI=605
DLCI=600
Qwest
Frame Relay
(800) 860-1020
Loopback 0/0
10.120.10.29
(423) 332-3857
Soddy-Daisy, TN
Console
Modem
Serial 0/1
161.120.16.70
(Stow)
Soddy-Daisy
Saint-Gobain NorPro
216 Igou Ferry Road
Soddy-Daisy, TN 37379
(423) 332-3571...Carl Wiesen x-1208
ISDN 423-332-4734 / 423-332-3018
FRKEN00-3203371 (768 KB)
DS1-3203368 (T-1)
FRSD00-3204963 (256 KB)
DS1-3204938 (T-1)
Cisco
Router
(2610)
Internal CSU
ISX-5311
CSU

## Slide 183: Solon, Ohio
Valley Forge, PA
Cisco
Router
(2500)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=120
Washougal, WA
Cisco
Router
(7206)
Cisco
Router
(4000)
Serial 1.30
161.120.172.9
(Washougal)
Ethernet 0/0
161.120.173.254
Racal
ISX-5311
Serial 2
DLCI=31
Loopback 0/0
10.120.3.69
Solon, OH
Serial 2.120
161.120.172.18
(Valley Forge)
Serial 3/1.31
161.120.172.17
(Solon)
Solon
DLCI=30
DHEC 058784 (T-1)
DHEC 058784 (1536k)
DHEC 993161 (T-1)
DZEC 994039 (256k Port)
Bicron Saint-Gobain Industrial Ceramics Inc.
6801 Cochran Road
Solon, Ohio 44139
(440) 248-7400…Marylou Johnson x-6400
(440) 542-2484…Mohamed Alkazaz
Ameritech Dedicated
(800) 480-8088
Serial 0
161.120.172.1
(Newbury)
Sprint Frame-Relay
(800) 877-5045
DHZA 519795 (T-1)
Cisco
Router
(2500)
Newbury, OH
PBX
PBX
512k
512k
DLCI=30
8750024 (56k)
8758989 (56k)
Serial 1
Serial 0
DHZA 519796 (T-1)

## Slide 184: South San Francisco, California
South San Francisco, CA
Valley Forge
Bay Networks
Router
(ARN)
Serial 0/0.120
161.120.32.34
(Valley Forge)
Cisco
Router
(3640)
DSU
AREC 225871 (56k)
Serial 3/0.745
161.120.32.33
(South San Francisco)
DLCI=745
DLCI=120
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Norton/Asti Performance Plastics
Suite G
130 Produce Avenue
South San Francisco, California 94080
(650) 244-4800…Jerome Mallavelle
South San Francisco
Ethernet 0/0
161.120.253.254
Sync
Dial Backup
Modem
Serial 0/1
DHEC 445810 (T-1)
DEEC 000088 (512k)
Loopback 0/0
10.120.9.29

## Slide 185: Stephenville, Texas
Worcester, MA
Cisco
Router
(7206)
DZEC 087175 (256k)
Serial 3/0
DLCI=460
161.120.1.153
(Stephenville)
DLCI=460
DLCI=130
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Stephenville
Norton Company
2770 West Washington
Stephenville, TX 76401
(254) 918-6499…Alan Martin
(254) 968-4161…switchboard
DHEC 773721 (T-1)
GDC 551
CSU
Frame Relay
Slot # 1
DS0 Channel # 21-24
Telco Systems Channel Bank
Cisco
Router
(2610)
Serial 0/0.130
161.120.1.154
(Worcester)
Ethernet 0/0
161.120.115.254
Serial 0/0
Loopback 0/0
10.120.2.49
Console
Modem
Backup
Modem
(254) 965-3090
(254) 965-6036
Stephenville, TX
DHEC 016859 (T-1)
DHEC 016859 (1536k)

## Slide 186: Stow, Ohio
Saint-Gobain NorPro
3855 Fishcreek Road
Stow, OH 44224
(330) 677-7262…Phil Gerenday
(330) 289-4963…Phil cell phone
(330) 677-7227…Rick Cawthra
(330) 289-7998…Rick cell phone
Stow, OH
Ethernet 0/0
161.120.23.254
192.180.143.254
198.180.143.254
Qwest
Frame Relay
(800) 860-1020
Ameritech
(800) 480-8088
Stow
Canal Fulton
Serial 1/0
Loopback 0/0
10.120.10.1
Console
Modem
Backup
Modem
(330) 676-0422
(330) 696-0443
Ravenna
Tallmadge
DHZA 579031 (1544k)
71 HWDA 384796 (56k)
HWDA 506482 (56k)
Cisco
Router
(3640)
Serial 1/1
Serial 1/2
Serial 1/3
DLCI=606
161.120.16.10
(Valley Forge)
FRWAY96-483912 (56k)
Valley Forge, PA
Cisco
Router
(7206)
DLCI=600
161.120.16.9
(Stow)
DLCI=600
DLCI=606
Serial 3/1
FRKEN00-3203371 (768 KB)
DS1-3203368 (T-1)
ISX5311
CSU
ISDN 330-346-0761 / 330-346-0762
ISDN 330-346-0763 / 330-346-0764

## Slide 187: Stow, Ohio- Internet
Saint-Gobain NorPro
3855 Fishcreek Road
Stow, Ohio 44224
(330) 677-7262…Phil Gerenday
(330) 677-7227…Rick Cawthra
(330) 677-3504…Mohamed Alkazaz
Stow Firewall
Cable
Modem
161.120.22.26
161.120.22.0
(255.255.254.0)
Checkpoint
Firewall-1 v4.0
Internal Ethernet
External Ethernet
204.210.196.12
204.210.196.0
(255.255.255.0)
Time Warner
Cable Modem Access
Notes:
1) Single valid external IP address assigned.
2) Lotus Domino server also runs on Firewall NT Server
3) Encryption domain configured for SecuRemote access.
N/A
N/A
N/A
Comment
External
Internal or DMZ
Network Address Translation Table
Notes: 35

## Slide 188: Tallmadge, Ohio
Stow, OH
Serial 0/0
161.120.16.74
(Stow)
Ethernet 0/0
161.120.19.254
Cisco
Router
(3640)
Serial 1/3
161.120.16.73
(Tallmadge)
Ameritech
DHZA 579031 OB
(800) 844-5455 (Hi-Cap)
Loopback 0/0
10.120.10.33
Tallmadge, OH
Serial 0/1
161.120.16.78
(Stow)
Console
Modem
(xxx) xxx-xxxx
Saint-Gobain NorPro
25 East Avenue
Tallmadge, OH 44278
(330) 633-5624…Todd Kestranek
Tallmadge
Cisco
Router
(2610)
Internal CSU
ISX-5311
CSU
ISDN xxx-xxx-xxxx / xxx-xxx-xxxx4

## Slide 189: Tampa, Florida
Valley Forge, PA
Cisco
Router
(2610)
Serial 0/0.820
161.120.160.82
(Valley Forge)
Ethernet 0/0
161.120.139.126
Cisco
Router
(7206)
Serial x/x.196
161.120.160.81
(Tampa)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.10.133
Tampa, FL
Console
Modem
Serial 0/1
161.120.160.86
(Valley Forge)
(xxx) xxx-xxxx
DLCI=820
DHEC 589974 (T-1)
DHEC 589974 (1536k Port)
CSU
Celotex Corporation
4010 Boy Scout Boulevard
Tampa, Florida 33607
(813) 873-4000…Jeff Newell x-4066
Tampa
DLCI=196
DHEC 853908 (T-1)
DXEC 894294 (256k)
ISDN xxx-xxx-xxxx / xxx-xxx-xxxx

## Slide 190: Taunton, Massachusetts
Taunton
Taunton, MA
Aurora, OH
Cisco
Router
(2610)
Serial 0/0.945
161.120.255.250
(Aurora)
Ethernet 0/0
161.120.250.126
Cisco
Router
(3640)
Serial 2/0.146
161.120.255.249
(Taunton)
DLCI=146
Sil-Med Corporation
700 Warner Boulevard
Taunton, MA 02780
(508) 823-7701…Nick Cabral x-122
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Loopback 0/0
10.120.9.25
DLCI=945
DHEC 816532 (T-1)
DHEC 816532 (1536k)
DHEC 634173 (T-1)
DXEC 685748 (128k)
ISX5311
CSU

## Slide 191: Travelers Rest, South Carolina
Travelers Rest
Worcester, MA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=101
Cisco
Router
(2610)
Arden, NC
Ethernet 0/0
161.120.11.254
DLCI=96
Loopback 0/0
10.120.2.53
(864) 834-7285
Travelers Rest, SC
Serial 0/1
161.120.1.30
(Worcester)
Serial 0/0.101
161.120.1.26
(Worcester)
Serial 0/0.135
161.120.1.189
(Arden)
DHEC 857556 (T-1)
DHEC 853168 (T-1)
DHEC 853168 (1536k)
Serial 4/3.96
161.120.1.25
(Travelers Rest)
Serial 0/0.96
161.120.1.190
(Travelers Rest)
Ernst Winter & Sons, Inc.
100 Wilhelm Winter Street
Travelers Rest, SC 29690
(800) 455-4901…John McFalls x-258
IGEC 800311 (704k)
Console
Modem
Cisco
Router
(2610)
Internal CSU
ISDN 864-246-3562 / 864-246-3563
DLCI=136
DHEC 546750 (T-1)
IGEC 503363 (704k)

## Slide 192: Troy, New York
Cisco
Router
(2610)
Serial 0/0.130
161.120.1.170
(Worcester)
Ethernet 0/0
161.120.85.254
Serial 0/0
Serial 3/0.785
161.120.1.169
(Watervliet)
Console
Modem
(518) 274-1206
Watervliet, NY
DHEC 038248 (T-1)
DXEC 011003 (128k)
Norton Company
2600 10th Ave
Watervliet, NY 12189
(518) 266-2267...Paul Miller
(518) 484-5326 Paul Miller’s pager
(518) 266-2221…computer room
(518) 266-2285 x-269…Bill Myers
(518) 266-2743 x-743…Pat Hiller
TokenRing 0/0
161.120.84.254
Serial 0/1
161.120.1.65
TO GLENMONT
ISDN 518-266-0860 / 518-266-0840
Worcester, MA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=970
DLCI=130
Wheatfield, NY
Cisco
Router
(2610)
Serial 0/0.785
161.120.1.210
(Watervliet)
DLCI=785
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Serial 0/0.970
161.120.1.209
(Wheatfield)
Troy (Abrasives)
Loopback 0/0
10.120.2.5
DHEC 980377 (T-1)
DXEC 993055 (128k)
Voice
T-1 to PBX
DS1-B
DS-0 # 3-24
DS1-A
DS-0 # 1-24
ISX-5312
Port 1
DS-0 # 1-2

## Slide 193: Trumbauersville, Pennsylvania
Trumbauersville
Trumbauersville
Valley Forge
Cisco
Router
(2610)
Serial 0/0
161.120.32.18
Ethernet 0/0
161.120.196.254
Cisco
Router
(7206)
Serial 3/3
161.120.32.17
Sully North America
2175 Kumry Road
Trumbauersville, Pennsylvania 18970
(215) 536-0333…Jaci Reiter…163
(215) 536-0333…Chris Metzger…150
(215) 536-0333…Paul Czachor…114
Verizon
11 XHGS 117145
(800) 452-2224
Racal
Excalibur DAP
Racal
Excalibur DAP
Loopback 0/0
10.120.7.133
Console
Modem
(xxx) xxx-xxxx

## Slide 194: Valley Forge, Pennsylvania - Customer Service Annex
Valley Forge - Customer Service Annex
Annex
Headquarters
Serial 4/2
161.120.184.113
T1 Circuit
Cisco
Router
(7206)
Verizon
11 HCGS 271158
(800) 452-2224
Voice
T-1 to PBX
Kentrox
Datasmart 658
Data Port 1
DS-0 #1-4
Network
DS-0 # 1-24
Terminal
DS-0 # 5-24
Kentrox
Datasmart 658
Data Port 1
DS-0 #1-4
Network
DS-0 # 1-24
Terminal
DS-0 # 5-24
Voice
T-1 to PBX
T1 Circuit
Cisco
Router
(2610)
Ethernet 1/0
161.120.139.62
Console
Modem
(610) 688-6980
BRI 0/0
161.120.184.118
(Worcester)
Serial 0/0
161.120.184.114
(Worcester)
ISDN 610-341-6050 / -- 610-341-6051
Ethernet 1/1
161.120.184.174
Ethernet 1/2
161.120.189.126
CertainTeed Corporation
656 East Swedsford Road
Valley Forge, PA 19482
(800) 523-2316…Help desk

## Slide 195: Valley Forge, Pennsylvania - Frame Relay - Corporate (Bay)
Valley Forge (Bay - Corporate frame relay)
DHEC 272604 (T-1)
DHEC 272604 (1536k Port)
Frame Relay (1536k Port - DLCI 110)
ISX-5311
CSU
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Covington (DLCI 705 @ 32k CIR)
Dallas (DLCI 250 @ 32k CIR)
Lake Charles (DLCI 480 @ 32k CIR)
  Wixom (DLCI 220 @ 32k CIR)
Placentia (DLCI 235 @ 32k CIR)
Peoria (DLCI 240 @ 32k CIR)
Waco (DLCI 485 @ 32k CIR)
Romeoville (DLCI 515 @ 32k CIR)
McPherson (Molded) (DLCI 450 @ 32k CIR)
McPherson (Whs.) (DLCI 465 @ 32k CIR)
Social Circle (DLCI 495 @ 32k CIR)
Nesquehoning (DLCI 115 @ 32k CIR)
Santa Anna (DLCI 540 @ 32k CIR)
Richmond (DLCI 545 @ 32k CIR)
Wichita Falls (DLCI 620 @ 32k CIR)
Muncie (DLCI 155 @ 64k CIR)
Kansas City (DLCI 260 @ 64k CIR)
Clinton (DLCI 245 @ 32k CIR)
Saint-Gobain Corporation
750 East Swedsford Road
Valley Forge, PA 19482
(800) 523-2316…Help desk
Notes: 35

## Slide 196: Valley Forge, Pennsylvania - Frame Relay - Corporate (Cisco)
Valley Forge (Cisco - Corporate frame relay)
DHEC 058784 (T-1)
DHEC 058784 (1536k)
Saint-Gobain Corporation
750 East Swedsford Road
Valley Forge, PA 19482
(800) 523-2316…Help desk
Frame Relay (1536k Port - DLCI 120)
ISX-5311
CSU
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Troy (Sekurit) (DLCI 850 @ 32k CIR)
Worcester (Abrasives) (DLCI 130 @ 64k CIR)
White City (DLCI 825 @ 32k CIR)
Buckhannon (DLCI 760 @ 32k CIR)
Roaring River (DLCI 820 @ 32k CIR)
Louisville (DLCI 225 @ 32k CIR)
Wayne (DLCI 180 @ 32k CIR)
Worcester (Ceramics) (DLCI 790 @ 32k CIR)
Cisco
Router
(7206)
Serial 3/0
Ethernet 0/0
161.120.36.254
DLCI=120
Lincolnton (DLCI 830 @ 32k CIR)
Riverport (DLCI 715 @ 32k CIR)
South San Francisco (DLCI 745 @ 32k CIR)
Huntersville (DLCI 71 @ 32k CIR)
Monroe (DLCI 76 @ 32k CIR)
Notes: 35

## Slide 197: Valley Forge, Pennsylvania - Frame Relay - Insulation (Bay)
Valley Forge ( Insulation frame relay)
Saint-Gobain Corporation
750 East Swedsford Road
Valley Forge, PA 19482
(800) 523-2316…Help desk
Frame Relay (640k Port - DLCI 660)
Athens (DLCI 665 @ 128k CIR)
Chowchilla (Plant) (DLCI 675 @ 128k CIR)
Mountaintop (DLCI 670 @ 128k CIR)
DHEC 394716 (T-1)
IFEC 394956 (640k Port)
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
ISX-5311
CSU
CORPORATE ROUTER
Valley Forge
Winter Haven (DLCI 890 @ 32k CIR)
Chowchilla (Whs..) (DLCI 126 @ 32k CIR)
Fresno (DLCI 131 @ 32k CIR)
Kansas City, MO (DLCI 116 @ 32k CIR)
North Kansas City (DLCI 66 @ 32k CIR)
Portland (DLCI 56 @ 32k CIR)
Notes: 35

## Slide 198: Valley Forge, Pennsylvania - Frame Relay - Internet
Valley Forge (Internet frame relay)
Frame Relay (256k Port - DLCI 265)
DHEC 394677 (T-1)
DZEC 402424 (256k Port)
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Blue Bell (DLCI 255 @ 128k CIR)
Saint-Gobain Corporation
750 East Swedsford Road
Valley Forge, PA 19482
(800) 523-2316…Help desk
Kansas City (DLCI 260 @ 32k CIR)
CORPORATE ROUTER
Valley Forge
ISX-5311
CSU
Notes: 35

## Slide 199: Valley Forge, Pennsylvania - Frame Relay - Pipe (Bay)
Valley Forge (Roofing frame relay)
DHEC 154885 (T-1)
DEEC 155176 (512k Port)
Saint-Gobain Corporation
750 East Swedsford Road
Valley Forge, PA 19482
(800) 523-2316…Help desk
Frame Relay (512k Port - DLCI 635)
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
ISX-5311
CSU
CORPORATE ROUTER
Valley Forge
Buffalo (DLCI 51 @ 128k CIR)
Lodi (DLCI 46 @ 128k CIR)
Notes: 35

## Slide 200: Valley Forge, Pennsylvania - Frame Relay - Roofing (Cisco)
Valley Forge (Roofing)
DHEC 006684 (T-1)
DHEC 006684 (1536k Port)
Saint-Gobain Corporation
750 East Swedsford Road
Valley Forge, PA 19482
(800) 523-2316…Help desk
Frame Relay (1536k Port - DLCI 805)
ISX-5311
CSU
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Ennis (DLCI 835 @ 32k CIR)
Irving (DLCI 810 @ 64k CIR)
Hammond (DLCI 507 @ 16k CIR)
Aurora (DLCI 516 @ 16k CIR)
Charleston (DLCI 840 @ 32k CIR)
Chester (DLCI 845 @ 32k CIR)
Glenwood (DLCI 504 @ 16k CIR)
Cisco
Router
(7206)
Serial 3/x
Ethernet 1/0
161.120.39.254
DLCI=805
Peachtree City (DLCI 850 @ 32k CIR)
Piedmont (DLCI 514 @ 32k CIR)
Portland (DLCI 865 @ 32k CIR)
Rancho Cordova (DLCI 518 @ 16k CIR)
Shreveport (DLCI 502 @ 32k CIR)
Southgate (DLCI 509 @ 32k CIR)
Wilmington (DLCI 508 @ 32k CIR)
Littlerock (DLCI 503 @ 32k CIR)
Ethernet 1/1
161.120.36.250
DLCI=815
Frame Relay (1536k Port - DLCI 815)
New Lexington (DLCI 490 @ 32k CIR)
Shakopee (DLCI 650 @ 128k CIR)
BlueBell (DLCI 255 @ 64k CIR)
Oxford (DLCI 640 @ 128k CIR)
Avery (DLCI 645 @ 128k CIR)
Norwood (DLCI 590 @ 32k CIR)
ISX-5311
CSU
DHEC 052962 (T-1)
DHEC 052962 (1536k Port)
Frame Relay (1536k Port - DLCI 820)
Fremont (DLCI xxx @ 128k CIR)
Birmingham (DLCI xxx @ 128k CIR)
Dayton (DLCI xxx @ 64k CIR)
Los Angeles (DLCI xxx @ 128k CIR)
Dallas (DLCI xxx @ 64k CIR)
Lockland (DLCI xxx @128k CIR)
Russellville (DLCI xxx @ 128k CIR)
Dalyton (DLCI xxx @ 64k CIR)
ISX-5311
CSU
DHEC 589974 (T-1)
DHEC 589974 (1536k Port)
DLCI=820
Serial 3/x
Serial 3/x
Notes: 35

## Slide 201: Valley Forge, Pennsylvania - Frame Relay - Vinyl (Bay)
Valley Forge (Vinyl frame relay)
DHEC 134497 (T-1)
DHEC 134497 (1536k Port)
Saint-Gobain Corporation
750 East Swedsford Road
Valley Forge, PA 19482
(800) 523-2316…Help desk
Frame Relay (1536k Port - DLCI (720)
Hagerstown (DLCI 735 @ 128k CIR)
Jackson (Plant) (DLCI 730 @ 128k CIR)
Jackson (Tech Center) (DLCI 725 @ 128k CIR)
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
ISX-5311
CSU
BAY NETWORKS ROUTER
Valley Forge
Hermitage (DLCI 875 @ 32k CIR)
Grinnell (DLCI 935 @ 128k CIR)
Ronks (DLCI 995 @ 32k CIR)
McPherson (Vinyl) (DLCI 980 @ 128k CIR)
Auburn (DLCI 895 @ 128k CIR)
Notes: 35

## Slide 202: Valley Forge, Pennsylvania - Frame Relay - Vinyl (Cisco)
Valley Forge (Vinyl frame relay)
DHEC 562139 (T-1)
DHEC 562139 (1536k Port)
Saint-Gobain Corporation
750 East Swedsford Road
Valley Forge, PA 19482
(800) 523-2316…Help desk
Frame Relay (1536k Port - DLCI (220)
Jackson (Plant) (DLCI 730 @ 128k CIR)
Jackson (Tech Center) (DLCI 725 @ 128k CIR)
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
ISX-5311
CSU
BAY NETWORKS ROUTER
Valley Forge
Richmond (DLCI 545 @ 32k CIR)
Notes: 35

## Slide 203: Valley Forge, Pennsylvania - Internet
Saint-Gobain Corporation
750 East Swedesford Road
Post Office Box 860
Valley Forge, Pennsylvania 19482-0101
(800) 523-2316…Helpdesk
(610) 341-7106…Lee Congleton
Valley Forge Firewall
Nortel ARN
Router
161.120.36.38
161.120.36.0
(255.255.255.0)
207.106.33.169
Checkpoint
Firewall-1 v4.0
Internal Ethernet
External Ethernet
207.106.118.1
207.106.118.0
(255.255.255.0)
207.106.118.254
Racal ISX 5311
207.106.33.3
207.106.33.0
(255.255.255.0)
Earthstation
T1 Circuit
(610) 825-9800
Network Address Translation Table
Web Server – Development
207.106.118.201
161.120.47.201
Web Server – Production
207.106.118.200
161.120.47.200
Web Server – VBPG-NET
207.106.118.12
161.120.47.210
Web Server – Intranet
207.106.118.11
161.120.36.39
Mail Server – PMDF
207.106.118.100
161.120.36.11
Comment
External
Internal or DMZ
DMZ Ethernet
161.120.47.192
(255.255.255.192)
161.120.47.254
Notes:
1) Management Module also runs on 161.120.36.38
Notes: 35

## Slide 204: Valley Forge, Pennsylvania - Routers
Cisco
Router
(7206)
E121_CORP
161.120.36.254
161.120.37.254
10.120.37.254
Valley Forge Routers
Bay Networks
Router
(ASN)
Ethernet 1/3
161.120.36.252
Corporate
Bay Networks
Checkpoint
Firewall-1
Xx.xx.xx.xx
Internet (dirty)
161.120.36.38
Cisco
Router
(2610)
Ethernet 0/0
Xx.xx.xx.xx
Ethernet 0/0
161.120.39.254
Cisco
Router
(7206)
Roofing
Ethernet 0/0
161.120.36.250
E222_VBPG
161.120.35.254
161.120.38.254
E221_IG
161.120.40.254
161.120.41.254
O321_CORP
161.120.40.125
Saint-Gobain Corporation
750 East Swedsford Road
Valley Forge, PA 19482
(800) 523-2316…Help desk
Bay Networks
Router
(ARN)
Ethernet 1/3
161.120.36.253
Internet (clean)
Notes: 35

## Slide 205: Valley Forge, Pennsylvania - LAN
Bay Networks
ASN
Router
E121_CORP_BB
161.120.36.254
Corporate MIS
E122_RPG_BB
161.120.39.254
E221_IG_BB
161.120.40.254
Token-Ring
Backbone
O321_CORP
161.120.40.125
E222_VBPG_BB
161.120.38.254
Valley Forge (LAN)
Saint-Gobain Corporation
750 East Swedsford Road
Valley Forge, PA 19482
(800) 523-2316…Help desk
Notes: 35

## Slide 206: Valley Forge, Pennsylvania - WAN
Telco
Systems
Mux
Corbin/New Lexington
Westlakes
AT&T
IG AS/400
BAY NETWORKS
ASN
ROUTER
56k
14.4k
1.544mb
New Lexington
Berlin/Plains
Carolton/Greensboro
14.4k
14.4k
Qwest
IG AS/400
Valley Forge (WAN)
14.4k
Saint-Gobain Corporation
750 East Swedsford Road
Valley Forge, PA 19482
(800) 523-2316…Help desk
Frame Relay (LCI)
56k
Notes: 35

## Slide 207: Van Nuys, California
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(818) 997-6012
Dial Backup
Modem
(818) 997-0852
Hydra Warehouse
8201 Woodley Avenue
Van Nuys, CA 91411
(818) 997-6106…Bob Warner x-5
(818) 997-6106…Lou Rattlestorfer x-6
Van Nuys
Van Nuys, CA
AREC 217466 (56k)
DLCI=445
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DLCI=155
161.120.49.226
(Muncie)
DLCI=445
161.120.49.225
(Van Nuys)
E11_VAN_NUYS
161.120.52.110

## Slide 208: Waco, Texas
Waco, TX
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=720
161.120.176.2
(Valley Forge)
Bay Networks
Router
(ASN)
DSU
S421_FRAME_ATT
S11_FR_ATT
DLCI=156
161.120.176.1
(Waco)
DLCI=156
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Waco
CertainTeed Corporation
501 Old Hewitt Road
Waco, Texas 76712
(254) 666-7800…Shirley Galanti x-14
(254) 666-7800…Chris Carlson x-0
E11_WACO
161.120.180.254
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
DHEC 134497 (T-1)
DHEC 134497 (1536k)
DLCI=720
DHEC 745019 (T-1)
DZEC 993216 (256k)

## Slide 209: Washington, Pennsylvania
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(724-222-1278
Dial Backup
Modem
(724) 222-1268
Ross Mould Inc.
259 South College Street
Washington, PA 15301
(724) 222-7006…Jim Rosenberg x-189
Washington
Washington, PA
E11_WASHINGTON
161.120.52.46
AREC 164899 (56k)
DLCI=395
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DLCI=155
161.120.48.226
(Muncie)
DLCI=395
161.120.48.225
(Washington)

## Slide 210: Washougal, Washington
Washougal
Bicron Crystal Products
750 South 32nd Street
Washougal, Washington 98671
(360) 835-8566…main number
(360) 835-9864…Gerald White
Washougal, WA
Solon, OH
Cisco
Router
(2500)
Serial 0.30
161.120.172.10
(Solon)
Ethernet 0/0
161.120.175.126
Cisco
Router
(4000)
Sprint
DSU
Serial 1
Serial 0
Serial 1.30
161.120.172.9
(Washougal)
DLCI=30
Loopback 0/0
10.120.3.77
8750024 (56k)
DLCI=30
Sprint
Frame Relay
(800) 877-5045
8758909 (56k)
Sprint
DSU

## Slide 211: Waxahachie, Texas
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(972) 923-4547
Dial Backup
Modem
(972) 937-2276
Saint-Gobain Containers
2400 North Interstate Hwy. 35
Waxahachie, Texas 75165-5250
(972) 937-3430…Dennis Worrell x-523
Waxahachie
Waxahachie, TX
E11_WAXAHACHIE
161.120.53.254
O12_WAXAHACHIE
161.120.59.222
10.120.52.254
DLCI=155
161.120.48.210
(Muncie)
DLCI=310
161.120.48.209
(Waxahachie)
AREC 154276 (56k)
DLCI=310
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)

## Slide 212: Wayne, New Jersey - Frame Relay
Wayne
ISX 5311
CSU
ROUTER
Wayne
Frame Relay (512k Port - DLCI 180)
DHEC 445810 (T-1)
DEEC 000088 (512k Port)
  Beaverton (DLCI 195 @ 32k CIR)
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Valley Forge (DLCI 120 @ 32k CIR)
Saint-Gobain Performance Plastics
150 Dey Road
Wayne, NJ 07470
(973) 628-5576…Paul Florczak
(973) 628-5583…Computer Rm.
Taunton (DLCI 710 @ 32k CIR)
Aurora (DLCI 945 @ 128k CIR)
Notes: 35

## Slide 213: Wayne, New Jersey - Internet
Saint-Gobain Performance Plastics
150 Dey Road
Wayne, New Jersey 07470
(973) 628-5576…Paul Florzcak
(973) 628-5583…Computer Room
Wayne Firewall
Cisco 2610
Router
161.120.249.253
161.120.249.0
(255.255.255.0)
Checkpoint
Firewall-1 v4.0
Internal Ethernet
External Ethernet
12.3.231.1
12.3.231.0
(255.255.255.0)
AT&T
Wayne, New Jersey
N/A
N/A
N/A
Comment
External
Internal or DMZ
Network Address Translation Table
12.3.231.254
Racal ISX 5311
12.126.211.33
12.126.211.34
12.126.211.32
(255.255.255.252)
T1
Notes: 35

## Slide 214: Wayne, New Jersey - WAN
Valley Forge, PA
Cisco
Router
(7206)
Serial 3/0.180
161.120.255.17
(Wayne)
DLCI=180
DLCI=120
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
GDC 551
CSU
Frame Relay
Slot # 1
DS0 Channel # 1-8
Telco Systems Channel Bank
Cisco
Router
(3640)
Serial 0/0.130
161.120.255.18
(Valley Forge)
Ethernet 0/0
161.120.249.254
Loopback 0/0
10.120.9.1
Console
Modem
Backup
Modem
(xxx) xxx-xxxx
Wayne, NJ
Wayne
DHEC 058784 (T-1)
DHEC 058784 (1536k)
DHEC 445810 (T-1)
DEEC 000088 (512k Port)
(xxx) xxx-xxxx
Voice
To PBX
DLCI=945
DHEC 816532 (T-1)
DHEC 816532 (1536k)
Aurora, OH
Serial 3/0.180
161.120.255.25
(Wayne)
Cisco
Router
3640
Serial 0/0.945
161.120.255.26
(Wayne)
Saint-Gobain Performance Plastics
150 Dey Road
Wayne, NJ 07470
(973) 628-5576…Paul Florczak
(973) 628-5583…Computer Rm.

## Slide 215: Wheatfield, New York (Abrasives)
Carborundum Abrasives Company
6600 Walmore Road
WheatField, NY 14304
(716) 731-7523…Kevin Gerhard
(716) 731-7590…computer room
Wheatfield (Abrasives)
Worcester, MA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=785
DLCI=130
Watervliet, NY
Cisco
Router
(2610)
Serial 0/0.970
161.120.1.209
(Wheatfield)
Cisco
Router
(2610)
Ethernet 0/0
161.120.249.254
Racal
ISX 5311
Serial 0/0
DLCI=970
Loopback 0/0
10.120.2.61
Console
Modem
Backup
Modem
(716) 731-1694
(716) 731-1702
Serial 0/1
161.120.1.206
(Worcester)
Serial 0/0.130
161.120.1.202
(Worcester)
Serial 0/0.785
161.120.1.210
(Watervliet)
DHEC 980377 (T-1)
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Serial 3/0.970
161.120.1.201
(Wheatfield)
Wheatfield, NY
DHEC 038248 (T-1)
DXEC 011003 (128k)
DXEC 993055 (128k)

## Slide 216: Wheatfield, New York (Ceramics)
Worcester, MA
Cisco
Router
(2610)
Serial 0/0.790
161.120.2.74
(Worcester)
Ethernet 0/0
161.120.28.254
Cisco
Router
(7206)
Racal
Excalibur
DAP
Serial 3/0
DHEC 003714 (T-1)
DTEC 002552 (768k)
Serial 0/0
Serial 3/0.795
161.120.2.73
(Wheatfield)
DLCI=795
DLCI=790
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.3.33
Console
Modem
Backup
Modem
(716) 731-1323
(716) 731-7152
Serial 0/1
161.120.2.78
(Worcester)
Wheatfield, NY
AREC 011533 (56k)
Wheatfield (Ceramics)
Saint-Gobain/Norton Industrial Ceramics Corp.
6600 Walmore Road
Wheatfield, NY 14304
(716) 731-8208…Steve Frank
(716) 731-8207…Debbie Atkinson

## Slide 217: White City, Oregon
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Roaring River, NC
Cisco
Router
(2610)
Cisco
Router
(2610)
Serial 0/0.820
161.120.176.249
(Roaring River)
Ethernet 0/0
161.120.183.254
Racal
ISX 5311
CSU
Serial 0/0
Loopback 0/0
10.120.6.105
Console
Modem
Backup
Modem
(xxx) xxx-xxxx
(xxx) xxx-xxxx
Serial 0/1
161.120.176.238
(Valley Forge)
Serial 0/0.120
161.120.176.234
(Valley Forge)
Serial 3/0.825
161.120.176.233
(White City)
DLCI=120
DHEC 058784 (T-1)
DHEC 058784 (1536k)
DLCI=81
DLCI=86
Serial 0/0.825
161.120.176.250
(White City)
White City, OR
Fibercement
1200 Avenue G
White City, Oregon 97503
(541) 826-5867…Travis Vietz
DHEC 875089 (T-1)
White City
DHEC 875250 (T-1)
DZEC 996182 (256k)
DZEC 996239 (256k)

## Slide 218: Wichita Falls, Texas (CertainTeed Distribution Center)
Wichita Falls (CDC)
Wichita Falls (Plant)
DSU
(GDC)
Wichita Falls (VCT-CDC)
S11_CDC
161.120.213.18
E11_WF_CDC
161.120.214.254
161.120.215.94
South Western Bell
12 HWDA 904022
(800) 286-8313
S14_CDC
161.120.213.17
DSU
(GDC)
VCT-CDC
3910 Callfield Road
Wichita Falls, Texas 76308
(940) 696-3073…Mike Browning
Bay Networks
Router
(ARN)
Bay Networks
Router
(ARN)
Notes: 20

## Slide 219: Wichita Falls, Texas (Plant)
Wichita Falls, TX
(Plant)
Valley Forge
Bay Networks
Router
(ARN)
DLCI=440
161.120.213.81
(Maumee)
E11_WICHITAFALL
161.120.211.254
DHEC 839661 (T-1)
DHEC 272604 (1536k)
S13_FR_ATT
DLCI=620
DLCI=625
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Arlington
AREC 144226 (56k)
DLCI=440
DLCI=110
161.120.213.66
(Valley Forge)
DLCI=76
161.120.213.213
(Monroe)
AREC 331741 (56k)
DLCI=76
Saint-Gobain Vetrotex America
4515 Allendale Road
Wichita Falls, Texas 76310
(940) 689-3402…Paul White
(940) 689-3401…Alan Brinkley
(940) 691-0020…switchboard
Wichita Falls (Plant)
S14_CDC
161.120.213.17
South Western Bell
xx xxxx xxxxxx
(800) 480-8088
Wichita Falls, TX
(Distribution Ctr.)
Sync
Dial Backup
Modem
S15
DXEC 002562 (128k)
Monroe
DLCI=241
AREC 830042 (56k)
Maumee
Hermitage
DLCI=875
DHEC 864627 (T-1)
DZEC 997410 (256k)
DLCI=875
161.120.213.97
(Hermitage)
DLCI=625
161.120.213.49
(Arlington)
DLCI=110
Russellville
DLCI=241
161.120.213.129
(Russellville)
AREC 889660 (56k)
AREC 871573 (56k)
Huntersville
DLCI=71
ISX5311
CSU
DLCI=71
161.120.213.105
(Huntersville)

## Slide 220: Wichita Falls, Texas (Plant) - Internet
Saint-Gobain Vetrotex America
4515 Allendale Road
Wichita Falls, Texas 76310
(940) 689-3401…Allen Brinkley
(940) 689-3402…Paul White
(940) 691-0020…Switchboard
Wichita Falls Firewall
Nortel ARN
Router
161.120.211.253
161.120.208.0
(255.255.252.0)
Checkpoint
Firewall-1 v4.0
Internal Ethernet
External Ethernet
208.129.171.1
208.129.171.0
(255.255.255.0)
Mil-Tel Communications, Inc.
Wichita Falls, Texas
(940) 767-7873 x112
Mail Server
208.129.171.100
161.120.211.27
Comment
External
Internal or DMZ
Network Address Translation Table
208.129.171.254
Racal ISX 5311
208.129.169.249
208.129.169.250
208.129.169.248
(255.255.255.252)
T1
Notes: 35

## Slide 221: Wilmington, California
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.508
161.120.165.173
(Wilmington)
Cisco
Router
(2610)
Serial 0/0.810
161.120.165.174
(Irving)
Ethernet 0/0
161.120.161.190
Racal
Excalibur
DAP
Serial 0/0
DLCI=508
Loopback 0/0
10.120.6.189
Console
Modem
Backup
Modem
Wilmington, CA
Serial 0/1
161.120.160.182
(Valley Forge)
Serial 0/0.805
161.120.160.178
(Valley Forge)
Serial 3/1.508
161.120.160.177
(Wilmington)
Wilmington
GS Roofing Products Company
1431 West E. Street
Wilmington, California 90744
(310) 830-0250…Tiffany Roberts
AREC 442257 (56k)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)

## Slide 222: Wilson, North Carolina
Bay Networks
Router
(ARN)
DSU
S13_FR_ATT
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
S15
Muncie, IN
Bay Networks
Router
(ASN)
S131_FR_ATT
Console
Modem
(252) 291-5764
Dial Backup
Modem
(252) 735-4713
Wilson
Wilson, NC
Saint-Gobain Containers
2200 Firestone Parkway
Wilson, NC 27893
(252) 234-5252…Bob Cheever x-209
AREC 337252 (56k)
DLCI=355
DLCI=155
DHEC 431503 (T-1)
DHEC 431503 (1024k)
DLCI=155
161.120.49.98
(Muncie)
DLCI=355
161.120.49.97
(Wilson)
E11_WILSON
161.120.53.126
10.120.86.254
O12_WILSON
161.120.58.222
10.120.55.190

## Slide 223: Winter Haven, Florida (Unisol)
Winter Haven (Unisol)
Unisul
101 Hatfield Road
Winter Haven, Florida 33880
(941) 294-3206…Garry Holliday
Winter Haven, FL
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=660
161.120.128.194
(Valley Forge)
E11_WINTER_HAVEN
161.120.131.94
Bay Networks
Router
(ASN)
CSU
AREC 859277 (56k)
Sxxx_FR_IG
DHEC 394716 (T-1)
IFEC 394956 (640k)
S13_FR_ATT
DLCI=890
161.120.128.193
(Winter Haven)
DLCI=890
DLCI=660
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S15

## Slide 224: Winter Haven, Florida (Roofing)
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.41
161.120.165.205
(Winter Haven)
Serial 0/0.810
161.120.165.206
(Irving)
Ethernet 0/0
161.120.165.110
Racal
Excalibur
DAP
Serial 0/0
DLCI=41
Console
Modem
Backup
Modem
Winter Haven, FL
Serial 0/1
161.120.160.246
(Valley Forge)
Serial 0/0.805
161.120.160.242
(Valley Forge)
Serial 3/1.41
161.120.160.241
(Winter Haven)
Winter Haven (Roofing)
Red River Warehouse Inc.
5300 Recker Highway
Winter Haven, Florida 33880
(xxx) xxx-xxxx…Kevin Herd
AREC 950807 (56k)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)
Bay Networks
Router
(ARN)

## Slide 225: Worcester, Massachusetts - Frame Relay (Abrasives)
Worcester (Abrasives)
Abrasives Router
Frame Relay (1536k Port - DLCI 130)
DHEC 016859 (T-1)
DHEC 016859 (1536k Port)
Ontario (DLCI 630 @ 128k CIR)
Valley Forge (DLCI 120 @ 64k CIR)
Warren (DLCI 140 @ 16k CIR)
  Highpoint (DLCI 175 @ 32k CIR)
  Gainesville (DLCI 800 @ 64k CIR)
Travelers Rest (DLCI 190 @ 32k CIR)
Norton Company
1 New Bond Street
Worcester, MA 01606
(508) 795-2744…Pat Celona
(508) 795-5129…Jerry Cormier
Stephenville (DLCI 460 @ 128k CIR)
Bensenville (DLCI 560 @ 1536k CIR)
Littleton (DLCI 605 @ 32k CIR)
ISX-5311
CSU
Aberdeen (DLCI 655 @ 32k CIR)
  Fullerton (DLCI 770 @ 32k CIR)
  Hidalgo (DLCI 775 @ 32k CIR)
Brownsville (DLCI 780 @ 64k CIR)
Troy (DLCI 785 @ 32k CIR)
Reynosa (DLCI 151 @ 64k CIR)
  Hamilton (DLCI 125 @ 32k CIR)
Indianapolis (DLCI 920 @ 128k CIR)
Wheatfield (DLCI 970 @ 64k CIR)
  Grand Rapids (DLCI 740 @ 32k CIR)
Frame Relay (1536k Port - DLCI 100)
Bristol (DLCI 560 91 @ 256k CIR)
Livingston (DLCI 36 @ 192k CIR)
Frame Relay (1536k Port - DLCI 101)
Travelers Rest (DLCI 96 @ 704k CIR)
DHEC 531693 (T-1)
DHEC 531693 (1536k Port)
ISX-5300
CSU
DHEC 853168 (T-1)
DHEC 853168 (1536k Port)
ISX-5300
CSU
Romulus (DLCI 565 @ 640k CIR)
Frame Relay (768k Port - DLCI 103)
Arden (DLCI 136 @ 704k CIR)
DHEC 416516 (T-1)
DTEC 986963 (768k Port)
Mux
2476-11
Notes: 35

## Slide 226: Worcester, Massachusetts - Frame Relay (Ceramics)
Ceramics Router
Frame Relay (768k Port - DLCI 790)
DHEC 003714 (T-1)
DTEC 002552 (768k Port)
Valley Forge (DLCI 120 @ 64k CIR)
Niagara Falls (DLCI 105 @ 32k CIR)
North Hampton (DLCI 170 @ 32k CIR)
  Huntsville (DLCI 160 @ 32k CIR)
Norton Company
1 New Bond Street
Worcester, MA 01606
(508) 795-2744…Pat Celona
(508) 795-5129…Jerry Cormier
Shawinigan (DLCI 390 @ 32k CIR)
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
ISX-5311
CSU
Milford (DLCI 925 @ 192k CIR)
Olyphant (DLCI 680 @ 32k CIR)
  Chippawa (DLCI 380 @ 32k CIR)
Wheatfield (DLCI 795 @ 32k CIR)
Worcester (Ceramics)
Notes: 35

## Slide 227: Worcester, Massachusetts - Routers
Plant 4 Data Center
Norton Company
1 New Bond Street
Worcester, MA 01606
(508) 795-2744…Pat Celona
(508) 795-5129…Jerry Cormier
Cisco
Router
(7206)
TokenRing2/0
161.120.73.254
FastEthernet 0/0
161.120.71.254
Worcester Routers
FastEthernet 0/0
161.120.79.254
Cisco
Router
(7206)
Ethernet 1/3
161.120.1.101
Ethernet 1/3
161.120.1.102
Abrasives
Ceramics
Cisco
Router
(2610)
Checkpoint
Firewall-1
Ethernet 0/0
12.16.64.254
12.16.64.1
Internet
161.120.71.253
Notes: 35

## Slide 228: Worcester, Massachusetts - Abrasives Router
Norton Company
1 New Bond Street
Worcester, MA 01606
(508) 795-5129…Jerry Cormier
(508) 795-2060…Data Center
(508) 795-4488…Steve Jennette
(508) 795-2497…Bob Chysna
TokenRing2/0
161.120.73.254
FastEthernet 0/0
161.120.71.254
Worcester Abrasives Router
Cisco
Router
(7206)
Ethernet 1/3
161.120.1.101
Abrasives Ethernet
Abrasives Token-Ring
To Ceramics Router Only
Serial 3/0
Serial 3/1
Serial 3/2
Frame Relay (DLCI 130)
Plattsville (56k)
Frame Relay (DLCI 103)
Serial 4/0
Analog (508) 595-9326
Serial 4/1
Analog (508) 595-9428
Analog (508) 595-9457
Frame Relay (DLCI 101)
ISDN (508) 852-1228
Serial 4/2
Serial 4/3
BRI 6/0
BRI 6/1
ISDN (508) 852-1288
AUXILARY
Analog (508) 595-9354
Serial 3/3
Frame Relay (DLCI 102)
Notes: 35

## Slide 229: Worcester, Massachusetts - Ceramics Router
Norton Company
1 New Bond Street
Worcester, MA 01606
(508) 795-5129…Jerry Cormier
(508) 795-4037…Archie Harmon
(508) 868-5459…Archie cell phone
(508) 795-5922…Jeff Coes
(508) 954-5241…Jeff cell phone
FastEthernet 0/0
161.120.79.254
Worcester Ceramics Router
Cisco
Router
(7206)
Ethernet 1/3
161.120.1.102
Abrasives Ethernet
To Abrasives Router Only
Serial 3/0
Frame Relay (790)
Northboro (672k)
Serial 4/0
Analog (508) 795-4104
Serial 4/1
ISDN (508) 853-5902
Serial 4/2
Serial 4/3
BRI 6/0
BRI 6/1
AUXILARY
Serial 3/1
Analog (508) 795-4105
Analog (508) 795-4106
Analog (508) 795-4107
Analog (508) 795-4038
ISDN (508) 853-5912
Notes: 35

## Slide 230: Worcester, Massachusetts - Internet
Norton Company
1 New Bond Street
Worcester, MA 01606
(508) 795-2744…Pat Celona
(508) 795-5129…Jerry Cormier
Worcester Firewall
Cisco 7204
Router
141.154.88.190
198.160.170.62
207.68.27.74
207.68.27.73
INTERNET
Verizon
(800) 475-7840
95.HFGJ.583314 (T-3)
161.120.71.253
161.120.68.0
(255.255.252.0)
Checkpoint
Firewall-1 v4.0
Internal Ethernet
198.160.170.1
198.160.170.0
(255.255.255.192)
Network Address Translation Table
Web Server – Jacada
198.160.170.50
161.120.8.111
Web Server – Jacada
198.160.170.51
161.120.8.112
Web Server – Jacada
198.160.170.52
161.120.8.113
Web Server – Jacada
198.160.170.39
161.120.8.114
Mail Server - Saphicon
198.160.170.35
161.120.26.91
Web Server – E-Commerce
198.160.170.14
161.120.8.104
Web Server – E-Commerce
198.160.170.12
161.120.8.102
DNS Server
198.160.170.25
161.120.8.125
DNS Server
198.160.170.23
161.120.8.123
Comment
External
Internal or DMZ
DMZ Ethernet
161.120.8.96
(255.255.255.224)
161.120.8.126
External Ethernet
207.68.27.72
(255.255.255.252)
161.120.71.250
Contivity
2500
198.160.170.3
Notes: 35

## Slide 231: Worcester, Massachusetts - WAN
Worcester
Telco
Systems
Mux
Reynosa
Plattsville
Charleston
Raleigh
AT&T
AS/400
ROUTER
Plant 4
SW-56
56k
56k
9.6k
9.6k
Disaster Recovery
(700) 560-0964
DHEC 416516.100 (T-1)
AT&T
Frame Relay
Frame Relay
1536k
Norton Company
1 New Bond Street
Worcester, MA 01606
(508) 795-2744…Pat Celona
(508) 795-5129…Jerry Cormier
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Notes: 35

## Slide 232: ===> EVERYTHING BELOW THIS SLIDE IS WAITING FOR INSTALLATION <===

## Slide 233: Cadiz, Ohio (BayForm)
Weston, Ontario
Cisco
Router
(2620)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=350
DLCI=350
161.120.123.98
(Weston)
Ethernet 0/0
161.120.125.62
DLCI=276
Loopback 0/0
10.120.3.161
Cadiz, Ohio
DLCI=276
161.120.123.97
(Cadiz)
Cadiz
Saint-Gobain BayForm
43029 Industrial Park Road
Cadiz, OH 43907
(740) 942-4442…Tom Huggins
???????? (T-1)
???????? (192k)
AREC 635227 (56k)
Serial 0/0
Cisco
Router
(2610)
Internal DSU
Console: (xxx) xxx-xxxx
BRI0/0: xxx-xxx-xxxx / xxx-xxx-xxxx

## Slide 234: Calgary, Alberta (BayForm)
Weston, Ontario
Cisco
Router
(2620)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=350
DLCI=350
161.120.123.106
(Weston)
Ethernet 0/0
161.120.125.158
DLCI=306
Loopback 0/0
10.120.3.165
Calgary, Alberta
DLCI=306
161.120.123.105
(Calgary)
Calgary
Saint-Gobain BayForm
4040M - 80th Avenue S.E.
Calgary, Alberta T2C 2J4
(403) 279-6009…Paula DeFruscia
???????? (T-1)
???????? (192k)
?????? (56k)
Serial 0/0
Cisco
Router
(2610)
Internal DSU
Console: (xxx) xxx-xxxx
BRI0/0: xxx-xxx-xxxx / xxx-xxx-xxxx

## Slide 235: Merrill, Wisconsin (BayForm)
Weston, Ontario
Cisco
Router
(2620)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=350
DLCI=350
161.120.123.114
(Weston)
Ethernet 0/0
161.120.125.190
DLCI=281
Loopback 0/0
10.120.3.169
Merrill, Wisconsin
DLCI=281
161.120.123.113
(Merrill)
Merrill
Saint-Gobain BayForm
1409 West Taylor Street
Merrill, Wisconsin 54452-0624
(715) 539-0003…Dave Miller
???????? (T-1)
???????? (192k)
AREC 635226 (56k)
Serial 0/0
Cisco
Router
(2610)
Internal DSU
Console: (xxx) xxx-xxxx
BRI0/0: xxx-xxx-xxxx / xxx-xxx-xxxx

## Slide 236: Jackson, Michigan (Plant) - Cisco
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=220
DLCI=220
161.120.xxx.xxx
(Valley Forge)
Ethernet 0/0
161.120.186.254
DLCI=730
Loopback 0/0
10.120.x.xxx
Jackson, MI
DLCI=730
161.120.xxx.xxx
(Jackson - Plant)
Jackson (Plant)
Serial 0/0
Cisco
Router
(2610)
Internal CSU
Console: (xxx) xxx-xxxx
BRI0/0: xxx-xxx-xxxx / xxx-xxx-xxxx
Wolverine Technologies
701 Liberty Street
Jackson, Michigan 49204
(517) 787-8665…Tim O’Malley x-5011
DHEC 134401 (T-1)
DZEC 133465 (256k)
DHEC 562139 (T-1)
DHEC 562139 (1536k)
Serial x/x

## Slide 237: Jackson, Michigan (Tech Center) - Cisco
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=220
DLCI=220
161.120.xxx.xxx
(Valley Forge)
Ethernet 0/0
161.120.187.254
DLCI=725
Loopback 0/0
10.120.x.xxx
Jackson, MI
DLCI=725
161.120.xxx.xxx
(Jackson - Tech Ctr)
Jackson (Tech Center)
Serial 0/0
Cisco
Router
(2610)
Internal CSU
Console: (xxx) xxx-xxxx
BRI0/0: xxx-xxx-xxxx / xxx-xxx-xxxx
DHEC 562139 (T-1)
DHEC 562139 (1536k)
Serial x/x
DHEC 134359 (T-1)
DZEC 133915 (128k)
CertainTeed Technological Center
803 Belden Road
Jackson, Michigan 49203
(517) 780-3100…main number
(517) 780-3148…Randy Hunter
(517) 780-3138…Donn Briskie

## Slide 238: Old Forge, Pennsylvania
Old Forge, PA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=660
161.120.128.210
(Valley Forge)
E11_xxx
161.120.128.14
Bay Networks
Router
(ASN)
CSU
AREC xxxxxx (56k)
Sxxx_FR_IG
DHEC 394716 (T-1)
IFEC 394956 (640k)
S13_FR_ATT
DLCI=xxx
161.120.128.209
(Old Forge)
DLCI=xxx
DLCI=660
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S15
Dupont Distributing & Trucking
700 Moosic Road
Old Forge, PA 18518
(570) 547-6645…Joe Talarico
Old Forge

## Slide 239: Pasco, Washington (BayForm)
Weston, Ontario
Cisco
Router
(2620)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=350
DLCI=350
161.120.123.122
(Weston)
Ethernet 0/0
161.120.125.222
DLCI=286
Loopback 0/0
10.120.3.173
Pasco, Washington
DLCI=286
161.120.123.121
(Pasco)
Pasco
Saint-Gobain BayForm
2490 East Ainsworth Street
Pasco, Washington 99301
(509) 547-7997…Eileen Cordray
(508) 547-7997…Janet Darvin
???????? (T-1)
???????? (192k)
AREC 635551 (56k)
Serial 0/0
Cisco
Router
(2610)
Internal DSU
Console: (509) 542-9293
BRI0/0: 509-543-7177 / 509-543-7277

## Slide 240: Richmond, Virginia - Cisco
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=220
DLCI=220
161.120.xxx.xxx
(Valley Forge)
Ethernet 0/0
161.120.183.126
DLCI=545
Loopback 0/0
10.120.x.xxx
Richmond, VA
DLCI=545
161.120.xxx.xxx
(Richmond)
Richmond
Serial 0/0
Cisco
Router
(2610)
Internal DSU
Console: (xxx) xxx-xxxx
BRI0/0: xxx-xxx-xxxx / xxx-xxx-xxxx
DHEC 562139 (T-1)
DHEC 562139 (1536k)
Serial x/x
Chesapeake Window Products
7425 Ranco Road
Richmond, Virginia 23228
(804) 266-7908…Bob O’Brien
AREC 536746 (56k)

## Slide 241: Santa Anna, California (new)
Santa Anna, CA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=220
161.120.xxx.xxx
(Valley Forge)
Bay Networks
Router
(ASN)
DSU
AREC 742646 (56k)
S421_FRAME_ATT
DHEC 562139 (T-1)
DHEC 562139 (1536k)
S11_FR_ATT
DLCI=216
161.120.xxx.xxx
(Santa Anna)
DLCI=216
DLCI=220
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Apache Plastics
2840 West First Street
Santa Anna, California 92707
(714) 547-4228…A.D. Staggs
(800) 272-2431…A.D. Staggs
Santa Anna
E11_SANTA_ANNA
161.120.181.62
Sync
Dial Backup
Modem
S12

## Slide 242: St. Apollinaire, Quebec (BayForm)
Weston, Ontario
Cisco
Router
(2620)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=350
DLCI=350
161.120.123.130
(Weston)
Ethernet 0/0
161.120.125.254
DLCI=304
Loopback 0/0
10.120.3.177
St. Apollinaire, Quebec
DLCI=304
161.120.123.129
(St. Apollinaire)
St. Apollinaire
Saint-Gobain BayForm
278B, Rang Gaspe
St. Apollinaire, Quebec G0S 2E0
(418) 881-2613…Gilles Grondon
???????? (T-1)
???????? (192k)
?????? (56k)
Serial 0/0
Cisco
Router
(2610)
Internal DSU
Console: (xxx) xxx-xxxx
BRI0/0: xxx-xxx-xxxx / xxx-xxx-xxxx

## Slide 243: Weston, Ontario (BayForm)
Valley Forge
DLCI=286
161.120.123.121
(Pasco)
DLCI=350
DLCI=304
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Calgary
Cisco
Router
(2610)
DLCI=281
DLCI=120
161.120.123.138
(Valley Forge)
DLCI=276
161.120.123.97
(Cadiz)
DLCI=120
Merrill
DLCI=286
St. Apollinaire
DLCI=350
161.120.123.130
(Weston)
DLCI=281
161.120.123.113
(Merrill)
Cisco
Router
(2610)
Cisco
Router
(2610)
Cisco
Router
(7206)
Ethernet 0/0
161.120.125.126
Loopback 0/0
10.120.3.181
Console: (416) xxx-xxxx
BRI1/1: 416-xxx-xxxx / 416-xxx-xxxx
DLCI=350
161.120.123.106
(Weston)
DLCI=350
161.120.123.114
(Weston)
DLCI=350
161.120.123.137
(Weston)
Pasco
Cisco
Router
(2610)
DLCI=350
161.120.123.122
(Weston)
DLCI=276
DLCI=304
161.120.123.129
(St. Apollinaire)
Saint-Gobain BayForm
500 Barmac Drive
Weston, Ontario M9I 2X8
(416) 746-0662…Gur Baykal
???????? (T-1)
???????? (192k)
Weston (BayForm)
Weston, Ontario
Cadiz
Cisco
Router
(2610)
DLCI=306
DLCI=350
161.120.123.98
(Weston)
DLCI=306
161.120.123.105
(Calgary)
BRI1/0: 416-xxx-xxxx / 416-xxx-xxxx
BRI1/2: 416-xxx-xxxx / 416-xxx-xxxx
Serial 2/0: (416) xxx-xxxx
Cisco
Router
(3640)
Internal CSU

## Slide 244: ===> EVERYTHING BELOW THIS SLIDE IS CANCELLED <===

## Slide 245: Anaheim, California (closed)
Stow, OH
Cisco
Router
(2610)
Serial 0/0.600
161.120.16.18
(Stow)
Ethernet 0/0
161.120.20.30
Cisco
Router
(3640)
Racal
Excalibur
DAP
Serial 0/0
Serial 1/0.601
161.120.16.17
(Anaheim)
DLCI=601
DLCI=600
Qwest
Frame Relay
(800) 860-1020
Loopback 0/0
10.120.10.5
(xxx) xxx-xxxx
(xxx) xxx-xxxx
Anaheim, CA
Anaheim
Console
Modem
Backup
Modem
Serial 0/1
161.120.16.22
(Stow)
Saint-Gobain NorPro
4501 East La Palma Ave
Suite 250
Anaheim, CA 92807
(714) 970-3000…Rhonda Suite
FRANA96-457307 (56 KB)
Serial 1/0
FRKEN00-3203371 (768 KB)
DS1-3203368 (T-1)

## Slide 246: Baton Rouge, Louisiana (closed)
Stow, OH
Cisco
Router
(2610)
Serial 0/0.600
161.120.16.26
(Stow)
Ethernet 0/0
161.120.20.62
Cisco
Router
(3640)
Racal
Excalibur
DAP
Serial 0/0
Serial 1/0.602
161.120.16.25
(Baton Rouge)
DLCI=602
DLCI=600
Qwest
Frame Relay
(800) 860-1020
Loopback 0/0
10.120.10.9
(xxx) xxx-xxxx
(xxx) xxx-xxxx
Baton Rouge, LA
Console
Modem
Backup
Modem
Serial 0/1
161.120.16.30
(Stow)
Serial 1/0
Baton Rouge
Saint-Gobain NorPro
Suite 220
4137 South Sherwood Forest Blvd.
Baton Rouge, LA 70816
(225) 292-1895…Joi Spears x-22
(225) 292-1895...Larry Breeting x-24
(225) 292-1895…Don Hackney x-23
FRBAT96-457292 (56 KB)
FRKEN00-3203371 (768 KB)
DS1-3203368 (T-1)
CLOSING MARCH 6

## Slide 247: Buffalo, New York
Buffalo
Buffalo, NY
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=110
161.120.176.50
(Valley Forge)
E11_BUFFALO
161.120.177.126
Bay Networks
Router
(ASN)
DSU
AREC 157569 (56k)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=215
161.120.176.49
(Buffalo)
DLCI=215
DLCI=110
Bufftech
2525 Walden Avenue
Buffalo, NY 14225
(800) 333-0569…automated attendant
(716) 685-1600…Daren Campbell x-237
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
S12
Still defined in V.F. Router
- delete from CLASSB.NET

## Slide 248: Dayton, New Jersey
Valley Forge, PA
Cisco
Router
(2610)
Serial 0/0.820
161.120.160.34
(Valley Forge)
Ethernet 0/0
161.120.139.14
Cisco
Router
(7206)
Serial x/x.191
161.120.160.33
(Dayton)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.6.245
Dayton, NJ
Console
Modem
Serial 0/1
161.120.160.38
(Valley Forge)
(xxx) xxx-xxxx
DLCI=820
DHEC 589974 (T-1)
DHEC 589974 (1536k Port)
CSU
Celotex Corporation
4 Corn Road
Dayton, New Jersey 08810-1527
(732) 355-1560…Ray Gabriel
Dayton
DLCI=191
DHEC 853094 (T-1)
DXEC 927440 (128k)
ISDN xxx-xxx-xxxx / xxx-xxx-xxxx

## Slide 249: Elk Grove, Illinois (closing)
Elk Grove
Elk Grove, IL
Aurora, OH
Cisco
Router
(2610)
Serial 0/0.945
161.120.255.218
(Aurora)
Ethernet 0/0
161.120.253.62
Cisco
Router
(3640)
ISX5311
CSU
DHEC 966059 (T1)
Serial 0/0
Serial 2/0.106
161.120.255.217
(Elk Grove)
DLCI=106
Saint-Gobain Performance Plastics
150 Gaylord Street
Elk Grove, IL 60007
(847) 472-2710…Sandra Coates
(847) 439-7400…switchboard
(847) 439-9423…router console
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
DLCI=945
DHEC 816532 (T-1)
DHEC 816532 (1536k)
IAEC 919473 (192k)
Still defined in Aurora router
Still defined in Wayne router
- delete from CLASSB.NET

## Slide 250: Hidalgo, Texas
Worcester, MA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=780
DLCI=130
Brownsville, TX
Cisco
Router
(2610)
Serial 0/0.775
161.120.1.97
(Hidalgo)
Cisco
Router
(2610)
Serial 0/0.780
161.120.1.98
(Brownsville)
Ethernet 0/0
161.120.7.190
Racal
Excalibur
DAP
Serial 0/0
DLCI=775
Loopback 0/0
10.120.2.13
Console
Modem
Backup
Modem
Hidalgo, TX
Serial 0/1
161.120.1.94
(Worcester)
Serial 0/0.130
161.120.1.90
(Worcester)
DHEC 016859 (T-1)
DHEC 016859 (1536k)
Serial 3/0.775
161.120.1.89
(Hidlago)
Hidalgo
AREC 031472 (56k)
(956) 843-9361
(956) 843-9649
Jimmy Santos, Inc.
1202 High-Lowe Drive
Hidalgo, TX 78557
(956) 843-7977…Arnulfo Almaraz
(956) 843-7979…Arnulfo Almaraz
DHEC 035872 (T-1)
DXEC 013752 (128k)
Waiting for circuit to cancel

## Slide 251: Lakeland, Florida (closing April 18th)
Lakeland, FL
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=110
161.120.176.178
(Valley Forge)
Bay Networks
Router
(ASN)
DSU
AREC 015181 (56k)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=500
161.120.176.177
(Lakeland)
DLCI=500
DLCI=110
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Bufftech
3618 Waterfield Road
Lakeland, Florida 33803
(941) 667-2032…Al Robinson
Lakeland
E11_LAKELAND
161.120.181.30
Sync
Dial Backup
Modem
S12
Still defined in V.F.Router
- delete from CLASSB.NET

## Slide 252: Livermore, California (sales)
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.515
161.120.165.197
(Livermore)
Cisco
Router
(2610)
Serial 0/0.810
161.120.165.198
(Irving)
Ethernet 0/0
161.120.165.78
Racal
Excalibur
DAP
Serial 0/0
DLCI=515
Loopback 0/0
10.120.6.213
Console
Modem
Backup
Modem
Livermore, CA
Serial 0/1
161.120.160.230
(Valley Forge)
Serial 0/0.805
161.120.160.226
(Valley Forge)
Serial 3/1.515
161.120.160.225
(Livermore)
Livermore (sales)
GS Roofing Products Company
Suite 129
2021 Las Positias Ct.
Livermore, California 94550
(925) 606-7434…Valerie Goheen
AREC 440841 (56k)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)
Still defined in V.F. Router
- delete from CLASSB.NET

## Slide 253: Livermore, California (warehouse)
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.513
161.120.165.189
(Livermore)
Cisco
Router
(2610)
Serial 0/0.810
161.120.165.190
(Irving)
Ethernet 0/0
161.120.165.46
Racal
Excalibur
DAP
Serial 0/0
DLCI=513
Loopback 0/0
10.120.6.205
Console
Modem
Backup
Modem
Livermore, CA
Serial 0/1
161.120.160.214
(Valley Forge)
Serial 0/0.805
161.120.160.210
(Valley Forge)
Serial 3/1.513
161.120.160.209
(Livermore)
Livermore (warehouse)
GS Roofing Products Company
Units I & J
6902 Patterson Pass Road Road
Livermore, California 94550
(925) 606-5130…Dennis Dufloth
AREC 441239 (56k)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)
Still defined in V.F. Router
- delete from CLASSB.NET

## Slide 254: Lodi, California (Pipe - Apache Plastics)---OLD
Lodi (Pipe & Plastics - Apache)
Lodi, CA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=110
161.120.176.82
(Valley Forge)
E11_LODI
161.120.117.254
Bay Networks
Router
(ASN)
DSU
AREC 011350 (56k)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=405
161.120.176.81
(Lodi)
DLCI=405
DLCI=110
Apache Plastics
300 South Beckman Road
Lodi, CA 95240
(209) 365-7500…Bill Werner
(209) 365-7500…Dave Fisher
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
S12
Still defined in V.F. Router
- delete from CLASSB.NET

## Slide 255: Mount Pocono, Pennsylvania
Mount Pocono, PA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=660
161.120.128.210
(Valley Forge)
E11_NKC
161.120.128.14
Bay Networks
Router
(ASN)
CSU
AREC 845479 (56k)
Sxxx_FR_IG
DHEC 394716 (T-1)
IFEC 394956 (640k)
S13_FR_ATT
DLCI=246
161.120.128.209
(Mount Pocono)
DLCI=246
DLCI=660
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S15
Midus Building
21 Industrial Drive
Mount Pocono, PA 18344
(570) 839-6233…Basil Barbacci
Mount Pocono
Closing February 6, 2001
Still defined in V.F. Router
- delete from CLASSB.NET

## Slide 256: Norwood, Massachusetts (old 56k)
Valley Forge, PA
Cisco
Router
(2610)
Serial 0/0.815
161.120.165.234
(Valley Forge)
Ethernet 0/0
161.120.167.126
Cisco
Router
(2610)
Serial 0/0
Serial 0/0
Serial 0/0.590
161.120.165.233
(Norwood)
DLCI=590
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Loopback 0/0
10.120.6.145
Norwood, MA
Console
Modem
BRI 0/0
161.120.165.238
(Valley Forge)
(xxx) xxx-xxxx
Racal
Excalibur
DAP
DLCI=815
DHEC 052962 (T-1)
DHEC 052962 (1536k Port)
Bird Inc.
1077 Pleasant Street
Norwood, Massachusetts 02062
(781) 551-0656…John Veiera x-112
Norwood
AREC 155646 (56k)
ISDN 781-255-0375 / 781-255-0376
Waiting for 56k Cancellation

## Slide 257: Placentia, California
Placentia
Placentia, CA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=110
161.120.128.82
(Valley Forge)
E11_PLACENTIA
161.120.128.110
Bay Networks
Router
(ASN)
DSU
AREC 273604 (56k)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=235
161.120.128.81
(Placentia)
DLCI=235
DLCI=110
CertainTeed Corporation
Suite 155
711 Kimberly Avenue
Placentia, California
(714) 572-1210…Irene Lockhoff
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
Still defined in V.F. Router
- delete from CLASSB.NET

## Slide 258: Social Circle, Georgia (Plant old)
Social Circle, GA
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=110
161.120.176.34
(Valley Forge)
E11_SOC_CIR
161.120.182.254
Bay Networks
Router
(ASN)
DSU
AREC 026563 (56k)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=495
161.120.176.33
(Social Circle)
DLCI=495
DLCI=110
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
CertainTeed Corporation
200 Ronthor Road, SE
Social Circle, Georgia 30025
(770) 464-3343…Sheila Ross x-3343
Social Circle (Plant)
Still defined in V.F. Router
- delete from CLASSB.NET

## Slide 259: Southgate, California (cancelled on 4/01/2001)
Valley Forge, PA
Cisco
Router
(7206)
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
DLCI=810
DLCI=805
Irving, TX
Cisco
Router
(2610)
Serial 0/0.509
161.120.165.177
(Soutgate)
Cisco
Router
(2610)
Serial 0/0.810
161.120.165.178
(Irving)
Ethernet 0/0
161.120.161.254
Racal
Excalibur
DAP
Serial 0/0
DLCI=509
Loopback 0/0
10.120.6.193
Console
Modem
Backup
Modem
Southgate, CA
Serial 0/1
161.120.160.190
(Valley Forge)
Serial 0/0.805
161.120.160.186
(Valley Forge)
Serial 3/1.509
161.120.160.185
(Southgate)
Southgate
GS Roofing Products Company
9301 S. Garfield Ave
Southgate, California 90280
(310) 952-8800…Bill Thompson x-8824
AREC 442157 (56k)
(xxx) xxx-xxxx
(xxx) xxx-xxxx
DHEC 006684 (T-1)
DHEC 006684 (1536k)
DHEC 052800 (T-1)
DTEC 005024 (768k)

## Slide 260: Taunton, Massachusetts (old)
Taunton
Taunton, MA
Aurora, OH
Cisco
Router
(2610)
Serial 0/0.945
161.120.255.250
(Aurora)
Ethernet 0/0
161.120.250.126
Cisco
Router
(3640)
DSU
AREC 707219 (56k)
Serial 2/0.710
161.120.255.249
(Taunton)
DLCI=710
Sil-Med Corporation
700 Warner Boulevard
Taunton, MA 02780
(508) 823-7701…Nick Cabral x-122
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Loopback 0/0
10.120.9.25
DLCI=945
DHEC 816532 (T-1)
DHEC 816532 (1536k)

## Slide 261: Troy, Michigan (Sekurit)
Troy (Sekurit)
Sekurit Saint-Gobain USA Corporation
1651 West Big Beaver Road
Troy, Michigan 48084
(248) 816-0060…Ed Danek
Valley Forge, PA
Cisco
Router
(2610)
Serial 0/0.120
161.120.192.18
(Valley Forge)
Ethernet 0/0
161.120.192.220
Cisco
Router
(7206)
Racal
Excalibur
DAP
Serial 3/0
Serial 0/0
Serial 3/0.860
161.120.192.17
(Troy)
DLCI=120
Loopback 0/0
10.120.7.137
Console
Modem
Backup
Modem
(xxx) xxx-xxxx
(xxx) xxx-xxxx
Troy, MI
Serial 0/1
161.120.192.22
(Valley Forge)
AREC 053605 (56k)
DHEC 058784 (T-1)
DHEC 058784 (1536k)
DLCI=860
ATT
Frame Relay
(800) 762-1099
F-R MCN Y00299
Still defined in V.F. Router
- delete from CLASSB.NET

## Slide 262: Waco, Texas (old)
Waco, TX
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=110
161.120.176.18
(Valley Forge)
Bay Networks
Router
(ASN)
DSU
AREC 392368 (56k)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=485
161.120.176.17
(Waco)
DLCI=485
DLCI=110
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Waco
CertainTeed Corporation
501 Old Hewitt Road
Waco, Texas 76712
(254) 666-7800…Shirley Galanti x-14
(254) 666-7800…Chris Carlson x-0
E11_WACO
161.120.180.254
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
Still defined in V.F. Router
- delete from CLASSB.NET

## Slide 263: Wixom, Michigan (Fashon Wall)
Wixom
Wixom, MI
Valley Forge, PA
Bay Networks
Router
(ARN)
DLCI=110
161.120.184.98
(Valley Forge)
E11_WIXOM
161.120.191.254
Bay Networks
Router
(ASN)
DSU
AREC 217063 (56k)
S421_FRAME_ATT
DHEC 272604 (T-1)
DHEC 272604 (1536k)
S11_FR_ATT
DLCI=220
161.120.184.97
(Wixom)
DLCI=220
DLCI=110
Fashon Wall
29755 Beck Road
Wixom, Michigan
(248) 960-9300…Lynn Lindquist x-431
(248) 449-7266…Lynn Lindquist (home)
ATT
Frame Relay
(800) 762-1099
PIN # 54300
F-R MCN Y00299
Sync
Dial Backup
Modem
(xxx) xxx-xxxx
S12
Still defined in V.F. Router
- delete from CLASSB.NET